## Slide 1: Stormwater Treatment Areas and Related Projects Update Part 1
Quarterly Meeting of the Technical Oversight Committee
March 2, 2009
Tracey Piccone, P.E., Chief Consulting Engineer
South Florida Water Management District

## Slide 2: STA Performance Data Updated March 1, 2010 – Contains Preliminary Data
 | Period of Record |  |  |  |  | 
 | STA-1E | STA-1W | STA-2 | STA-3/4 | STA-5 | STA-6
 | Sep. 2004 – Jan. 2010 | Oct. 1993 – Jan. 2010 | June 1999 – Jan. 2010 | Oct. 2003 – Jan. 2010 | Oct. 1999 – Jan. 2010 | Oct. 1997 – Jan. 2010
Average Inflow TP (ppb) | 181 | 171 | 108 | 111 | 234 | 97
Average Outflow TP (ppb) | 64 | 53 | 23 | 17 | 96 | 33
TP removed (m tons) | 76 | 430 | 252 | 330 | 205 | 54
Notes: This is the total period of record data for all 6 STAs.
Each quarterly meeting I present the same slide but we extend the period each time to include totals.
You can see that each STA has been on line for different length of time. Note, the bottom row is the total TP removed in metric tons, (not concentrations).
Note, this slide contains data that has not yet been through the QA/QC process.

## Slide 3: STA Performance Data Updated March 1, 2010 – Contains Preliminary Data
 | Previous Year (February 2009 – January 2010) |  |  |  |  | 
 | STA-1E | STA-1W | STA-2 | STA-3/4 | STA-5 | STA-6
Average Inflow TP (ppb) | 212 | 209 | 112 | 102 | 186 | 118
Average Outflow TP (ppb) | 92 | 36 | 40 | 14 | 36 | 55
Notes: This is the past 365 days of data for each of the 6 STAs.
Note, this slide contains data that has not yet been through the QA/QC process.
Note, this is not a typical Water Year (WY) since the period used is simply the past 365 days and not the typical May to April period.
Note, the SFER should be consulted for the most recent WY results that have been QA/QC’d and are declared “final” data.