## Ian M CBR Calc (hidden)
Applicant Agency/City Name
Project Title
| TOTAL Project Cost | Gals Saved Per Year (MGY) | Service Life (in years) | Discount Rate | Total Project Gals Saved per Day | Total Gallons saved over Service Life | Cost:Benefit $/Kgal
EXAMPLE | 125000 | 10.125 | 10 | 2.85% | 27739.726 | 277397.2603 | 1.4362
|  |  |  | 2.85% | 0 | 0 | #NUM!
Notes:
1) | Enter data only in gray cells. White cell is constant (estimate); blue cells are calculated for you.
2) | Total Project Cost should match that listed on Project Data and Criteria Summary sheet
and the Project Cost Itemization table.
3) | Gallons saved per year (in Million gallons per year) should match that listed on Project
Data and Criteria Summary sheet.
4) | Service life: See the table below.
| Item |  |  |  | Service life (Commercial) in years |  | Service life (Residential) in years
| Faucet |  |  |  | 15 |  | 15
| Showerhead |  |  |  | 8 |  | 8
| Toilet |  |  |  | 25 |  | 40
| Urinal |  |  |  | 25 |  | -
| Irrigation controller |  |  |  | 5 |  | 5
| Irrigation sprinkler heads |  |  |  | 3 |  | 3
| Major appliances |  |  |  | 20 |  | 11
| Rain/soil moisture sensor |  |  |  | 5 |  | 5
| Prerinse spray valve |  |  |  | 5 |  | -
| Autoline flush device |  |  |  | 7? |  | -
| Other | (specify)
If your conservation item is not listed, enter it in the "Other" cell.
Provide documentation supporting the number of service years you enter.

## Instructions
A significant metric in evaluating water conservation projects is the project cost effectiveness [cost per 1,000 gallons of water saved ($/Kgal)]. This allows different project types to be compared to one another. To arrive at a $/Kgal for your project, you must use the calculator in the Cost Effectiveness Worksheet tab in this file. Two additional tabs have been included to help you calculate the savings for some project types. The Fixture Savings Worksheet tab enables you to calculate savings for the most common fixtures and appliances found in residential settings. For these, you will need to know and enter: 1) the average number of persons per household for the area where your project will be implemented; 2) how many homes your project will affect; 3) the existing per use water rate of the items your project will replace; and 4) the per use water rate of the new, efficient items. The Use/Person or Minutes (of use)/Day or Loads/Day and the Service lives of the items in your project will have to be entered as well, but these figures are provided for you. The Irrigation Savings Worksheet tab enables you to calculate savings for the most common irrigation-related conservation measures. For this sheet, you will need to know and enter: 1) the number of acres affected by your project; and 2) the current water use (approximate). You will need to enter the Savings % for your hardware type which you will select from the table provided at the top of the sheet. You will also need to provide any calculations used to estimate current water use. These can be shown in Question 6. on the Project Application. If so, enter, "See notes on Project Application", on the Irrigation Savings Worksheet in the space provided. Both the Fixture Savings WorkSheet and the Irrigation Savings Worksheet will yield savings in million gallons of water use per year, which will be entered into the calculator on the Cost Effectiveness Worksheet tab. For projects with multiple conservation items with different service lives, administrative costs get embedded into the largest item. In the 'restroom' example, the toilet cost includes $15,000 in administrative costs. ALL projects applications MUST include the use of the Cost Effectiveness calculator. If you believe the items in your project do not match those show in this Workbook (any/all tabs), you may provide your own calculations for current and efficient water use (with calculations shown in Question 6. on the Project Application). However, you still must fill out the Cost Effectiveness Worksheet tab of this file. You may request assistance in deriving your calculate savings from District staff at 561-682-6615 or 561-682-6777 (Robert Wanvestraut and Jim Harmon, respectively). Applicants are advised to see the Examples tab.

## Fixture Savings Worksheet
User Inputs in to Yellow cells.
|  |  |  | Persons Per Home | 2.64 | If unknown for your area, visit US Census Quick Facts for your county, or use Florida default of 2.64.
Number of Homes
For these items, you must use the use rates & service life figures provided.
Service Lives |  |  |  | Residential Uses Per Day per Person |  | Commercial Uses Per Day per Person
Residential Measures |  | Service life (Residential) in years |  | Measure | Use/person
Tank-Type High-efficiency Toilet |  | 25 |  |  | Min/day
Valve-Type High-efficiency Toilet |  | 25 |  |  | Load/day | For projects targeting commercial facilities, contact District staff at 561-682-6615
High-Efficiency Aerator |  | 8 |  | Toilet | 5.1
High-Efficiency Showerhead, SF |  | 8 |  | Shower | 5.3
High-efficiency Showerhead, MF |  | 8 |  | Kitchen Faucet | 4
High-efficiency Dishwasher, SF |  | 11 |  | Lavatory Faucet | 4.1
High-efficiency Clothes Washer, SF |  | 11 |  | Dishwasher | 0.1
High-efficiency Clothes Washer, MF |  | 8 |  | Clotheswasher | 0.37
If your conservation item is not listed above, enter it in the "Other" cell. For those cases,
provide documentation supporting the savings values and number of service years you enter.
Current use | gpm | Use/person |  | Efficient use | gpm | Use/person
(Before) | gpf | Min/day |  | (After) | gpf | Min/day
| FlowRate | Load/day |  |  | FlowRate | Load/day | Service Life |  | Amy Vickers - Flow rates for showers and faucets are rated at full pressure. People use these fixtures at a lower rate, therefore, it is assumed that only 2/3rds the rated flow is used, hence the 67%. See Gals/use formula.
Toilet | 0 | 0 |  | Toilet | 0 | 0 | 0
Shower | 0 | 0 |  | Shower | 0 | 0 | 0
Lavatory Faucet | 0 | 0 |  | Lavatory Faucet | 0 | 0 | 0
Kitchen Faucet | 0 | 0 |  | Kitchen Faucet | 0 | 0 | 0
Dishwasher | 0 | 0 |  | Dishwasher | 0 | 0 | 0 |  | Kitchen faucet savings adjusted to 0.5 of calculated savings to account only for savings from washing. Pot filling volumes will not change as per more efficient fixtures. See Annual Savings formula.
Clotheswasher | 0 | 0 |  | Clotheswasher | 0 | 0 | 0
Other 1 | 0 | 0 |  | Other 1 | 0 | 0 | 0
Other 2 | 0 | 0 |  | Other 2 | 0 | 0 | 0
Other 3 | 0 | 0 |  | Other 3 | 0 | 0 | 0
Other 4 | 0 | 0 |  | Other 4 | 0 | 0 | 0
Annual Savings
| Toilet Savings | 0
| Shower savings | 0
| Lavatory Faucet | 0
| Kitchen Faucet | 0
| Dishwasher Savings | 0
| Clotheswasher Savings | 0
| Other 1 | 0
| Other 2 | 0
| Other 3 | 0
| Other 4 | 0
| Total Annual Savings | 0
| Savings in Million Gallons per year | 0 | Enter this value in Column D on the Cost-Effectiveness sheet.
|  | Day savings | 0
Service Life Savings
Before | Persons |  | (gals) | (gals) | Service |  |  |  |  | Toilet Life Savings | 0
Service Life | per home | Homes | Use/Day | Use/Year | Life Use |  |  |  |  | Shower Life savings | 0
0 | 2.64 | 0 | 0 | 0 | 0 |  |  |  | Lav. Faucet | Faucet Life savings | 0
0 | 2.64 | 0 | 0 | 0 | 0 |  |  |  | Kitchen Faucet | Faucet Life savings | 0
0 | 2.64 | 0 | 0 | 0 | 0 |  |  |  |  | Dishwasher Life Savings | 0
0 | 2.64 | 0 | 0 | 0 | 0 |  |  |  |  | Clotheswasher Life Savings | 0
0 | 2.64 | 0 | 0 | 0 | 0 |  |  |  |  | Other 1 | 0
0 | 2.64 | 0 | 0 | 0 | 0 |  |  |  |  | Other 2 | 0
0 | 2.64 | 0 | 0 | 0 | 0 |  |  |  |  | Other 3 | 0
0 | 2.64 | 0 | 0 | 0 | 0 |  |  |  |  | Other 4 | 0
0 | 2.64 | 0 | 0 | 0 | 0 |  |  |  |  | Total Life Savings | 0
0 | 2.64 | 0 | 0 | 0 | 0 |  |  |  |  | Savings in Million Gallons per year | 0
|  |  |  | 0 | 0
Service
| Persons |  | (gals) | (gals) | (gals)
| per home | Homes | Use/Day | Use/Year | Life Use |  |  | Year Length | 365
| 2.64 | 0 | 0 | 0 | 0
| 2.64 | 0 | 0 | 0 | 0
| 2.64 | 0 | 0 | 0 | 0
| 2.64 | 0 | 0 | 0 | 0
| 2.64 | 0 | 0 | 0 | 0
| 2.64 | 0 | 0 | 0 | 0
| 2.64 | 0 | 0 | 0 | 0
| 2.64 | 0 | 0 | 0 | 0
| 2.64 | 0 | 0 | 0 | 0
| 2.64 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0

## Irrigation Savings Worksheet
User Inputs in to Yellow cells.
For these items, you must use the use rates & service life figures provided.
| Item | Savings % | Service life in years
| Rain Sensor | 30% | 2
| Soil Moisture Sensor | 30% | 7
| Weather-based Controller | 30% | 10
| Efficient Sprinkler Heads | 15% | 5
| System Design Corrections | 15% | 20
| Turf Replacement* | 30-100% | 10
* Rebate eligible species must be listed. Savings % will
be a function of plant species needs.
Please enter the following:
| Project Size |  | Acres affected
| Current Water Use |  | MGY
Briefly provide the basis for your Current Water Use estimate (metered data; water bills; zone use calculations etc.)
| Savings % |  | (From above)
| Potential Savings | 0 | MGY | Enter this value in Column D on the Cost-Effectiveness sheet.
Savings for projects with more than one component (from above) cannot double-count
or compound savings percentages.
For projects with more than one component, use ONLY the savings associated with the highest
savings percentage.
So if the upgraded system will have new efficient sprinkler heads and a new controller, only enter
percent savings for the new controller (30%).
However, District staff may assign a higher evaluation score for projects with more than one component.
If your irrigation conservation item is not listed above, enter it in the "Other" cell.
Provide documentation supporting the savings values and number of service years you enter.

## Cost Effectiveness Worksheet
|  | Applicant Agency/City Name | Florida Keys Aqueduct Authority
|  | Project Title | Florida Keys Conservation Award Program
Conservation Items | TOTAL Project Cost | Annual Savings (MGY) | Service Life (in years) | Total Project Gals Saved per Day | Total Gallons saved over Service Life (MG) | Cost Effective $/kgal |  | Notes:
|  |  |  | 0 | 0 | 0 |  | 1) Use the Fixture and/or Irrigation Savings Worksheets FIRST.
|  |  |  | 0 | 0 | 0 |  | 2) Enter data only in YELLOW cells; blue cells are calculated for you.
|  |  |  | 0 | 0 | 0 |  | 3) Total Project Cost should match the amount listed on Project Summary
|  |  |  | 0 | 0 | 0 |  | and the Project Cost Itemization table in the application.
|  |  |  | 0 | 0 | 0 |  | 4) Gallons saved per year (in million gallons per year) should match the amount listed
|  |  |  | 0 | 0 | 0 |  | on Project Data Summary sheet in the application.
|  |  |  | 0 | 0 | 0 |  | 5) Administrative costs get embedded into the cost of the largest (most costly) item.
|  |  |  | 0 | 0 | 0 |  | 6) For item service lives: See the tables below.
|  |  |  | 0 | 0 | 0 |  | 7) Enter this Cost Effectiveness value on your Project Summary in the application.
| (Weighted cost effectiveness for all Items) |  |  |  |  | #DIV/0! |  | 8) Call District staff if your project targets commercial facilities.
If your conservation item is not listed, enter it in the "Other" cell.
Provide documentation supporting the savings values and number of service years you enter.
Discount Rate | 2.85% | (Default value)
Residential Measures |  | Service life (Residential) in years |  | Commercial and other Measures |  | Service life (Commercial) in years
Tank-Type High-efficiency Toilet |  | 25 |  | High-Efficiency Urinal |  | 25
Valve-Type High-efficiency Toilet |  | 25 |  | Tank-Type High-efficiency Toilet |  | 25 | For assistance when applying for projects targeting commercial devices or commercial facilities, contact District staff at 561-682-6615
High-Efficiency Aerator |  | 8 |  | Valve-Type High-efficiency Toilet |  | 25
High-Efficiency Showerhead, SF |  | 8 |  | Commercial Washer |  | 9
High-efficiency Showerhead, MF |  | 8 |  | Dishwasher (Commercial) |  | 20
High-efficiency Dishwasher, SF |  | 11 |  | Spray Rinse Valve |  | 10
High-efficiency Clothes Washer, SF |  | 11 |  | Food Steamer (Commercial) |  | 10
High-efficiency Clothes Washer, MF |  | 8 |  | Cooling Tower |  | 5
Rain Sensor |  | 2 |  | Automatic Line Flushing Device |  | 10
Soil Moisture Sensor |  | 7 |  | Large Land. Irrigation Controller |  | 10
Weather-based Controller |  | 10 |  | Large Land. Turf Replacement |  | 10
Efficient Sprinkler Heads |  | 5
System Design Corrections |  | 20
Turf Replacement* |  | 10

## Sheet3 (hidden)
All data from: Vickers A., Water Use and Conservation, 2002
Bold Figues are Federal Requirements as per 1992/94 Energy Policy Act.
Water Appliance/ Fixture |  | Gallons per use | Avg. use (Flushes per day) | Per Capita Use |  |  |  | Gallons per use | Average Loads/day | Per Capita Use
| Pre 1980 | 7 | 5.1 | 35.7 |  | Dishwasher | 1980-1990 | 14 | 0.1 | 1.4
Toilet |  | 5 | 5.1 | 25.5 |  |  | 1990-1995 | 12 | 0.1 | 1.2 | Toilet | 5.1 | 3 | 1.6 | 24.48 | 8935.2
| 1980 - 1994 | 3.5 | 5.1 | 17.85 |  |  | 1995- Present | 10.5 | 0.1 | 1.05 | Shower | 5.3 | 3 | 1.68 | 26.712 | 9749.88
| Post-1994 | 1.6 | 5.1 | 8.16 |  |  | Efficient | 7 | 0.1 | 0.7 | Faucet | 8.1 | 3 | 1.68 | 40.824 | 14900.76
WaterSence | HET 1 | 1.28 | 5.1 | 6.528 |  | USE THIS | High-Eff. 1* | 6.5 | 0.1 | 0.65 | Dish | 0.1 | 3 | 7 | 2.1 | 766.5
| HET 2 | 1 | 5.1 | 5.1 |  | (7/10/14) | High-Eff. 2 | 4.5 | 0.1 | 0.45 | Clothes | 0.37 | 3 | 23 | 25.53 | 9318.45
| Dual Flush>> | 1.2 | 5.1 | 6.12 |  |  | * ENERGY STAR, from their calculator 7-10-14 | [8 empty] | 43670.79
| >High vol.flush | 1.6
| >Low vol. flush | 1 | [5 empty] | Gallons per use | Average Loads/day | Per Capita Use
[6 empty] | Clothes Washer | Pre-1980s | 56 | 0.37 | 20.72
|  | Rated flow | Actual Flow | Avg. use (Minutes per day) |  |  | 1980-1990 | 51 | 0.37 | 18.87
| Pre 1980 | 8 | 5.36 | 5.3 | 28.408 |  | Post- 1990 | 43 | 0.37 | 15.91 | Toilet | 5.1 | 3 | 1.28 | 19.584 | 7148.16
Showerhead |  | 5 | 3.35 | 5.3 | 17.755 |  |  | 39 | 0.37 | 14.43 | Shower | 5.3 | 3 | 1.01 | 16.059 | 5861.535
| 1980 - 1994 | 4 | 2.68 | 5.3 | 14.204 |  | Post-1998 | 27 | 0.37 | 9.99 | Faucet | 8.1 | 3 | 1.01 | 24.543 | 8958.195
|  | 3 | 2.01 | 5.3 | 10.653 | New figs. | High-Eff. 1 | 23 | 0.37 | 8.51 | Dish | 0.1 | 3 | 4.5 | 1.35 | 492.75
|  | 2.75 | 1.8425 | 5.3 | 9.7652 | here | High-Eff. 2* | 15 | 0.37 | 5.55 | Clothes | 0.37 | 3 | 15 | 16.65 | 6077.25
| Post-1994 | 2.5 | 1.675 | 5.3 | 8.8775 |  | * ENERGY STAR 7-10-14 | [8 empty] | 28537.89
WaterSence | High-Eff. 1 | 2 | 1.34 | 5.3 | 7.102
| High-Eff. 2 | 1.75 | 1.1725 | 6.3 | 7.3868 |  |  |  | Per Cap
| High-Eff. 3 | 1.5 | 1.005 | 5.3 | 5.3265 | Leaks | Non-Cons. |  | 9.5
[7 empty] | Conserv. |  | 4 |  |  |  |  | 15132.9
|  | Rated flow | Actual Flow | Avg. use (Minutes per day) |  | Baths | Non-Cons. |  | 1.2
| Pre 1980 | 7 | 4.69 | 8.1 | 37.989 |  | Conserv. |  | 1.2
Faucets |  | 4 | 2.68 | 8.1 | 21.708
| 1980 - 1994 | 3 | 2.01 | 8.1 | 16.281 | Other | Non-Cons. |  | 1.6
|  | 2.75 | 1.8425 | 8.1 | 14.9242 |  | Conserv. |  | 1.6
| Post-1994 | 2.5 | 1.675 | 8.1 | 13.5675
| High-Eff. 1 | 2.2 | 1.474 | 6.3 | 9.2862 | Toilet | Showerhead | Faucets | Dishwasher | Clotheswasher
WaterSence | High-Eff. 2 | 1.5 | 1.005 | 8.1 | 8.1405 | 5 | 5 | 4 | 14 | 50 | Pre 1980
| High-Eff. 3 | 1 | 0.67 | 8.1 | 5.427 | 3.5 | 3 | 3 | 12 | 45 | Post 1983
[6 empty] | 1.6 | 2.5 | 2.5 | 10 | 27 | Post 1993
| Pre-1983 | 1983-1994 | WaterSence | Post- 1994 | High-Eff.
Toilet | 4.5 - 3.5 | 3.5 | 1.28 | 1.6 | 1.28
Urinals | 3.0 | 3.0 | .5 | 1.6 - 1.0 | 1.0 - 0.125
Faucets (Bath) | 7 - 3.0 | 2.5 | 1.5 | 2.2 | 1.0 - 0.5
Faucets (Kitchen) | 8 - 3.0 | 2.5 | 1.5 | 2.2 | 1.5 - 1.0
Showerhead | 8 - 5.0 | 3 - 5.0 | 2 | 2.5 | 1.75
6.5
Note on C10: rwanvest: Average value considering two uses at low volume flush and one at high volume flush.
Note on C14: rwanvest: Actual flow values used for calculations are Rated flow * 0.67
Note on E19: rwanvest: Average Shower time is 8.2 minutes per shower, but national average is 0.75 showers per day.
Note on C25: rwanvest: Actual flow values used for calculations are Rated flow * 0.67
Note on C32: rwanvest: For Bathroom only
Note on C33: rwanvest: For Bathroom only
Note on D41: rwanvest: For Bathroom only
Note on D42: rwanvest: For Bathroom only

## Background Info (hidden)
From: Bridges, David W. (WASD) [mailto:DBRID@miamidade.gov]
Sent: Wednesday, April 24, 2013 7:50 AM
To: Wanvestraut, Robert
Cc: Fries, Donna (WASD); Airado, Luis M. (WASD)
Subject: RE: Auto line flushers
Good morning Robert,
We have been using the Hydro Guard flushing units ( HG-6 & HG-1) since 2007 on a regular basis. We change the batteries every 3-4 months and monitor them to make sure they are turning on and off as scheduled, the only issue we have had was with the old programmer. We recently updated some of our units with a new programmers and they seem to be working fine. We will be replacing the rest of the programmers soon. They are installed where we have dead ends mains, low flows, water quality issues, or low chlorine residuals.
David Bridges, Assistant Superintendent
Miami Dade County Water & Sewer Department
Water Transmission & Distribution Division
Office- 786-552-4908
www.miamidade.gov/wasd
Delivering Excellence Every Day

## EXAMPLES
|  | Applicant Agency/City Name | Red Mango City |  |  |  | Applicant Agency/City Name | Quick City
|  | Project Title | Public facilities' restroom retrofit. |  |  |  | Project Title | Park irrigation system.
Conservation | TOTAL | Gals | Service | Cost | Conservation | TOTAL | Gals | Service | Cost |  |  | Discount Rate | Total Project Gals Saved per Day | Total Gallons saved over Service Life
Items | Project Cost | Saved | Life (in | Effective | Items | Project Cost | Saved | Life (in | Effective
|  | Per Year | years) | $/Kgal |  |  | Per Year | years) | $/Kgal
|  | (MGY) |  |  |  |  | (MGY)
Faucets | 2000 | 2 | 15 | 0.08286 | Irrigation retrofit | 15000 | 6 | 5 | 0.54355 |  |  | 2.85% | 5479.4521 | 82191.7808
Toilets | 20000 | 15 | 40 | 0.056293 |  |  |  |  | $ |  |  | 2.85% | 41095.8904 | 1643835.6164
Showerheads | 5000 | 3.5 | 8 | 0.20222 |  |  |  |  | $ |  |  | 2.85% | 9589.0411 | 76712.3288
|  |  |  | $ |  |  |  |  | $ |  |  | 2.85% | 0 | 0
|  |  |  | $ |  |  |  |  | $ |  |  | 2.85% | 0 | 0
|  |  |  | $ |  |  |  |  | $ |  |  | 2.85% | 0 | 0
Totals | 27000 | 20.5 | - | 0.34138 | Totals | 15000 | 6 | - | 0.54355
For projects with multiple conservation items with different service
lives, administrative costs get embedded into the largest item. |  |  |  |  | The $15,000 includes $1,800 in administrative costs.
In the 'restroom' example, the toilet cost includes $15,000 in
administrative costs.
A table containing confident services lives for most conservation
hardware is located on the Cost Effectiveness Worksheet tab of this file.
[10 empty] | 2.85% | 16438.3562 | 82191.7808
[10 empty] | 2.85% | 0 | 0
[10 empty] | 2.85% | 0 | 0
[10 empty] | 2.85% | 0 | 0
[10 empty] | 2.85% | 0 | 0
[10 empty] | 2.85% | 0 | 0