## Ian M CBR Calc (hidden)
Applicant Agency/City Name
Project Title
| TOTAL Project Cost | Gals Saved Per Year (MGY) | Service Life (in years) | Discount Rate | Total Project Gals Saved per Day | Total Gallons saved over Service Life | Cost:Benefit $/Kgal
EXAMPLE | 125000 | 10.125 | 10 | 2.85% | 27739.726 | 277397.2603 | 1.4362
|  |  |  | 2.85% | 0 | 0 | #NUM!
Notes:
1) | Enter data only in gray cells. White cell is constant (estimate); blue cells are calculated for you.
2) | Total Project Cost should match that listed on Project Data and Criteria Summary sheet
and the Project Cost Itemization table.
3) | Gallons saved per year (in Million gallons per year) should match that listed on Project
Data and Criteria Summary sheet.
4) | Service life: See the table below.
| Item |  |  |  | Service life (Commercial) in years |  | Service life (Residential) in years
| Faucet |  |  |  | 15 |  | 15
| Showerhead |  |  |  | 8 |  | 8
| Toilet |  |  |  | 25 |  | 40
| Urinal |  |  |  | 25 |  | -
| Irrigation controller |  |  |  | 5 |  | 5
| Irrigation sprinkler heads |  |  |  | 3 |  | 3
| Major appliances |  |  |  | 20 |  | 11
| Rain/soil moisture sensor |  |  |  | 5 |  | 5
| Prerinse spray valve |  |  |  | 5 |  | -
| Autoline flush device |  |  |  | 7? |  | -
| Other | (specify)
If your conservation item is not listed, enter it in the "Other" cell.
Provide documentation supporting the number of service years you enter.

## WC_CostEffectiveness
Applicant Agency/City Name
Project Title
Conservation Items | Total Project Cost | Annual Savings (MGY) | Service Life (in years) | Total Project Gals Saved per Day | Total Gallons saved over Service Life (MG) | Cost Effective ($/kgal)
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
|  |  |  | 0 | 0 | 0
| (Weighted cost effectiveness for all Items) |  |  |  |  | #DIV/0!
Discount Rate | 2.85% | (Default value)
Water Conservation Project Notes:
1) Use the Fixture (not applicable to Irrigation projects) savings worksheet FIRST.
2) Enter data only in YELLOW cells; blue cells are calculated for you.
3) Total Project Cost should match the amount listed in question 8 (itemized cost information table)
4) Gallons saved per year (in Million gallons per year) should match the amount listed in the Project Summary (page 1)
5) Administrative costs should be embedded into the cost of the largest item
6) For item service lives, see the table below
7) Enter this Cost Effectiveness value on the Project Summary (page 1) and question 7.
Item | Service life (Residential) in years | Service life (Commercial) in years
Faucet | 15 | 15
Showerhead | 8 | 8
Toilet | 40 | 25
Urinal | - | 25
Irrigation controller | 5 | 5
Irrigation sprinkler heads | 5 | 5
Rain/soil moisture sensor | 5 | 5
Major appliances | 11 | 20
Prerinse spray valve | - | 5
Autoline flush device | - | 9
Other:
If your conservation item is not listed, enter it in the "Other" cell.
Provide documentation supporting the number of service years you enter.

## Sheet3 (hidden)
All data from: Vickers A., Water Use and Conservation, 2002
Bold Figues are Federal Requirements as per 1992/94 Energy Policy Act.
Water Appliance/ Fixture |  | Gallons per use | Avg. use (Flushes per day) | Per Capita Use |  |  |  | Gallons per use | Average Loads/day | Per Capita Use
| Pre 1980 | 7 | 5.1 | 35.7 |  | Dishwasher | 1980-1990 | 14 | 0.1 | 1.4
Toilet |  | 5 | 5.1 | 25.5 |  |  | 1990-1995 | 12 | 0.1 | 1.2 | Toilet | 5.1 | 3 | 1.6 | 24.48 | 8935.2
| 1980 - 1994 | 3.5 | 5.1 | 17.85 |  |  | 1995- Present | 10.5 | 0.1 | 1.05 | Shower | 5.3 | 3 | 1.68 | 26.712 | 9749.88
| Post-1994 | 1.6 | 5.1 | 8.16 |  |  | Efficient | 7 | 0.1 | 0.7 | Faucet | 8.1 | 3 | 1.68 | 40.824 | 14900.76
WaterSence | HET 1 | 1.28 | 5.1 | 6.528 |  | USE THIS | High-Eff. 1* | 6.5 | 0.1 | 0.65 | Dish | 0.1 | 3 | 7 | 2.1 | 766.5
| HET 2 | 1 | 5.1 | 5.1 |  | (7/10/14) | High-Eff. 2 | 4.5 | 0.1 | 0.45 | Clothes | 0.37 | 3 | 23 | 25.53 | 9318.45
| Dual Flush>> | 1.2 | 5.1 | 6.12 |  |  | * ENERGY STAR, from their calculator 7-10-14 | [8 empty] | 43670.79
| >High vol.flush | 1.6
| >Low vol. flush | 1 | [5 empty] | Gallons per use | Average Loads/day | Per Capita Use
[6 empty] | Clothes Washer | Pre-1980s | 56 | 0.37 | 20.72
|  | Rated flow | Actual Flow | Avg. use (Minutes per day) |  |  | 1980-1990 | 51 | 0.37 | 18.87
| Pre 1980 | 8 | 5.36 | 5.3 | 28.408 |  | Post- 1990 | 43 | 0.37 | 15.91 | Toilet | 5.1 | 3 | 1.28 | 19.584 | 7148.16
Showerhead |  | 5 | 3.35 | 5.3 | 17.755 |  |  | 39 | 0.37 | 14.43 | Shower | 5.3 | 3 | 1.01 | 16.059 | 5861.535
| 1980 - 1994 | 4 | 2.68 | 5.3 | 14.204 |  | Post-1998 | 27 | 0.37 | 9.99 | Faucet | 8.1 | 3 | 1.01 | 24.543 | 8958.195
|  | 3 | 2.01 | 5.3 | 10.653 | New figs. | High-Eff. 1 | 23 | 0.37 | 8.51 | Dish | 0.1 | 3 | 4.5 | 1.35 | 492.75
|  | 2.75 | 1.8425 | 5.3 | 9.7652 | here | High-Eff. 2* | 15 | 0.37 | 5.55 | Clothes | 0.37 | 3 | 15 | 16.65 | 6077.25
| Post-1994 | 2.5 | 1.675 | 5.3 | 8.8775 |  | * ENERGY STAR 7-10-14 | [8 empty] | 28537.89
WaterSence | High-Eff. 1 | 2 | 1.34 | 5.3 | 7.102
| High-Eff. 2 | 1.75 | 1.1725 | 6.3 | 7.3868 |  |  |  | Per Cap
| High-Eff. 3 | 1.5 | 1.005 | 5.3 | 5.3265 | Leaks | Non-Cons. |  | 9.5
[7 empty] | Conserv. |  | 4 |  |  |  |  | 15132.9
|  | Rated flow | Actual Flow | Avg. use (Minutes per day) |  | Baths | Non-Cons. |  | 1.2
| Pre 1980 | 7 | 4.69 | 8.1 | 37.989 |  | Conserv. |  | 1.2
Faucets |  | 4 | 2.68 | 8.1 | 21.708
| 1980 - 1994 | 3 | 2.01 | 8.1 | 16.281 | Other | Non-Cons. |  | 1.6
|  | 2.75 | 1.8425 | 8.1 | 14.9242 |  | Conserv. |  | 1.6
| Post-1994 | 2.5 | 1.675 | 8.1 | 13.5675
| High-Eff. 1 | 2.2 | 1.474 | 6.3 | 9.2862 | Toilet | Showerhead | Faucets | Dishwasher | Clotheswasher
WaterSence | High-Eff. 2 | 1.5 | 1.005 | 8.1 | 8.1405 | 5 | 5 | 4 | 14 | 50 | Pre 1980
| High-Eff. 3 | 1 | 0.67 | 8.1 | 5.427 | 3.5 | 3 | 3 | 12 | 45 | Post 1983
[6 empty] | 1.6 | 2.5 | 2.5 | 10 | 27 | Post 1993
| Pre-1983 | 1983-1994 | WaterSence | Post- 1994 | High-Eff.
Toilet | 4.5 - 3.5 | 3.5 | 1.28 | 1.6 | 1.28
Urinals | 3.0 | 3.0 | .5 | 1.6 - 1.0 | 1.0 - 0.125
Faucets (Bath) | 7 - 3.0 | 2.5 | 1.5 | 2.2 | 1.0 - 0.5
Faucets (Kitchen) | 8 - 3.0 | 2.5 | 1.5 | 2.2 | 1.5 - 1.0
Showerhead | 8 - 5.0 | 3 - 5.0 | 2 | 2.5 | 1.75
6.5
Note on C10: rwanvest: Average value considering two uses at low volume flush and one at high volume flush.
Note on C14: rwanvest: Actual flow values used for calculations are Rated flow * 0.67
Note on E19: rwanvest: Average Shower time is 8.2 minutes per shower, but national average is 0.75 showers per day.
Note on C25: rwanvest: Actual flow values used for calculations are Rated flow * 0.67
Note on C32: rwanvest: For Bathroom only
Note on C33: rwanvest: For Bathroom only
Note on D41: rwanvest: For Bathroom only
Note on D42: rwanvest: For Bathroom only

## Background Info (hidden)
From: Bridges, David W. (WASD) [mailto:DBRID@miamidade.gov]
Sent: Wednesday, April 24, 2013 7:50 AM
To: Wanvestraut, Robert
Cc: Fries, Donna (WASD); Airado, Luis M. (WASD)
Subject: RE: Auto line flushers
Good morning Robert,
We have been using the Hydro Guard flushing units ( HG-6 & HG-1) since 2007 on a regular basis. We change the batteries every 3-4 months and monitor them to make sure they are turning on and off as scheduled, the only issue we have had was with the old programmer. We recently updated some of our units with a new programmers and they seem to be working fine. We will be replacing the rest of the programmers soon. They are installed where we have dead ends mains, low flows, water quality issues, or low chlorine residuals.
David Bridges, Assistant Superintendent
Miami Dade County Water & Sewer Department
Water Transmission & Distribution Division
Office- 786-552-4908
www.miamidade.gov/wasd
Delivering Excellence Every Day

## WC_FixtureSavingsWorksheet
User Inputs in to Yellow cells. |  |  |  | Persons Per Home | 0 |  |  |  | For these items, you must use the use rates & service life figures provided.
|  |  |  | Number of Homes | 0
Uses Per Day per Person
Current use | gpm gpf Flowrate | Use/person Min/day Load/day | Persons per home | Homes | (gals) Use/Day | (gals) Use/Year | Service Life | Service (gals) Life Use | Item | Use/person Min/day Load/day
Toilet | 3.5 | 5.1 | 0 | 0 | 0 | 0 | 25 | 0 | Toilet | 5.1
Shower | 3 | 5.3 | 0 | 0 | 0 | 0 | 8 | 0 | Shower | 5.3
Lavoratory Faucet | 2.5 | 4.1 | 0 | 0 | 0 | 0 | 15 | 0 | Kit. Faucet | 4
Kitchen Faucet | 2.5 | 4 | 0 | 0 | 0 | 0 | 16 | 0 | Lav. Faucet | 4.1
Dishwasher | 0 | 4.1 | 0 | 0 | 0 | 0 | 0 | 0 | Dishwasher | 0.1
Clotheswasher | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Clotheswasher | 0.37
Urinal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Prerinse Spray | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 0 |  | 0
Service Lives
Efficient use | gpm gpf Flowrate | Use/person Min/day Load/day | Persons per home | Homes | (gals) Use/Day | (gals) Use/Year | Service Life | Service (gals) Life Use | Item | Service life (Residential) in years | Service life (Commercial) in years
Toilet | 1.28 | 5.1 | 0 | 0 | 0 | 0 | 25 | 0 | Faucet | 15 | 15
Shower | 2 | 5.3 | 0 | 0 | 0 | 0 | 8 | 0 | Showerhead | 8 | 8
Lavoratory Faucet | 1 | 4.1 | 0 | 0 | 0 | 0 | 15 | 0 | Toilet | 40 | 25
Kitchen Faucet | 1.5 | 4 | 0 | 0 | 0 | 0 | 16 | 0 | Urinal | - | 25
Dishwasher | 0 | 4.1 | 0 | 0 | 0 | 0 | 8 | 0 | Major appliances | 11 | 20
Clotheswasher | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Prerinse spray valve | - | 5
Urinal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Autoline flush device | - | 9
Prerinse Spray | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Other:
Other2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | If your conservation item is not listed, enter it in the "Other" cell.
[6 empty] | 0 |  | 0 | Provide documentation supporting the number of service years you enter.
Annual Savings
| Toilet Savings | 0 |  | Toilet Life Savings | 0 |  | Amy Vickers - Flow rates for showers and faucets are rated at full pressure. People use these fixtures at a lower rate, therefore, it is assumed that only 2/3rds the rated flow is used, hence the 67%. See Gals/use formula. Kitchen faucet savings adjusted to 0.5 of calculated savings to account only for savings from washing. Pot filling volumes will not change as per more efficient fixtures. See Annual Savings formula.
| Shower savings | 0 |  | Shower Life savings | 0
| Lavoratory Faucet | 0 |  | Faucet Life savings | 0
| Kitchen Faucet | 0 |  | Faucet Life savings | 0
| Dishwasher Savings | 0 |  | Dishwasher Life Savings | 0
| Clotheswasher Savings | 0 |  | Clotheswasher Life Savings | 0
| Urinal Savings | 0 |  | Urinal LiveSavings | 0
| Prerinse Spray Savings | 0 |  | Prerinse Spray Life Savings | 0
| Other2 Savings | 0 |  | Other1 Life Savings | 0
| Other2 Savings | 0 |  | Other2 Life Savings | 0
| Total Annual Savings | 0 |  | Total Life Savings | 0
| Day savings | 0

## EXAMPLES
|  | Applicant Agency/City Name | Red Mango City |  |  |  | Applicant Agency/City Name | Quick City
|  | Project Title | Public facilities' restroom retrofit. |  |  |  | Project Title | Park irrigation system.
Conservation Items | TOTAL Project Cost | Gals Saved Per Year (MGY) | Service Live (in years) | Cost Effective ($/kgal) | Conservation Items | TOTAL Project Cost | Gals Saved Per Year (MGY) | Service Live (in years) | Cost Effective ($/kgal) |  |  | Discount Rate | Total Project Gals Saved per Day | Total Gallons saved over Service Life
Faucets | 2000 | 2 | 15 | 0.08286 | Irrigation retrofit | 15000 | 6 | 5 | 0.54355 |  |  | 2.85% | 5479.4521 | 82191.7808
Toilets | 20000 | 15 | 40 | 0.056293 |  |  |  |  | $ |  |  | 2.85% | 41095.8904 | 1643835.6164
Showerheads | 5000 | 3.5 | 8 | 0.20222 |  |  |  |  | $ |  |  | 2.85% | 9589.0411 | 76712.3288
|  |  |  | $ |  |  |  |  | $ |  |  | 2.85% | 0 | 0
|  |  |  | $ |  |  |  |  | $ |  |  | 2.85% | 0 | 0
|  |  |  | $ |  |  |  |  | $ |  |  | 2.85% | 0 | 0
Totals | 27000 | 20.5 | - | 0.34138 | Totals | 15000 | 6 | - | 0.54355
For projects with conservation items with different service lives, administrative costs get embedded into the largest item. In the 'restroom' example, the toilet cost includes $5,000 in administrative costs. A table containing confident services lives for most conservation hardware is located on the Cost Effectiveness tab of this file. |  |  |  |  | The 'irrigation' system project consists of a computerized ET central controller, soil moisture sensors and efficient spray nozzles. They can all be wrapped into one line because the confident service life of all hardware is five years. The $15,000 includes $1,800 in administrative costs.
[10 empty] | 2.85% | 16438.3562 | 82191.7808
[10 empty] | 2.85% | 0 | 0
[10 empty] | 2.85% | 0 | 0
[10 empty] | 2.85% | 0 | 0
[10 empty] | 2.85% | 0 | 0
[10 empty] | 2.85% | 0 | 0