## Groundwater
FPL Turkey Point Uprate Monitoring Project
| June/July 2010 Quarterly Sampling Event |  |  |  | 660-36195 | 660-36195 | 660-36195 | 660-35848 | 660-35848 | 660-35863 | 660-35863 | 660-35826 | 660-35826 | 660-35826 | 660-35950 | 660-35950 | 660-35950 | 660-35805 | 660-35805 | 660-35805 | 660-35863 | 660-35863 | 660-35863 | 660-35950 | 660-35950 | 660-35950 | 660-36118* | 660-35970 | 660-35970 | 660-35970 | 660-35970 | 660-35970 | 660-35826 | 660-35826 | 660-35848 | 660-35848 | 660-36031* | 660-36031* | 660-36031* | 660-35848 | 660-35826
| Parameter | Units | FL Drinking Water Criteria* |  | TPGW-1S | TPGW-1M | TPGW-1D | TPGW-2S | TPGW-2M | TPGW-2D** | 062110-TPGW-DUP 1** | TPGW-3S | TPGW-3M | TPGW-3D | TPGW-4S | TPGW-4M | TPGW-4D | TPGW-5S | TPGW-5M | TPGW-5D | TPGW-6S | TPGW-6M | TPGW-6D | TPGW-7S | TPGW-7M | TPGW-7D | TPGW-8S | TPGW-8M | TPGW-8D | TPGW-9S | TPGW-9M | TPGW-9D | TPGW-12S | TPGW-12M | TPGW-12D*** | TPGW-DUP 1*** | TPGW-13S | TPGW-13M | TPGW-13D | TPGW-EBI | 061710-FB1
|  |  | MCL | Secondary | 2010-07-12 | 2010-07-12 | 2010-07-12 | 2010-06-18 | 2010-06-18 | 2010-06-21 | 2010-06-21 | 2010-06-17 | 2010-06-17 | 2010-06-17 | 2010-06-24 | 2010-06-24 | 2010-06-24 | 2010-06-16 | 2010-06-16 | 2010-06-16 | 2010-06-21 | 2010-06-21 | 2010-06-21 | 2010-06-24 | 2010-06-24 | 2010-06-24 | 2010-07-06 | 2010-06-25 | 2010-06-25 | 2010-06-25 | 2010-06-25 | 2010-06-25 | 2010-06-17 | 2010-06-17 | 2010-06-18 | 2010-06-18 | 2010-06-30 | 2010-06-30 | 2010-06-30 | 2010-06-18 | 2010-06-17
Field - FT1400 | Temperature | °C | N.A. | N.A. | 26.66 | 26.59 | 26.49 | 26.31 | 27.33 | 27.12 | N.A. | 26.52 | 27.04 | 26.96 | 24.99 | 25.66 | 25.29 | 25.8 | 24.61 | 24.69 | 24.75 | 24.92 | 24.83 | 24.8 | 25.05 | 25.12 | 24.99 | 25.29 | 25.23 | 25.82 | 25.1 | 25.09 | 27.16 | 26.85 | 27.04 | N.A. | 29.82 | 29.8 | 30.03 | N.A. | N.A.
Field - FT1100 | pH | SU | N.A. | 6.5 - 8.5 | 7.08 | 7.04 | 7 | 7.29 | 6.94 | 6.86 | N.A. | 6.74 | 6.99 | 6.92 | 7.31 | 6.88 | 6.92 | 7.47 | 6.92 | 6.85 | 7.03 | 6.92 | 6.84 | 7.22 | 7.19 | 7.19 | 11.67 | 7.06 | 7.1 | 7.13 | 6.99 | 6.99 | 6.65 | 7.02 | 7.29 | N.A. | 6.89 | 7.07 | 7.02 | N.A. | N.A.
Field - FT1500 | Dissolved Oxygen | mg/L | N.A. | N.A. | 1.6 | 11 | 3.7 | 3.7 | 2.7 | 1.7 | N.A. | 0.9 | 2.7 | 2.4 | 1.4 | 2.3 | 2.4 | 1.2 | 1.1 | 4 | 4.8 | 2.1 | 4.6 | 2 | 1.5 | 2.3 | 5.3 | 10.9 | 1.6 | 2.6 | 1.5 | 2.4 | 5 | 2.6 | 3.1 | N.A. | 8.3 | 9.7 | 49.6 | N.A. | N.A.
Field - FT1200 | Spec Cond | μS/cm | N.A. | N.A. | 53720 | 61220 | 59870 | 65980 | 61080 | 65230 | N.A. | 51890 | 62250 | 55570 | 1750 | 32010 | 37010 | 958 | 21350 | 29980 | 1050 | 19640 | 20400 | 483 | 500 | 510 | 1140 | 544 | 599 | 556 | 563 | 564 | 37380 | 52270 | 57910 | N.A. | 72860 | 70180 | 71970 | N.A. | N.A.
| Turbidity | NTU | N.A. | N.A. | 1.56 | 4.65 | 1.06 | 0.38 | 0.13 | 0.03 | N.A. | 0.35 | 0.53 | 2.3 | 2.52 | 2 | 0.02 | 5.27 | 0.16 | 0.46 | 2.32 | 0.46 | 0.29 | 3.81 | 2.29 | 1.34 | 7.5 | 1.18 | 4.04 | 9.27 | 8.49 | 0.83 | 0.44 | 0.28 | 3.02 | N.A. | 0.66 | 0.39 | 0.16 | N.A. | N.A.
200.7 | Arsenic | mg/L | 0.01 | N.A. | 0.012 U | 0.013 I | 0.012 U | 0.012 UJ- | 0.012 UJ- | 0.012 U | 0.012 U | 0.012 UJ- | 0.012 UJ- | 0.012 UJ- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.012 UJ- | 0.012 UJ- | 0.012 UJ- | 0.012 UJ- | 0.016 IVJ | 0.018 IV | 0.012 U | 0.0012 U | 0.0012 U
200.7 | Barium | mg/L | 2 | N.A. | 0.15 | 0.16 | 0.15 | 0.16 | 0.13 | 0.11 J | 0.14 J | 0.12 | 0.11 J | 0.092 I | 0.024 I | 0.15 | 0.14 | 0.04 | 0.26 | 0.22 | -- | -- | -- | 0.0081 U | 0.011 I | 0.0081 U | 0.069 I | 0.0081 U | 0.012 I | 0.012 I | 0.0081 U | 0.023 I | 0.028 I | 0.13 | 0.1 | 0.12 | 0.11 | 0.13 | 0.11 | 0.00081 U | 0.00081 U
200.7 | Beryllium | mg/L | 0.004 | N.A. | 0.0018 U | 0.0018 U | 0.0018 U | 0.0018 U | 0.0018 U | 0.0018 U | 0.0018 U | 0.0019 | 0.0018 U | 0.0018 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.0018 U | 0.0018 U | 0.0018 U | 0.0018 U | 0.0018 U | 0.0018 U | 0.0018 U | 0.00018 U | 0.00018 U
200.7 | Cadmium | mg/L | 0.005 | N.A. | 0.0038 U | 0.0038 U | 0.0038 U | 0.0038 U | 0.0038 U | 0.0038 U | 0.0038 U | 0.0038 U | 0.0038 U | 0.0038 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.0038 U | 0.0038 U | 0.0038 U | 0.0038 U | 0.0038 U | 0.0038 U | 0.0038 U | 0.00038 U | 0.00038 U
200.7 | Copper | mg/L | N.A. | 1 | 0.0033 U | 0.0033 U | 0.0033 U | 0.0033 U | 0.0033 U | 0.0033 U | 0.0033 U | 0.0033 U | 0.0033 U | 0.0033 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.0033 U | 0.0033 U | 0.0033 U | 0.0033 U | 0.0033 U | 0.0033 U | 0.0033 U | 0.00033 U | 0.00033 U
200.7 | Iron | mg/L | N.A. | 0.3 | 0.78 | 1.2 | 0.63 | 3.1 | 0.32 | 0.9 | 0.91 | 0.320 I | 1.7 | 0.33 I | 0.22 I | 4.7 | 5.9 | 0.56 | 5.4 | 1.6 | -- | -- | -- | 0.34 I | 0.36 I | 0.28 I | 0.042 IVJ+ | 0.55 | 0.31 I | 0.19 I | 0.6 | 0.76 | 0.160 I | 1.5 | 0.5 | 0.52 | 0.130 I | 8.6 | 1.3 | 0.0047 I | 0.0027 U
200.7 | Lead | mg/L | 0.015 | N.A. | 0.024 U | 0.024 U | 0.024 U | 0.024 U | 0.024 U | 0.024 U | 0.024 U | 0.024 U | 0.024 U | 0.024 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.024 U | 0.024 U | 0.024 U | 0.024 U | 0.024 U | 0.024 U | 0.036 I | 0.0024 U | 0.0024 U
200.7 | Manganese | mg/L | N.A. | 0.05 | 0.047 | 0.12 | 0.034 | 0.052 I | 0.046 I | 0.055 I | 0.052 I | 0.065 I | 0.054 I | 0.094 I | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.014 I | 0.043 I | 0.039 I | 0.036 I | 0.041 I | 0.11 | 0.064 I | 0.00046 U | 0.00046 U
200.7 | Molybdenum | mg/L | N.A. | N.A. | 0.006 I | 0.0073 I | 0.0049 I | 0.030 I | 0.015 I | 0.0047 U | 0.0047 U | 0.0047 U | 0.0047 U | 0.0047 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.0047 U | 0.0047 U | 0.0047 U | 0.0047 U | 0.0047 I | 0.0047 U | 0.0047 U | 0.00047 U | 0.00047 U
200.7 | Nickel | mg/L | 0.1 | N.A. | 0.014 U | 0.014 U | 0.014 U | 0.014 U | 0.014 U | 0.014 U | 0.014 U | 0.014 U | 0.014 U | 0.014 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.014 U | 0.014 U | 0.014 U | 0.014 U | 0.014 U | 0.014 U | 0.014 U | 0.0014 U | 0.0014 U
200.7 | Selenium | mg/L | 0.05 | N.A. | 0.034 U | 0.034 U | 0.034 U | 0.034 UJ- | 0.034 UJ- | 0.034 U | 0.034 U | 0.034 UJ- | 0.034 UJ- | 0.034 UJ- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.034 UJ- | 0.034 UJ- | 0.034 UJ- | 0.034 UJ- | 0.034 U | 0.034 U | 0.034 U | 0.0034 U | 0.0034 U
200.7 | Thallium | mg/L | 0.002 | N.A. | 0.016 U | 0.016 U | 0.028 I | 0.016 U | 0.016 U | 0.016 U | 0.016 U | 0.016 U | 0.016 U | 0.016 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.016 U | 0.016 U | 0.016 U | 0.016 U | 0.030 I | 0.016 U | 0.016 U | 0.0016 U | 0.0016 U
200.7 | Vanadium | mg/L | N.A. | N.A. | 0.0094 I | 0.0071 I | 0.0075 I | 0.021 I | 0.016 I | 0.014 I | 0.016 I | 0.023 I | 0.013 I | 0.014 I | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.0062 I | 0.015 I | 0.011 I | 0.011 I | 0.010 I | 0.0093 I | 0.011 I | 0.00052 U | 0.00052 U
200.7 | Zinc | mg/L | N.A. | 5 | 0.047 I | 0.051 I | 0.054 I | 0.018 U | 0.018 U | 0.017 U | 0.017 U | 0.017 U | 0.017 U | 0.029 I | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.018 IJ | 0.017 U | 0.018 U | 0.094 I | 0.017 U | 0.017 U | 0.036 I | 0.0068 I | 0.0026
200.7 (Dissolved) | Silica | mg/L | N.A. | N.A. | 5 | 5.3 | 5.1 | 3.9 | 4.2 | 3.5 | 4.2 | 4.9 | 3.8 | 4.4 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 6.3 | 5.2 | 4.6 | 5.5 | 4.6 | 6 | 7.1 | 0.05 U | 0.05 U
6010/3005 | Calcium | mg/L | N.A. | N.A. | 620 | 660 | 650 | 870 | 660 | 680 | 680 | 640 J- | 640 | 640 | 120 | 620 | 620 | 130 | 570 | 600 | 120 | 510 | 500 | 91 | 91 | 91 | 130 | 110 | 110 | 120 | 120 | 110 | 450 | 590 | 610 | 580 | 790 | 740 | 760 | 0.33 | 0.10 U
6010/3005 | Magnesium | mg/L | N.A. | N.A. | 1700 | 1900 | 2000 | 1800 | 2100 | 2000 | 2000 | 1700 J+ | 1800 | 1800 | 19 | 900 | 1100 | 8.4 | 540 | 750 | 12 | 480 | 450 | 4.0 | 4.1 | 3.7 | 0.59 | 3.8 | 6.2 | 2.9 | 3.1 | 3.6 | 980 | 1700 | 1700 | 1700 | 2500 | 2300 | 2400 | 0.15 | 0.02 U
6010/3005 | Potassium | mg/L | N.A. | N.A. | 490 | 570 | 590 | 730 | 780 | 540 | 550 | 450 J+ | 490 J | 490 J | 9.2 | 280 | 420 | 7.7 | 120 | 210 | 4 | 130 | 130 | 9.9 | 9.4 | 4.8 | 13 | 9.2 | 8.5 | 11 | 6.7 | 3.3 | 440 J | 470 J | 640 | 600 | 800 | 740 | 750 | 0.19 U | 0.19 UJ
6010/3005 | Sodium | mg/L | 160 | N.A. | 13000 | 15000 | 16000 | 17000 J- | 18000 J- | 16000 | 16000 | 13000 J+ | 15000 | 14000 | 250 | 7200 | 8600 | 110 | 4900 J- | 6500 J- | 100 | 4000 | 3800 | 20 | 21 | 26 | 21 | 20 | 31 | 14 | 15 | 22 | 7700 | 13000 | 15000 J | 14000 J- | 19000 | 19000 | 19000 | 1.5 | 0.31 U
6010/3005 | Boron | ug/L | N.A. | N.A. | 5.2 | 6.2 | 6.2 | 5.8 | 7.1 | 6.6 | 6.6 | 5 J | 5.9 | 5.8 | 0.064 | 1.4 | 2.2 | 0.054 | 0.58 | 1.1 | 0.061 I | 0.86 | 0.82 | 0.053 | 0.053 | 0.051 | 0.06 | 0.063 | 0.069 | 0.047 I | 0.048 I | 0.048 I | 3.2 | 5.3 | 5.6 | 5.4 | 8.7 | 7.8 | 8.0 | 0.001 U | 0.01 U
6010/3005 | Strontium | ug/L | N.A. | N.A. | 11 | 12 | 12 | 15 | 14 | 13 | 14 | 11 J+ | 12 | 12 | 1.3 | 8.3 | 8.8 | 1.3 | 6.8 | 7.8 | 1.2 | 8.6 | 8.3 | 0.91 | 0.92 | 0.88 | 1 | 1.1 | 1.1 | 0.99 | 0.99 | 1.1 | 7.2 | 11 | 11 | 11 | 16 | 15 | 15 | 0.0015 I | 0.001 U
SM 3500 Cr B/D | Chromium VI | mg/L | 0.1 | N.A. | 0.002 U | 0.002 U | 0.006 I | 0.002 U | 0.002 U | 0.002 UQJ | 0.002 U | 0.002 U | 0.002 UJ- | 0.002 U | -- | -- | -- | -- | -- | -- | 0.002 U | 0.002 UQJ | 0.002 UQJ | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.002 U | 0.002 U | 0.002 U | 0.002 U | 0.003 IJ- | 0.002 U | 0.002 U | 0.002 U | 0.002 U
245.1 | Mercury | mg/L | 0.002 | N.A. | 0.000072 UJ- | 0.000072 UJ- | 0.000072 UJ- | 0.000072 UJ- | 0.000072 U | 0.000072 U | 0.000072 U | 0.1 | 0.000072 U | 0.000072 U | -- | -- | -- | -- | -- | -- | 0.000072 U | 0.000072 U | 0.000072 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.000072 U | 0.000072 U | 0.000072 U | 0.000072 U | 0.000072 UJ- | 0.000072 UJ- | 0.000072 UJ- | 0.000072 U | 0.000072 U
300.0 | Bromide | mg/L | N.A. | N.A. | 69 | 82 | 82 | 98 | 100 | 100 | 100 | 83 | 89 | 87 | 1.7 | 47 | 54 | 0.74 | 30 | 40 | 0.56 | 29 | 27 | 0.18 | 0.17 | 0.21 | 0.22 | 0.18 | 0.26 | 0.3 | 0.29 | 0.41 | 50 | 81 | 87 | 89 | 120 | 110 | 110 | 0.027 U | 0.027 U
300.0 | Chloride | mg/L | N.A. | 250 | 23000 | 27000 | 27000 | 29000 | 30000 | 29000 | 30000 | 24000 | 26000 | 26000 | 490 | 13000 | 16000 | 210 | 8900 | 12000 | 210 | 8000 | 7600 | 36 | 35 | 41 | 34 | 33 | 47 | 23 | 25 | 30 | 14000 | 24000 | 24000 | 25000 | 37000 | 36000 | 37000 | 0.22 I | 0.20 U
300.0 | Fluoride | mg/L | 4 | 2 | 0.1 U | 0.1 U | 0.1 U | 0.1 U | 0.1 U | 0.2 U | 0.2 UJ- | 0.1 U | 0.10 U | 0.10 U | 0.055 | 0.01 U | 0.1 U | 0.051 | 0.04 U | 0.04 U | 0.087 | 0.1 U | 0.1 U | 0.17 | 0.23 | 0.14 | 0.18 | 0.068 | 0.047 I | 0.02 U | 0.038 I | 0.062 | 0.17 I | 0.10 U | 0.1 U | 0.1 U | 0.1 U | 0.1 U | 0.1 U | 0.02 U | 0.02 U
300.0 | Sulfate | mg/L | N.A. | 250 | 3100 | 3600 | 3600 | 3700 | 4000 | 4000 | 4000 | 3200 | 3400 | 3500 | 20 | 1600 | 1900 | 19 | 860 | 1300 | 14 | 880 | 800 | 27 | 25 | 29 | 36 | 43 | 49 | 18 | 24 | 33 | 1900 | 3100 | 3400 | 3500 | 5000 | 4700 | 4800 | 0.2 U | 0.2 U
| Free Chlorine | mg/L | N.A. | Free Chlorine | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
| Total Chlorine | mg/L | N.A. | N.A. | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
SM4500-NH3 G | Ammonia | mg/L as N | N.A. | N.A. | 37 ? | 15 ? | 1.9 | 1.7 | 1.8 | 1.8 | 1.7 | 1.0 | 1.4 J | 1.4 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.76 | 1.2 | 1.2 J+ | 1.2 | 2.1 | 1.3 | 1.4 | 0.11 | 0.048 I
DEP SOP | Unionized NH3 | mg/L | N.A. | N.A. | 0.34 | 0.13 | 0.014 | 0.025 | 0.013 | 0.01 | -- | 0.0042 | 0.0019 | 0.0092 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.69 | 0.0098 | 0.018 | -- | 0.016 | 0.015 | 0.014 | -- | --
353.2 | Nitrate/Nitrite as N | mg/L | 10 | N.A. | 0.0047 U | 0.0047 U | 0.0047 U | 0.0047 U | 0.0047 U | 0.014 | 0.014 | 0.0047 | 0.016 | 0.014 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.0052 IJ+ | 0.016 | 0.046 J | 0.022 J | 0.014 | 0.028 | 0.014 | 0.023 | 0.0068 I
351.2 | TKN | mg/L | N.A. | N.A. | 1.6 ? | 2.2 ? | 2.1 | 1.9 | 1.9 | 2 | 1.8 | 1.2 | 1.1 J | 1.6 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 1.1 | 1.4 | 1.7 | 1.4 | 2.6 | 1.5 | 1.7 | 0.05 U | 0.11 I
353.2 & 351.2 | TN9 | mg/L | N.A. | N.A. | 1.6 | 2.2 | 2.1 | 1.9 | 1.9 | 2 | 1.8 | 1.2 | 1.1 | 1.6 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 1.1 | 1.4 | 1.7 | 1.4 | 2.6 | 1.5 | 1.7 | 0.25 U | 0.21 U
SM4500 - P E | Orthophosphate | mg/L | N.A. | N.A. | 0.05 J | 0.055 J | 0.061 J | 0.12 IJ | 0.11 IJ | 0.1 IJ | 0.1 IJ | 0.36 IJ | 0.13 IJ | 0.12 J | -- | -- | -- | -- | -- | -- | 0.014 IJ | -- | 0.014 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.094 IJ | 0.11 IQJ- | 0.11 IJ | 0.11 IJ | 0.081 J | 0.053 | 0.072 J | 0.005 I | 0.053 I
365.1 | Phosphorus (P) | mg/L | N.A. | N.A. | 0.021 J | 0.023 J | 0.023 J | 0.036 J | 0.082 IJ | 0.059 J | 0.057 J | 0.097 IJ | 0.079 IJ | 0.080 IJ | -- | -- | -- | -- | -- | -- | 0.0044 UJ | -- | 0.013 | -- | -- | -- | -- | -- | -- | -- | -- | -- | 0.061 IJ | 0.058 IJ+ | 0.034 ? | 0.042 J | 0.049 J | 0.046 | 0.035 J | 0.0044 U | 0.0044 U
2320B | Alkalinity | mg/L (CaCO3) | N.A. | N.A. | 200 | 180 | 180 | 120 | 190 | 190 | 180 | 330 | 220 | 220 | 200 | 210 | 200 | 240 | 210 | 220 | 270 | 210 | 200 | 210 | 200 | 200 | 240 | 230 | 220 | 250 | 270 | 250 | 510 | 190 | 180 | 180 | 180 | 140 | 150 | 2.3 | 2.0
| Carbonate as CaCO3 | mg/L | N.A. | N.A. | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 40 | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U
SM4500-S2 F | Sulfides | mg/L | N.A. | N.A. | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 4.8 | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.1 | 1.0 U | 1.0 U | 22 | 1.0 U | 1.0 U | 1.0 U | 19 | 1.0 U | 1.0 U | 1.0 U | 1.0 U
2540C | Total Dissolved Solids | mg/L | N.A. | 500 | 49000 | 61000 | 59000 | 62000 | 64000 | 62000 | 63000 | 44000 | 48000 | 47000 | 1100 | 28000 | 33000 | 690 | 17000 | 21000 | 660 | 18000 | 17000 | 300 | 310 | 320 | 320 | 350 | 370 | 330 | 350 | 360 | 26000 | 44000 | 53000 | 53000 | 75000 | 70000 | 74000 | 5.0 U | 5.0 U
9060 | Dissolved Inorganic Carbon | mg/L | N.A. | N.A. | 45 | 39 | 38 | 32 | 49 | 46 | 46 | 83 | 55 | 87 | 54 | 48 | 45 | 62 | 54 | 55 | 69 | 56 | 52 | 44 | 47 | 47 | 3.9 | 51 | 49 | 62 | 60 | 58 | 130 | 49 | 46 | 46 | 38 | 30 | 30 | 1.5 | 1.0 U
U of M | d18O | ‰ | N.A. | N.A. |  |  |  | 4.6 | 4.7 | 4.9 | 5 | 3.5 | 4.1 | 2.1 | -0.9 | 1.8 | 2.5 | -1.2 | 0.2 | 0.8 | -1.6 | -0.4 | -0.4 | -1.2 | -1.2 | -1 |  | -1.7 | -1.7 | -1.5 | -1.4 | -1.6 | 4.1 | -3.2 | 4.2 | 4.3 | 5.5 | 5.2 | 5.3 | -3.1
U of M | d2H | ‰ | N.A. | N.A. |  |  |  | 25.9 | 28.5 | 30 | 32.5 | 20.3 | 32.8 | 14.2 | -3.2 | 10 | 14.8 | -4.9 | 1.7 | 8.5 | -8.9 | 1.9 | -1.2 | -8.2 | -8.9 | -7 |  | -5.9 | -8.5 | -5.2 | -2.9 | -7.1 | 23.4 | -15.8 | 27.1 | 22.3 | 34 | 26.7 | 32.5 | -16.2
U of M | d13C | ‰ | N.A. | N.A. | -6.5137 | -6.3794 | -6.2928 | -7.687 | -6.846 | -6.6296 | -6.4355 | -8.5914 | -8.0742 | -12.6898 | -11.1036 | -7.343 | -6.9957 | -10.433 | -8.1779 | -7.5178 | -11.6125 | -6.5963 | -7.4722 | -9.0868 | -7.5861 | -8.9176 | -14.2876 | -9.251 | -9.251 | -9.251 | -8.5268 | -9.2456 | -7.2034 | -12.159 | -7.0461 | -7.0484 | -7.8616 | -6.4869 | -7.2017 | -12.58 | -12.16
900 | Gross Alpha | pCi/L | ≤15 | N.A. | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
PSS78 | Salinity | ‰ | N.A. | N.A.
USGS | Sr 87/86 | ‰ | N.A. | N.A. | 0.70916 | 0.70914 | -- | 0.70918 | 0.70913 | 0.70917 | 0.70917 | 0.70917 | -- | 0.70914 | 0.70917 | 0.70914 | 0.70908 | 0.70918 | 0.70916 | 0.70915 | 0.70914 | 0.70916 | 0.70911 | 0.70923 | 0.70918 | 0.70918 | 0.70912 | 0.70912 | 0.70916 | 0.70914 | 0.70916 | 0.70912 | 0.70917 | 0.70917 | 0.70914 | 0.70916 | 0.70913 | 0.70914 | 0.70915 | no signal | no signal
USGS | Tritium | pCi/L | 20000 | N.A. | 1580.8 | 2816 | 2579.2 | 3168 | 3328 | 3232 | 3732.3 | 854.4 | 1990.4 | 1990.4 | 8.64 | 325.38 | 505.6 | 10.208 | 293.48 | 187.572 | 9.57 | 0.957 | 12.76 | 1.6 | 3.2 | 4.48 | 4.48 | 4.48 | 6.72 | 4.16 | 16 | 8 | 236.8 | 1795.2 | 1561.6 | 1764.1 | 4370.3 | 4178.9 | 4785 | 3.5 | 9.9
* = F.A.C 62-520.420 states primary and secondary drinking water standards applies to G-1 and G-2 groundwater. Standards can be found at http://www.dep.state.fl.us/water/drinkingwater/standard.htm.
I = value betweeen the MDL and PQL
U = analyzed for but not detected at the reported value
J = estimated (+/- indicate bias)
(MCL) = Maximum Contaminant Levels
N.A. - not applicable
GW samples 1,2,10, 13, 14 area analyzed for trace metals and nutrients as well.
*SW and GW samples in same SDG
**Sample 062110-TPGW-Dup1 is a duplicate of 062110-TPGW-2D
***Sample 061810-TPGW-Dup1 is a duplicate of 061810-TPGW-12D
Technical consistancy
· The total anion charge must be within 80% - 110% of the total cation charge, if the measured conductivity is greater than 100 umho/cm.
|  |  |  | (ADaPT) | [5 empty] | 910 |  |  | 847 | 804 | 19 | 426 | 508 | 12 | 290 | 381 | 11 | 243 | 231 | 6 | 6.1 | 6.1 | 7.8 | 6.9 | 7.6 | 7.2 | 7.1 | 6.9 | 450 | 749
[10 empty] | 728 |  |  | 677.6 | 643.2 | 15.2 | 340.8 | 406.4 | 9.6 | 232 | 304.8 | 8.8 | 194.4 | 184.8 | 4.8 | 4.88 | 4.88 | 6.24 | 5.52 | 6.08 | 5.76 | 5.68 | 5.52 | 360 | 599.2
[10 empty] | 1001 |  |  | 931.7 | 884.4 | 20.9 | 468.6 | 558.8 | 13.2 | 319 | 419.1 | 12.1 | 267.3 | 254.1 | 6.6 | 6.71 | 6.71 | 8.58 | 7.59 | 8.36 | 7.92 | 7.81 | 7.59 | 495 | 823.9
[10 empty] | 916 |  |  | 818 | 820 | 18 | 409 | 501 | 11 | 276 | 374 | 12 | 251 | 238 | 5.8 | 5.5 | 5.8 | 6.5 | 6.4 | 6.8 | 6 | 6.6 | 6.5 | 450 | 754
[10 empty] | y |  |  | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y
· The measured specific conductivity (umho/cm) must be within 80% - 120% of the conductivity estimated from major cation concentrations (calcium, magnesium, sodium, and potassium).
Not required if charge balance is acceptable. |  |  |  | Calc (ADaPT)
· The measured specific conductivity (umho/cm) must be within 80% - 120% of the conductivity estimated from major anion concentrations.
Not required if charge balance is acceptable. |  |  |  | Calc (ADaPT)
· The TDS concentration (in mg/L) must be within 40% -120% of the measured conductivity (in umho/cm). If both measurements are below 100 (in mg/L or umho/cm2, respectively), meeting this criterion is unnecessary
[5 empty] | 53720 | 61220 | 59870 | 65980 | 61080 | 65230 | 65230 | 51890 | 62250 | 55570 | 1750 | 32010 | 37010 | 958 | 21350 | 29980 | 1050 | 19640 | 20400 | 483 | 500 | 510 | 1140 | 544 | 599 | 556 | 563 | 564 | 37380 | 52270 | 57910 | 57910 | 72860 | 70180 | 71970
[5 empty] | 21488 | 24488 | 23948 | 26392 | 24432 | 26092 | 26092 | 20756 | 24900 | 22228 | 700 | 12804 | 14804 | 383.2 | 8540 | 11992 | 420 | 7856 | 8160 | 193.2 | 200 | 204 | 456 | 217.6 | 239.6 | 222.4 | 225.2 | 225.6 | 14952 | 20908 | 23164 | 23164 | 29144 | 28072 | 28788
[5 empty] | 64464 | 73464 | 71844 | 79176 | 73296 | 78276 | 78276 | 62268 | 74700 | 66684 | 2100 | 38412 | 44412 | 1149.6 | 25620 | 35976 | 1260 | 23568 | 24480 | 579.6 | 600 | 612 | 1368 | 652.8 | 718.8 | 667.2 | 675.6 | 676.8 | 44856 | 62724 | 69492 | 69492 | 87432 | 84216 | 86364
[5 empty] | 49000 | 61000 | 59000 | 62000 | 64000 | 62000 | 63000 | 44000 | 48000 | 47000 | 1100 | 28000 | 33000 | 690 | 17000 | 21000 | 660 | 18000 | 17000 | 300 | 310 | 320 | 320 | 350 | 370 | 330 | 350 | 360 | 26000 | 44000 | 53000 | 53000 | 75000 | 70000 | 74000
[5 empty] | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | y | n | y | y | y | y | y | y | y | y | y | y | y | y
· The total ammonia concentration must be less than 120% of the TKN concentration.
[5 empty] | 1.6 | 2.2 ? | 2.1 | 1.9 | 1.9 | 2 | 1.8 | 1.2 | 1.1 J | 1.6 | [18 empty] | 1.1 | 1.4 | 1.7 | 1.4 | 2.6 | 1.5 | 1.7
[5 empty] | 1.92 | #VALUE! | 2.52 | 2.28 | 2.28 | 2.4 | 2.16 | 1.44 | #VALUE! | 1.92 | [18 empty] | 1.32 | 1.68 | 2.04 | 1.68 | 3.12 | 1.8 | 2.04
[5 empty] | 37 ? | 15 ? | 1.9 | 1.7 | 1.8 | 1.8 | 1.7 | 1.0 | 1.4 J | 1.4 | [18 empty] | 0.76 | 1.2 | 1.2 J+ | 1.2 | 2.1 | 1.3 | 1.4
[5 empty] | n | n | y | y | y | y | y | y | n | y | [18 empty] | y | y | y | y | y | y | y
· The orthophosphate concentration must be less than 120% of the total phosphorus concentration.
[5 empty] | 0.021 | 0.023 | 0.023 | 0.036 | 0.082 | 0.059 | 0.057 | 0.097 | 0.079 | 0.08 | [6 empty] | 0.0044 |  | 0.013 | [9 empty] | 0.061 | 0.058 | 0.034 | 0.042 | 0.049 | 0.046 | 0.035
[5 empty] | 0.0252 | 0.0276 | 0.0276 | 0.0432 | 0.0984 | 0.0708 | 0.0684 | 0.1164 | 0.0948 | 0.096 | [6 empty] | 0.00528 |  | 0.0156 | [9 empty] | 0.0732 | 0.0696 | 0.0408 | 0.0504 | 0.0588 | 0.0552 | 0.042
[5 empty] | 0.05 | 0.055 | 0.061 | 0.12 | 0.11 | 0.1 | 0.1 | 0.36 | 0.13 | 0.12 | [6 empty] | 0.014 |  | 0.014 | [9 empty] | 0.094 | 0.11 | 0.11 | 0.11 | 0.081 | 0.053 | 0.072
[5 empty] | n | n | n | n | n | n | n | no | n | n | [6 empty] | n |  | n | [9 empty] | no | no | n | n | n | y | n

## Surface Water
FPL Turkey Point Uprate Monitoring Project
| June/July 2010 Quarterly Sampling Event |  |  | SDG | 660-35894 | 660-35894 | 660-35894 | 660-35918 | 660-35918 | 660-35918 | 660-35918 | 660-35918 | 660-36007 | 660-36007 | 660-36007 | 660-36007 | 660-36059 | 660-36059 | 660-36118** | 660-36118** | 660-36118** | 660-36118** | 660-36118** | 660-36118** | 660-36059 | 660-36059 | 660-36059 | 660-36059 | 660-36059 | 660-35863 | 660-35863 | 660-35986 | 660-36167 | 660-36031* | 660-35986 | 660-36059 | 660-36059 | 660-36167 | 660-36167 | 660-36274 | 660-36274 | 660-35986 | 660-36031*
| Parameter | Units | SW Stds (Fresh C-III)* | SW Stds (Marine C-III)* | BBSW-1T | BBSW-1B | BBSW-2T | BBSW-3B | BBSW-4T | BBSW-4B | BBSW-5T | BBSW-5B | TPSWID-1B | TPSWID-1T | TPSWID-2B | TPSWID-2T | TPSWID-3B | TPSWID-3T | TPSWC-1T | TPSWC-1B | TPSWC-2T | TPSWC-2B | TPSWC-3T | TPSWC-3B | TPSWC-4T | TPSWC-4B | TPSWC-5T | TPSWC-5B*** | TPSWC-DUP1*** | TPSWC-6S | TPSWC-6D | SWCCS-1B | SWCCS-1B | TPSWCCS-2B | SWCCS-3B | TPSWCCS-4T | TPSWCCS-4B | SWCCS-5T | SWCCS-5B | TPSWCCS-6T | TPSWCCS-6B | SWCCS-7B | TPSWCCS-8B
[5 empty] | 2010-06-22 | 2010-06-22 | 2010-06-22 | 2010-06-23 | 2010-06-23 | 2010-06-23 | 2010-06-23 | 2010-06-23 | 2010-06-29 | 2010-06-29 | 2010-06-29 | 2010-06-29 | 2010-07-01 | 2010-07-01 | 2010-07-07 | 2010-07-07 | 2010-07-07 | 2010-07-07 | 2010-07-07 | 2010-07-07 | 2010-07-01 | 2010-07-01 | 2010-07-01 | 2010-07-01 | 2010-07-01 | 2010-06-21 | 2010-06-21 | 2010-06-28 | 2010-07-09 | 2010-06-30 | 2010-06-28 | 2010-07-01 | 2010-07-01 | 2010-07-09 | 2010-07-09 | 2010-07-15 | 2010-07-15 | 2010-06-28 | 2010-06-30
Field - FT1400 | Temperature | °C | N.A. | N.A. | 31.36 | 31.91 | 31.91 | 31.51 | 30.78 | 30.84 | 30.0 | 30.2 | 31.65 | 31.97 | 29 | 31.6 | 30.05 | 31.72 | 30.53 | 28.89 | 31.96 | 30.25 | 32.58 | 30.54 | 31.96 | 28.64 |  |  | N.A. | 28.18 | 27.71 | 38.84 | 39.04 | 36.68 | 34.88 | 32.81 | 34.41 | 33.22 | 32.64 | 32.78 | 32.91 | 36.89 | 37.87
Field - FT1100 | pH | SU | N.A. | N.A. | 8.45 | 8.51 | 8.65 | 8.57 | 8.52 | 8.53 | 8.37 | 8.41 | 8.09 | 8.14 | 6.86 | 7.88 | 7.37 | 2.64 | 7.6 | 7.59 | 7.93 | 7.82 | 8.08 | 7.6 | 7.31 | 6.86 |  |  | N.A. | 7.32 | 7.27 | 8.22 | 8.2 | 8.25 | 8.19 | 7.96 | 8.28 | 8.15 | 8.14 | 8.18 | 4.25 | 8.24 | 8.29
Field - FT1500 | Dissolved Oxygen | mg/L | N.A. | N.A. | 6.45 | 7.65 | 7.8 | 7.63 | 6.23 | 5.86 | 5.71 | 6.1 | 6.46 | 7.1 | 0.86 | 7.91 | 9.14 | 7.15 | 4.59 | 5.54 | 6.61 | 5.28 | 8.04 | 5.77 | 4.9 | 0.27 |  |  | N.A. | 1.95 | 2.02 | 4.63 | 4.55 | 6.31 | 7.61 | 9.82 | 8.76 | 2.05 | 1.91 | 32.78 | 4.77 | 5.62 | 7.14
Field - FT1200 | Spec Cond | μS/cm | N.A. | N.A. | 45270 | 45670 | 48640 | 48300 | 47750 | 47860 | 45030 | 45040 | 5317 | 5287 | 7524 | 2994 | 2420 | 2437 | 512 | 470 | 597 | 596 | 877 | 1019 | 23040 | 32300 |  |  | N.A. | 839 | 892 | 76050 | 76510 | 76910 | 70260 | 77500 | 77590 | 76420 | 76380 | 75290 | 74960 | 75940 | 78060
| Turbidity | NTU | N.A. | N.A. | 0.94 | 0.9 | 0.91 | 1.12 | 3.41 | 3.68 | 1.17 | 1.27 | 1.08 | 1.15 | 5.06 | 2.03 | 0.74 | 0.52 | 1.17 | 1.19 | 1.79 | 7.12 | 1.21 | 1.55 | 5.17 | 45.96 |  |  | N.A. | 0.55 | 1.25 | 9.19 | 3.5 | 8.46 | 8.57 | 4.83 | 5.7 | 3.45 | 4.6 | 3.56 | 4.25 | 6.42 | 14.14
200.7 | Arsenic | mg/L | 0.05 | 0.05 | -- | -- | -- | 0.012 U | 0.012 U | 0.012 U | 0.012 U | 0.012 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
200.7 | Barium | mg/L | N.A. | N.A. | 0.0081 U | 0.009 I | 0.0085 I | 0.0081 U | 0.0081 U | 0.0081 U | 0.0081 U | 0.0081 U | 0.0081 U | 0.0081 U | 0.013 I | 0.0081 U | -- | -- | 0.0081 U | 0.0081 U | 0.0081 U | 0.011 I | 0.0081 U | 0.013 I | 0.043 | 0.057 |  |  | 0.026 | -- | -- | 0.082 I | 0.082 I | 0.083 I | 0.073 I | 0.057 | 0.041 | 0.097 | 0.1 | 0.082 | 0.078 | 0.041 I | 0.073 I
200.7 | Beryllium | mg/L | 0.00013 | 0.00013 | -- | -- | -- | 0.0018 U | 0.0018 U | 0.0018 U | 0.0018 U | 0.0018 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
200.7 | Cadmium | mg/L | Cd | 0.0088 | -- | -- | -- | 0.0038 U | 0.0038 U | 0.0038 U | 0.0038 U | 0.0038 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
200.7 | Copper | mg/L | Cu | 0.0037 | -- | -- | -- | 0.0033 U | 0.0033 U | 0.0033 U | 0.0033 U | 0.0033 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
200.7 | Iron | mg/L | 1 | 0.3 | 0.120 I | 0.130 I | 0.098 I | 0.084 I | 0.110 I | 0.093 I | 0.084 I | 0.120 I | 0.071 I | 0.070 I | 0.077 I | 0.039 I | 0.033 IVJ | 0.037 IVJ | 0.029 IVJ+ | 0.028 IVJ+ | 0.034 IVJ+ | 0.07 IVJ+ | 0.027 U | 0.034 I | 0.21 J+ | 0.29 J+ |  |  | 0.088 | -- | -- | 0.027 U | 0.027 U | 0.33 I | 0.027 U | 0.22 | 0.21 | 0.027 U | 0.027 U | 0.027 U | 0.027 U | 0.027 U | 0.29 I
200.7 | Lead | mg/L | Pb | 0.0085 | -- | -- | -- | 0.028 I | 0.024 U | 0.027 I | 0.024 U | 0.024 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
200.7 | Manganese | mg/L | N.A. | N.A. | -- | -- | -- | 0.0046 U | 0.0046 U | 0.0046 U | 0.0046 U | 0.0046 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
200.7 | Molybdenum | mg/L | N.A. | N.A. | -- | -- | -- | 0.013 I | 0.013 I | 0.017 I | 0.011 I | 0.0093 I | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
200.7 | Nickel | mg/L | Ni | 0.0083 | -- | -- | -- | 0.014 U | 0.014 U | 0.014 U | 0.014 U | 0.014 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
200.7 | Selenium | mg/L | 0.005 | 0.071 | -- | -- | -- | 0.034 U | 0.034 U | 0.034 U | 0.034 U | 0.034 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
200.7 | Thallium | mg/L | 0.0063 | 0.0063 | -- | -- | -- | 0.016 U | 0.016 I | 0.016 U | 0.016 U | 0.016 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
200.7 | Vanadium | mg/L | N.A. | N.A. | -- | -- | -- | 0.0052 U | 0.0052 U | 0.0052 U | 0.0052 U | 0.0052 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
200.7 | Zinc | mg/L | Zn | 0.086 | -- | -- | -- | 0.042 I | 0.140 I | 0.042 I | 0.027 I | 0.017 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
200.7 (Dissolved) | Silica | mg/L | N.A. | N.A. | 0.64 | 0.81 | 1.4 | 0.33 I | 0.46 I | 0.49 I | 1.0 | 1.0 | 3.5 | 3.6 | 3.4 | 3.2 | 4.3 | 4.2 | 4 | 6.4 | 4.7 | 5 | 4.4 | 4.2 | 3.8 | 4.6 |  |  | 1.9 | 2.8 | 2.8 | 1.3 I | 0.43 | 1.4 I | 1.6 I | 1.1 | 1 | 0.25 U | 0.38 | 0.5 U | 0.5 U | 1.3 I | 1.2 I
6010/3005 | Calcium | mg/L | N.A. | N.A. | 430 | 420 | 450 | 470 | 470 | 450 | 450 | 450 | 150 | 150 | 210 | 140 | 130 | 130 | 54 | 51 | 57 | 61 | 82 | 98 | 340 | 410 |  |  | 500 | 96 | 95 | 820 | 810 | 840 | 790 | 950 | 940 | 810 | 830 | 800 | 810 | 830 | 860
6010/3005 | Magnesium | mg/L | N.A. | N.A. | 1300 | 1400 | 1400 | 1500 | 1500 | 1400 | 1400 | 1400 | 110 | 100 | 150 | 50 | 40 | 40 | 8.4 | 8.3 | 9.3 | 9.3 | 10 | 11 | 630 | 900 |  |  | 1500 | 12 | 13 | 2600 | 2500 | 2600 | 2500 | 3000 | 3000 | 2500 | 2600 | 2500 | 2500 | 2600 | 2700
6010/3005 | Potassium | mg/L | N.A. | N.A. | 360 | 370 | 390 | 420 | 410 | 400 | 370 | 380 | 38 J | 37 J | 54 | 17 J | 14 | 14 | 5.2 | 5.4 | 5.0 | 5.0 | 5.1 | 5.2 | 270 | 410 |  |  | 470 | 9.1 | 9.4 | 760 | 790 | 840 | 710 | 860 | 870 | 800 | 810 | 800 | 810 | 760 | 840
6010/3005 | Sodium | mg/L | N.A. | N.A. | 10000 | 10000 | 11000 | 12000 | 12000 | 12000 | 11000 | 11000 | 920 | 980 | 1300 | 490 | 390 | 390 | 49 | 47 | 68 | 67 | 100 | 120 | 5000 | 7100 |  |  | 12000 | 82 | 90 | 22000 | 20000 | 21000 | 21000 | 21000 | 21000 | 20000 | 19000 | 20000 | 21000 | 22000 | 21000
6010/3005 | Boron | mg/L | N.A. | N.A. | 4.8 | 4.9 | 5.1 | 5.4 | 5.3 | 5.2 | 5.0 | 5.0 | 0.36 I | 0.36 I | 0.47 I | 0.17 I | 0.130 | 0.130 | 0.072 | 0.072 | 0.069 | 0.071 | 0.067 | 0.066 | 1.9 | 2.8 |  |  | 5.3 | 0.095 I | 0.096 I | 9.0 | 8.7 | 9.2 | 8.4 | 11 | 10 | 8.6 | 8.8 | 8.8 | 8.9 | 8.9 | 9.3
6010/3005 | Strontium | mg/L | N.A. | N.A. | 7.9 | 8.0 | 8.3 | 8.6 | 8.5 | 8.3 | 8.0 | 8.0 | 1.8 | 1.8 | 2.6 | 1.5 | 1.3 | 1.3 | 0.51 | 0.53 | 0.61 | 0.65 | 0.89 | 0.99 | 5.3 | 7 |  |  | 9.1 | 1.1 | 1.1 | 16 | 15 | 16 | 15 | 18 | 18 | 15 | 16 | 16 | 16 | 16 | 16
SM 3500 Cr B/D | Chromium VI | mg/L | 0.011 | 0.05 | -- | -- | -- | 0.002 U | 0.002 U | 0.002 U | 0.002 U | 0.002 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | 0.002 U | 0.002 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
245.1 | Mercury | mg/L | 1.2e-05 | 2.5e-05 | -- | -- | -- | 0.000072 U | 0.000072 U | 0.000072 U | 0.000072 U | 0.000072 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | 0.000072 U | 0.000072 U | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
300.0 | Bromide | mg/L | N.A. | N.A. | 66 | 67 | 72 | 73 | 70 | 73 | 63 | 67 | 5.8 | 6.1 | 9.4 | 3.1 | 1.8 | 1.8 | 0.17 | 0.17 | 0.29 | 0.29 | 0.65 | 0.81 | 32 | 44 |  |  | 75 | 0.47 | 0.5 | 130 | 130 | 120 | 120 | 130 | 130 | 130 | 120 | 120 | 120 | 120 | 120
300.0 | Chloride | mg/L | N.A. | ≤10% bkgd | 19000 | 19000 | 21000 | 19000 | 21000 | 20000 | 21000 | 19000 | 1800 | 1900 | 2800 | 940 | 720 | 740 | 85 | 84 | 130 | 120 | 200 | 250 | 9300 | 13000 |  |  | 22000 | 150 | 160 | 39000 | 36000 | 38000 | 37000 | 37000 | 37000 | 37000 J- | 37000 | 37000 | 36000 | 39000 J- | 40000
300.0 | Fluoride | mg/L | ≤10 | ≤5 | 0.33 | 0.39 | 0.1 U | 0.1 UJ- | 0.1 U | 0.1 U | 0.1 U | 0.32 | 3.2 | 0.13 I | 0.10 U | 0.10 U | 0.11 | 0.098 | 0.04 I | 0.081 | 0.075 | 0.04 I | 0.1 | 0.068 | 0.1 U | 0.11 |  |  | 0.1 U | 0.087 | 0.084 | 0.08 U | 0.1 U | 0.1 U | 0.08 U | 0.1 U | 0.1 U | 0.1 U | 0.1 U | 0.1 UQ? | 0.1 UQ | 0.10 U | 0.1 U
300.0 | Sulfate | mg/L | N.A. | N.A. | 2700 | 2700 | 2900 | 3000 | 2800 | 2900 | 2500 | 2700 | 210 | 220 | 300 | 93 | 70 | 65 | 5.9 | 6.5 | 4.7 | 5.1 | 10 | 14 | 1200 | 1700 |  |  | 3000 | 55 | 56 | 4600 | 5000 | 5100 | 4300 | 5100 | 5000 | 5100 | 5000 | 4900 | 4900 | 5200 | 5400
| Free Chlorine | mg/L | Free Chlorine |  | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
| Total Chlorine | mg/L | N.A. |  | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | --
SM4500-NH3 G | Ammonia | mg/L as N | N.A. | N.A. | 0.085 | 0.082 | 0.08 | 0.12 | 0.036 | 0.05 | 0.042 I | 0.14 | 0.15 | 0.16 | 0.2 | 0.19 | 0.19 | 0.18 | 0.16 | 0.21 | 0.22 | 0.2 | 0.12 | 0.17 | 0.8 | 0.65 |  |  | 0.036 | 0.12 | 0.1 | 0.12 | 0.083 | 0.18 | 0.11 | 0.13 | 0.14 | 0.093 | 0.13 | 0.12 | 0.12 | 0.11 | 0.16
DEP SOP | Unionized NH3 | mg/L | ≤0.02 | N.A. | 0.021 | 0.023 | 0.028 | 0.036 | 0.03 U | 0.03 U | 0.03 U | 0.03 U | 0.018 | 0.022 | 0.0025 | 0.015 | 0.0043 | 0.0083 | 0.0063 | 0.0072 | 0.0094 | 0.012 | 0.015 | 0.0066 | 0.018 | 0.0042 |  |  |  | 0.0021 | 0.0015 | 0.028 | 0.019 | 0.04 | 0.02 | 0.031 | 0.029 | 0.014 | 0.019 | 0.019 | 0.000017 U | 0.024 | 0.041
353.2 | Nitrate/Nitrite as N | mg/L | N.A. | N.A. | 0.0047 U | 0.0062 I | 0.0047 U | 0.0047 U | 0.0077 I | 0.028 | 0.0098 I | 0.0053 I | 0.11 | 0.12 | 0.0047 U | 0.011 | 0.016 J+ | 0.011 | 0.0047 U | 0.0047 U | 0.0047 U | 0.0047 U | 0.0047 U | 0.0047 U | 0.017 | 0.014 |  |  | 0.0073 | 0.021 | 0.05 | 0.0047 U | 0.0047 U | 0.015 | 0.0047 U | 0.014 | 0.015 | 0.0047 U | 0.0047 U | 0.08 | 0.03 | 0.0047 U | 0.017
351.2 | TKN | mg/L | N.A. | N.A. | 0.25 | 0.36 | 0.26 | 0.11 I | 0.24 | 0.3 | 0.32 | 0.41 | 0.89 | 0.78 | 1.1 | 0.8 | 0.86 | 0.88 | 1.1 | 1.2 | 1.3 | 1.4 | 1.2 | 1.1 | 1.7 | 1.7 |  |  | 0.56 | 0.36 | 0.42 | 1.3 | 2.2 | 1.6 | 1.6 | 2.5 | 1.6 | 2.2 | 2.3 | 1.7 | 1.6 | 1.5 | 2.2
353.2 & 351.2 | TN9 | mg/L | N.A. | N.A. | 0.25 | 0.37 | 0.26 | 0.25 U | 0.25 | 0.33 | 0.33 | 0.42 | 1 | 0.9 | 1.1 | 0.81 | 1.7 | 0.87 | 1.1 | 1.2 | 1.3 | 1.4 | 1.2 | 1.1 | 1.7 | 0.89 |  |  | 0.57 | 0.38 | 0.47 | 1.3 | 2.2 | 2.6 J | 1.6 | 0.87 | 1.7 | 2.2 | 2.3 | 1.8 | 1.6 | 1.5 | 1.5 J
SM4500 - P E | Orthophosphate | mg/L | N.A. | N.A. | 0.042 I | 0.044 I | 0.045 I | 0.048 IJ | 0.053 IJ | 0.044 IJ | 0.044 IJ | 0.047 IJ | 0.0036 I | 0.0034 I | 0.0050 I | 0.0025 I | 0.0022 | 0.0094 J | 0.0023 I | 0.002 I | 0.0018 I | 0.0026 I | 0.0014 I | 0.0018 I | 0.024 IJ | 0.03 IJ |  |  | 0.05 IJ | 0.014 I | 0.014 U | 0.069 ? | 0.051 IJ | 0.058 J | 0.071 IJ | 0.076 IJ | 0.078 IJ | 0.052 IJ | 0.062 IJ | 0.074 IJ | 0.073 IJ | 0.069 IJ | 0.057 J
365.1 | Phosphorus (P) | mg/L | N.A. | N.A. | 0.013 | 0.018 | 0.018 | 0.019 J | 0.025 J | 0.02 J | 0.015 J | 0.016 J | 0.0054 I | 0.0060 I | 0.011 | 0.0057 I | 0.0066 | 0.0044 UJ | 0.0044 I | 0.0072 I | 0.0044 U | 0.0065 I | 0.0048 I | 0.0046 I | 0.011 J | 0.02 J |  |  | 0.021 J | 0.0044 U | 0.013 | 0.033 J | 0.029 J- | 0.028 J | 0.026 J | 0.024 J | 0.024 J | 0.024 J | 0.024 J | 0.016 J | 0.019 J | 0.025 J | 0.03 J
2320B | Alkalinity | mg/L (CaCO3) | ≤ 20 | N.A. | 110 | 110 | 110 | 100 | 110 | 100 | 120 | 120 | 230 | 230 | 310 | 220 | 200 | 200 | 140 | 140 | 120 | 130 | 160 | 180 | 240 | 240 |  |  | 160 | 200 | 190 | 150 | 150 | 150 | 160 | 150 | 150 | 160 | 150 | 150 | 150 | 150 | 150
| Carbonate as CaCO3 | mg/L | N.A. | N.A. | 9.5 | 17 | 34 | 18 | 14 | 6.7 | 1.0 U | 4.5 | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U |  |  | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 5.5 | 25 | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U
SM4500-S2 F | Sulfides | mg/L | N.A. | N.A. | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U |  |  | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U | 1.0 U
2540C | Total Dissolved Solids | mg/L | N.A. | N.A. | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- |  |  | -- | 660 | -- | 77000 | 77000 | 80000 | 71000 | 79000 | 78000 | 75000 | 79000 | 78000 | 77000 | 77000 | 81000
9060 | Dissolved Inorganic Carbon | mg/L | N.A. | N.A. | 22 | 20 | 20 | 20 | 20 | 20 | 25 | 25 | 52 | 52 | 72 | 51 | 49 | 47 | 36 | 34 | 33 | 33 | 39 | 44 | 56 | 53 |  |  | 30 | 49 | 49 | 30 | 30 | 27 | 32 | 25 | 27 | 32 | 32 | 31 | 29 | 30 | 22
U of M | d18O | ‰ | N.A. | N.A. | 2.2 | 2.2 | 2.3 | 2.4 | 2.3 | 2.3 | 2.8 | 2.6 | 1 | 1 | 0.7 | 0.8 | 0.4 | 0.6 | [6 empty] | 1.7 | 2.2 | 2.4 | 2.5 | 2.4 | -0.6 | -0.6 | 6.2 | -- | 6.1 | 6 | 6.1 | 6.1 | -- | -- | -- | -- | 6.2 | 6.3
U of M | d2H | ‰ | N.A. | N.A. | 15.4 | 16.5 | 18.6 | 15.2 | 16.9 | 17.3 | 14.9 | 19.6 | 7.6 | 10 | 10.1 | 8.1 | 5.5 | 7.2 | [6 empty] | 16.8 | 15.5 | 24.2 | 20.4 | 23.9 | -2.1 | -0.9 | 31.6 | -- | 31.2 | 27.5 | 32.9 | 34 | -- | -- | -- | -- | 36.4 | 36.5
U of M | d13C | ‰ | N.A. | N.A. | -5.5813 | -4.5859 | -4.2932 | -1.8195 | -3.4251 | -2.6181 | -5.2619 | -3.626 | -6.9862 | -6.5536 | -6.6563 | -6.963 | -8.4206 | -7.6274 | -7.6272 | -7.4158 | -6.8527 | -6.9107 | -7.0484 | -8.3262 | -8.2732 | -8.8301 | -5.8 | -5.25 | -5.9357 | -9.6734 | -10.0902 | -3.7852 | -3.7852 | -2.8571 | -3.9681 | -2.4652 | -2.6928 | -3.3106 | -3.9098 | -3.2972 | -3.1982 | -2.873 | -2.6881
900 | Gross Alpha | pCi/L | ≤15 | ≤15 | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | -- | 68 (+/-6) | 15.8+-1.2 | 57 (+/-4) | 52 (+/-5) | 38+-3 | 54+-4 | 16.9+-1.3 | 16.5+-1.3 | 25+-2 | 21+-2 | 55 (+/-5) | 55 (+/-4)
PSS78 | Salinity | ‰ | N.A. | N.A.
USGS | Sr 87/86 | ‰ | N.A. | N.A. | 0.70918 | 0.70916 | 0.70917 | -- | -- | -- | -- | -- | 0.70916 | 0.70912 | 0.70909 | 0.70915 | 0.7092 | 0.70918 | 0.70919 | 0.70918 | 0.70921 | 0.70917 | 0.70918 | 0.70921 | 0.70915 | 0.70917 | 0.7092 | 0.70915 | 0.70918 | 0.70919 | 0.70915 | 0.70915 | 0.70915 | 0.7091 | 0.70907 | 0.70909 | 0.70908 | 0.70916 | 0.70911 | 0.70912 | 0.70914 | 0.70911 | 0.70913
USGS | Tritium (picocuries/L) | pCi/L | 20000 | N.A. | 16.3 | 8 | 11.5 | -- | -- | -- | -- | -- | 153.28 | 162.24 | 140.48 | 108.8 | 79.75 | 83.897 | 9.6 | 24 | 34.24 | 27.52 | 35.84 | 30.08 | 890.01 | 1276 | 146.7 | 261.6 | -- | 11.803 | 7.975 | 2620.8 | 2620.8 | 3248 | 3052.8 | 3171.2 | 3097.6 | 2582.4 | 2524.8 | 2380.8 | 2339.2 | 3260.8 | 3155.2
* = FL surface water quality standards are provided in F.A.C. 62-302-530 and can be found at http://water.epa.gov/scitech/swguidance/waterquality/standards/upload/2008_12_29_standards_wqslibrary_fl_fl_4_62-302t.pdf
Surface water standards separated into 2 catagories - fresh and marine (<1500mg/L Chloride and >1500mg/L chloride, respectively)
Chloride Marine C-III standard - 10% above background"
I = value betweeen the MDL and PQL
U = analyzed for but not detected at the reported value
J = estimated (+/- indicate bias)
** =SW and GW in same SDG
*** = Sample TPSWC-Dup1 is a duplicate of TPSWC-5B
Technical consistancy
· The total anion charge must be within 80% - 110% of the total cation charge, if the measured conductivity is greater than 100 umho/cm.
|  |  | (ADaPT) | cation | 574 | 601 | 628 | 681 | 681 | 671 | 627 | 627 | 58 | 59 | 81 | 33 |  |  | 5.7 | 5.4 | 6.7 | 6.9 | 9.4 | 11 | [5 empty] | 9.6 | 10 | 1234 |  |  | 1179 |  |  |  |  | 1138 | 1183
|  |  |  | 80% | 459.2 | 480.8 | 502.4 | 544.8 | 544.8 | 536.8 | 501.6 | 501.6 | 46.4 | 47.2 | 64.8 | 26.4 |  |  | 4.56 | 4.32 | 5.36 | 5.52 | 7.52 | 8.8 | [5 empty] | 7.68 | 8 | 987.2 |  |  | 943.2 |  |  |  |  | 910.4 | 946.4
|  |  |  | 110% | 631.4 | 661.1 | 690.8 | 749.1 | 749.1 | 738.1 | 689.7 | 689.7 | 63.8 | 64.9 | 89.1 | 36.3 |  |  | 6.27 | 5.94 | 7.37 | 7.59 | 10.34 | 12.1 | [5 empty] | 10.56 | 11 | 1357.4 |  |  | 1296.9 |  |  |  |  | 1251.8 | 1301.3
|  |  |  | anion | 582 | 601 | 663 | 607 | 661 | 634 | 654 | 602 | 61 | 63 | 92 | 33 |  |  | 5.4 | 5.3 | 6.2 | 6.1 | 9.1 | 11 | [5 empty] | 9.4 | 9.5 | 1213 |  |  | 1149 |  |  |  |  | 1162 | 1133
|  |  |  | Pass | y | y | y | y | y | y | y | y | y | y | n | y |  |  | y | y | y | y | y | y | [5 empty] | y | y | y |  |  | y |  |  |  |  | y | y
· The measured specific conductivity (umho/cm) must be within 80% - 120% of the conductivity estimated from major cation concentrations (calcium, magnesium, sodium, and potassium).
Not required if charge balance is acceptable. |  |  | Calc (ADaPT) | [11 empty] | 8570
|  |  |  | 80% | [10 empty] | 6856
|  |  |  | 120% | [10 empty] | 10284
|  |  |  | Cond | [10 empty] | 7524
|  |  |  | Pass | [10 empty] | y
· The measured specific conductivity (umho/cm) must be within 80% - 120% of the conductivity estimated from major anion concentrations.
Not required if charge balance is acceptable. |  |  | Calc (ADaPT) | [11 empty] | 9858
|  |  |  | 80% | [10 empty] | 7886.4
|  |  |  | 120% | [10 empty] | 11829.6
|  |  |  | Cond | [10 empty] | 7524
|  |  |  | Pass | [10 empty] | y
· The TDS concentration (in mg/L) must be within 40% -120% of the measured conductivity (in umho/cm). If both measurements are below 100 (in mg/L or umho/cm2, respectively), meeting this criterion is unnecessary
|  |  |  | Spc Cond | [25 empty] | 839 |  | 76050 | 76510 | 76910 | 70260 | 77500 | 57910 | 76420 | 76380 | 75290 | 74960 | 75940 | 78060
|  |  |  | 40% | [25 empty] | 335.6 |  | 30420 | 30604 | 30764 | 28104 | 31000 | 23164 | 30568 | 30552 | 30116 | 29984 | 30376 | 31224
|  |  |  | 120% | [25 empty] | 1006.8 |  | 91260 | 91812 | 92292 | 84312 | 93000 | 69492 | 91704 | 91656 | 90348 | 89952 | 91128 | 93672
|  |  |  | TDS | [25 empty] | 660 |  | 77000 | 77000 | 80000 | 71000 | 79000 | 78000 | 75000 | 79000 | 78000 | 77000 | 77000 | 81000
|  |  |  | Pass | [25 empty] | y |  | y | y | y | y | y | n | y | y | y | y | y | y
· The total ammonia concentration must be less than 120% of the TKN concentration.
|  |  |  | TKN | 0.25 | 0.36 | 0.26 | 0.11 | 0.24 | 0.3 | 0.32 | 0.41 | 0.89 | 0.78 | 1.1 | [18 empty] | 1.6 | 1.6 | 2.5 | 1.6 | 2.2 | 2.3 | 1.7
|  |  |  | 120% | 0.3 | 0.432 | 0.312 | 0.132 | 0.288 | 0.36 | 0.384 | 0.492 | 1.068 | 0.936 | 1.32 | [18 empty] | 1.92 | 1.92 | 3 | 1.92 | 2.64 | 2.76 | 2.04
|  |  |  | NH3 | 0.085 | 0.082 | 0.08 | 0.12 | 0.036 | 0.05 | 0.042 I | 0.14 | 0.15 | 0.16 | 0.2 | [18 empty] | 0.18 | 0.11 | 0.13 | 0.14 | 0.093 | 0.13 | 0.12
|  |  |  | Pass | y | y | y | y | y | y | y | y | y | y | y | [18 empty] | y | y | y | y | y | y | y
· The orthophosphate concentration must be less than 120% of the total phosphorus concentration.
|  |  |  | TP | 0.013 | 0.018 | 0.018 | 0.019 | 0.025 | 0.02 | 0.015 | 0.016 | 0.0054 | 0.006 | 0.011 | 0.0057 | 0.0066 | 0.0044 | 0.0044 | 0.0072 | 0.0044 | 0.0065 | 0.0048 | 0.0046 | 0.011 | 0.02 |  |  | 0.021 | 0.0044 | 0.013 | 0.033 | 0.029 | 0.028 | 0.026 | 0.024 | 0.024 | 0.024 | 0.024 | 0.016 | 0.019 | 0.025 | 0.03
|  |  |  | 120% | 0.0156 | 0.0216 | 0.0216 | 0.0228 | 0.03 | 0.024 | 0.018 | 0.0192 | 0.00648 | 0.0072 | 0.0132 | 0.00684 | 0.00792 | 0.00528 | 0.00528 | 0.00864 | 0.00528 | 0.0078 | 0.00576 | 0.00552 | 0.0132 | 0.024 |  |  | 0.0252 | 0.00528 | 0.0156 | 0.0396 | 0.0348 | 0.0336 | 0.0312 | 0.0288 | 0.0288 | 0.0288 | 0.0288 | 0.0192 | 0.0228 | 0.03 | 0.036
|  |  |  | OP | 0.042 | 0.044 | 0.045 | 0.048 | 0.053 | 0.044 | 0.044 | 0.047 | 0.0036 | 0.0034 | 0.005 | 0.0025 | 0.0022 | 0.0094 | 0.0023 | 0.002 | 0.0018 | 0.0026 | 0.0014 | 0.0018 | 0.024 | 0.03 |  |  | 0.05 | 0.014 | 0.014 | 0.069 | 0.051 | 0.058 | 0.071 | 0.076 | 0.078 | 0.052 | 0.062 | 0.074 | 0.073 | 0.069 | 0.057
|  |  |  | Pass | n | n | n | n | n | n | n | n | n | y | y | y | y | n | y | y | y | y | y | y | n | n |  |  | n | n | y | n | n | n | n | n | n | n | n | n | n | n | n