## WQ Data -Jan-Mar 2026
Quality Assessment Report for Water Quality Monitoring, January - March 2026: Water Quality Data
Prepared on: June 19, 2026
LIMS Number | Work Identifier | Project | Sample Identifier | Station | Date Collected | Sample Type | Matrix | Collection Method | DCS | Test Name | Remark Code | Value | Uncertainty | Units | MDL | PQL | Sampling Purpose | Data Investigation | Sample Comments | Column1 | Column2 | Column3
97595030 | P163226 | PIN | P163226-30 | S12A | 2026-03-31 12:33 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.039 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed
97595028 | P163226 | PIN | P163226-28 | S12B | 2026-03-31 12:17 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.034 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
97595025 | P163226 | PIN | P163226-25 | S12C | 2026-03-31 11:57 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.036 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates open
97595024 | P163226 | PIN | P163226-24 | S12D | 2026-03-31 11:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.028 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates open
97595015 | P163226 | PIN | P163226-15 | S333 | 2026-03-31 11:23 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.024 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, no visible flow observed
97625007 | P163296 | PIE | P163296-7 | S328 | 2026-03-31 11:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | J | 0.008 |  | mg/L | 0.002 | 0.004 | PD | NO | Collected via dipper wand. Collection is from a disconnected pool of water. Gates closed, no visible flow. Staff gauges read 2.3 ft upstream, 2.3 ft downstream NAVD88. | Improper field protocol. Sample taken from disconnected pool of water and not representative of the surrounding water body.; Improper laboratory or field protocol
97619009 | P163284 | PIE | P163284-9 | S18C | 2026-03-31 11:15 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, no visible flow observed.
97595039 | P163226 | PIN | P163226-39 | S333N | 2026-03-31 11:02 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97595005 | P163226 | PIN | P163226-5 | S333N | 2026-03-31 10:50 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.023 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open
97619005 | P163284 | PIE | P163284-5 | G737 | 2026-03-31 10:20 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB. No water present at site for sample collection. No sample collected. Gates closed.
97625005 | P163296 | PIE | P163296-5 | S332DX | 2026-03-31 10:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps not running, S176 gate closed.
97595002 | P163226 | PIN | P163226-2 | S356-334 | 2026-03-31 10:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.024 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, pumps off
97625009 | P163296 | PIE | P163296-9 | S332DX | 2026-03-31 09:51 | EB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97588035 | P163213 | PIN | P163213-35 | S12A | 2026-03-24 12:43 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.035 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Vegetation and scum layer present, unavoidable. Oil sheen present on surface of water, avoidable.
97588033 | P163213 | PIN | P163213-33 | S12B | 2026-03-24 12:25 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.03 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Vegetation and scum layer present, unavoidable. Oil sheen also present, avoidable.
97588044 | P163213 | PIN | P163213-44 | S12C | 2026-03-24 12:01 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97588030 | P163213 | PIN | P163213-30 | S12C | 2026-03-24 11:52 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.025 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates open.
98221009 | P164528 | PIE | P164528-9 | S18C | 2026-03-24 11:41 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | One gate open, visible flow observed.
97588029 | P163213 | PIN | P163213-29 | S12D | 2026-03-24 11:36 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.023 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open. Large presence of birds in sampling area during grab.
97588020 | P163213 | PIN | P163213-20 | S333 | 2026-03-24 11:10 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.024 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open.
97588002 | P163213 | PIN | P163213-2 | S333N | 2026-03-24 11:03 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
98215003 | P164540 | PIE | P164540-3 | S332DX | 2026-03-24 10:50 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332D pumps not running and S176 gate is closed, no visible flow observed. Grass clippings present on surface of water, avoidable during grab sample.
97588010 | P163213 | PIN | P163213-10 | S333N | 2026-03-24 10:45 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.023 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open at 0.8ft.
97588007 | P163213 | PIN | P163213-7 | S355A | 2026-03-24 10:12 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.022 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed.
98221005 | P164528 | PIE | P164528-5 | G737 | 2026-03-24 09:57 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB. No water present at site for sample collection. Gates closed.
97588005 | P163213 | PIN | P163213-5 | S355B | 2026-03-24 09:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.037 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gate is closed. Scum layer present on surface of water. Technician sampled opposite to scum layer.
97588003 | P163213 | PIN | P163213-3 | S356-334 | 2026-03-24 09:06 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed at S334.
97618009 | P163283 | PIE | P163283-9 | S18C | 2026-03-17 12:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Both gates open at 12 ft. Heavy flow observed
97594039 | P163225 | PIN | P163225-39 | S12A | 2026-03-17 11:52 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected using DI 8422.
97594030 | P163225 | PIN | P163225-30 | S12A | 2026-03-17 11:41 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.048 | +/- 0.004 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
97594028 | P163225 | PIN | P163225-28 | S12B | 2026-03-17 11:24 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.04 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
97594025 | P163225 | PIN | P163225-25 | S12C | 2026-03-17 11:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.041 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed.
97594024 | P163225 | PIN | P163225-24 | S12D | 2026-03-17 10:49 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.033 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed.
97624007 | P163295 | PIE | P163295-7 | S328 | 2026-03-17 10:41 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | J | 0.016 |  | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, no visible flow observed. Sample collected using dipper wand from disconnected pool of water. Upstream staff gauge reads 3.75ft. Downstream staff gauge reads 3.8ft. | Improper field protocol. Sample taken from disconnected pool of water and not representative of the surrounding water body.; Improper laboratory or field protocol
97594015 | P163225 | PIN | P163225-15 | S333 | 2026-03-17 10:11 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.022 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates slightly open during site visit.
97624005 | P163295 | PIE | P163295-5 | S332DX | 2026-03-17 10:11 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S176 gates closed, no visible flow observed. S332D pumps not running during site visit.
97618005 | P163283 | PIE | P163283-5 | G737 | 2026-03-17 09:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.023 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Collected via dipper wand. Sonde parameters not collected due to TD less than 0.5. Gates closed, no flow observed.
97594005 | P163225 | PIN | P163225-5 | S333N | 2026-03-17 09:32 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.022 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates slightly open during site visit.
97594002 | P163225 | PIN | P163225-2 | S356-334 | 2026-03-17 08:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, pumps not running during site visit.
97587035 | P163212 | PIN | P163212-35 | S12A | 2026-03-10 12:39 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.058 | +/- 0.004 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
97587033 | P163212 | PIN | P163212-33 | S12B | 2026-03-10 12:23 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.047 | +/- 0.004 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
97587044 | P163212 | PIN | P163212-44 | S12C | 2026-03-10 12:07 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
98220009 | P164527 | PIE | P164527-9 | S18C | 2026-03-10 12:05 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB per decision paperwork due to no samples in autosampler, gates closed, no flow
97587030 | P163212 | PIN | P163212-30 | S12C | 2026-03-10 11:56 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.036 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates open.
97587029 | P163212 | PIN | P163212-29 | S12D | 2026-03-10 11:43 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.024 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open.
97587020 | P163212 | PIN | P163212-20 | S333 | 2026-03-10 11:13 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.024 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open.
97587010 | P163212 | PIN | P163212-10 | S333N | 2026-03-10 10:50 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.02 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
97587007 | P163212 | PIN | P163212-7 | S355A | 2026-03-10 10:24 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.018 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed.
98214003 | P164539 | PIE | P164539-3 | S332DX | 2026-03-10 10:14 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332D pumps not running during site visit. S176 gates open, visible flow observed.
97587005 | P163212 | PIN | P163212-5 | S355B | 2026-03-10 09:58 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.047 | +/- 0.004 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed.
98220005 | P164527 | PIE | P164527-5 | G737 | 2026-03-10 09:50 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB, dry conditions no water present, gates closed
97587003 | P163212 | PIN | P163212-3 | S356-334 | 2026-03-10 09:02 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.013 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps not running. Gates closed at S334.
97587002 | P163212 | PIN | P163212-2 | S356-334 | 2026-03-10 09:00 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
98253009 | P164612 | EVPA | P164612-9 | LOX12 | 2026-03-04 09:45 | SAMP | SW | G | 0.75 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
98253008 | P164612 | EVPA | P164612-8 | LOX15 | 2026-03-04 09:36 | SAMP | SW | G | 0.88 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Grab taken from float due to DCS near one meter with very soft bottom.
98253007 | P164612 | EVPA | P164612-7 | LOX16 | 2026-03-04 09:26 | SAMP | SW | G | 0.53 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
98253006 | P164612 | EVPA | P164612-6 | LOX14 | 2026-03-04 09:16 | SAMP | SW | G | 0.65 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
98253005 | P164612 | EVPA | P164612-5 | LOX13 | 2026-03-04 09:03 | SAMP | SW | G | 0.46 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
98253003 | P164612 | EVPA | P164612-3 | LOX11 | 2026-03-04 08:38 | SAMP | SW | G | 0.4 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
98253002 | P164612 | EVPA | P164612-2 | LOX6 | 2026-03-04 08:25 | SAMP | SW | G | 0.31 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Partial taken due to TD between 0.1 and 0.2 M.
97593029 | P163224 | PIN | P163224-29 | S12A | 2026-03-03 11:54 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.048 | +/- 0.004 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
97617009 | P163282 | PIE | P163282-9 | S18C | 2026-03-03 11:43 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB. No samples in A/S. Gates closed, no visible flow.
97593039 | P163224 | PIN | P163224-39 | S12B | 2026-03-03 11:31 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB performed
97623007 | P163294 | PIE | P163294-7 | S328 | 2026-03-03 11:28 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | J | 0.016 |  | mg/L | 0.002 | 0.004 | PD | NO | grab collected from disconnected pool, HW 328 staff gauge at 1 foot NAVD88, TW 328 staff gauge at 1 ft NAVD88, gates closed, grab collected with dipper wand | Improper field protocol. Sample taken from disconnected pool of water and not representative of the surrounding water body.; Improper laboratory or field protocol
97593027 | P163224 | PIN | P163224-27 | S12B | 2026-03-03 11:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.046 | +/- 0.004 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
97593025 | P163224 | PIN | P163224-25 | S12C | 2026-03-03 11:04 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.04 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates open.
97623005 | P163294 | PIE | P163294-5 | S332DX | 2026-03-03 10:54 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | veg seen around platform and avoided during grab, gate open, pumps not running
97593024 | P163224 | PIN | P163224-24 | S12D | 2026-03-03 10:48 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.029 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates open.
97617005 | P163282 | PIE | P163282-5 | G737 | 2026-03-03 10:43 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB. No water for sample to be collected. Gates closed, no visible flow.
97593014 | P163224 | PIN | P163224-14 | S333 | 2026-03-03 10:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.026 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
98252011 | P164610 | EVPA | P164610-11 | LOX3 | 2026-03-03 10:04 | SAMP | SW | G | 0.16 | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB due to TD being below 0.10m.
98252010 | P164610 | EVPA | P164610-10 | LOX5 | 2026-03-03 09:56 | SAMP | SW | G | 0.18 | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB due to TD being below 0.10m.
98252009 | P164610 | EVPA | P164610-9 | LOX10 | 2026-03-03 09:48 | SAMP | SW | G | 0.18 | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB due to TD being below 0.10m.
97593004 | P163224 | PIN | P163224-4 | S333N | 2026-03-03 09:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.021 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
98252008 | P164610 | EVPA | P164610-8 | LOX9 | 2026-03-03 09:37 | SAMP | SW | G | 0.25 | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Partial sample taken due to TD being between 0.10m and 0.20m.
98252007 | P164610 | EVPA | P164610-7 | LOX8 | 2026-03-03 09:06 | SAMP | SW | G | 0.29 | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GPS coordinates: N 26.52372, W080.33816. Partial sample taken due to TD being between 0.10m and 0.20m. Wind driven solids visible in water column, unavoidable during sample collection.
97593002 | P163224 | PIN | P163224-2 | S356-334 | 2026-03-03 08:57 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed
98252006 | P164610 | EVPA | P164610-6 | LOX7 | 2026-03-03 08:53 | SAMP | SW | G | 0.27 | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Partial sample taken due to TD being between 0.10m and 0.20m.
98252004 | P164610 | EVPA | P164610-4 | LOX4 | 2026-03-03 08:30 | SAMP | SW | G | 0.22 | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Partial sample taken due to TD being between 0.10m and 0.20m.
97586035 | P163211 | PIN | P163211-35 | S12A | 2026-02-24 13:14 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.039 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Detritus present on surface and unavoidable.
97586033 | P163211 | PIN | P163211-33 | S12B | 2026-02-24 12:50 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.043 | +/- 0.004 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Oily sheen present on surface and avoidable. Detritus on surface and unavoidable.
97586030 | P163211 | PIN | P163211-30 | S12C | 2026-02-24 12:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.044 | +/- 0.004 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed
97586029 | P163211 | PIN | P163211-29 | S12D | 2026-02-24 12:14 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.024 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed
97586020 | P163211 | PIN | P163211-20 | S333 | 2026-02-24 11:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.024 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open.
97586044 | P163211 | PIN | P163211-44 | S333N | 2026-02-24 11:26 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97586002 | P163211 | PIN | P163211-2 | S333N | 2026-02-24 11:18 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97586010 | P163211 | PIN | P163211-10 | S333N | 2026-02-24 11:09 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.023 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open.
97586007 | P163211 | PIN | P163211-7 | S355A | 2026-02-24 10:33 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.019 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, no visible flow observed. Sonde reading taken from live screen.
97299009 | P162609 | PIE | P162609-9 | S18C | 2026-02-24 10:30 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB. No samples in A/S. Gates closed, no visible flow observed.
97586005 | P163211 | PIN | P163211-5 | S355B | 2026-02-24 10:12 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.033 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, no visible flow observed
97305003 | P162621 | PIE | P162621-3 | S332DX | 2026-02-24 10:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | pumps not running, S176 gates open 0.9 feet, vegetation observed around platform, no veg present visibly in samples
97586003 | P163211 | PIN | P163211-3 | S356-334 | 2026-02-24 09:37 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Pumps off.
97299005 | P162609 | PIE | P162609-5 | G737 | 2026-02-24 09:18 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB. No water in canal for sample collection. Gates closed.
97591030 | P163222 | PIN | P163222-30 | S12A | 2026-02-17 12:31 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.03 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates are closed.
97591028 | P163222 | PIN | P163222-28 | S12B | 2026-02-17 12:13 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.035 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates are closed.
97591025 | P163222 | PIN | P163222-25 | S12C | 2026-02-17 11:50 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.036 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates are open. Sample was collected along the side wall.
97591024 | P163222 | PIN | P163222-24 | S12D | 2026-02-17 11:31 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.025 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates are open.
97616009 | P163281 | PIE | P163281-9 | S18C | 2026-02-17 11:19 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB. No samples in autosampler. No recorded flow, no sample collected as per recorded flow decision paperwork. Gates closed no visible flow observed.
97591039 | P163222 | PIN | P163222-39 | S333 | 2026-02-17 10:55 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97622007 | P163293 | PIE | P163293-7 | S328 | 2026-02-17 10:38 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | J | 0.013 |  | mg/L | 0.002 | 0.004 | PD | NO | Gates are closed, no visible flow observed. Sample collected from a disconnected pool of water using a dipper wand. Staff gauge reading is 0.8ft upstream and 0.8ft downstream. Tdepth measured using a graduated PVC pole. | Improper field protocol. Sample taken from disconnected pool of water and not representative of the surrounding water body.; Improper laboratory or field protocol
97591015 | P163222 | PIN | P163222-15 | S333 | 2026-02-17 10:27 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.026 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gate is closed.
97591005 | P163222 | PIN | P163222-5 | S333N | 2026-02-17 10:06 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.026 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO
97616005 | P163281 | PIE | P163281-5 | G737 | 2026-02-17 10:05 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB. No water present at site. Gates closed, no visible flow.
97622005 | P163293 | PIE | P163293-5 | S332DX | 2026-02-17 10:00 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S176 gate is open, visible flow observed. S332D pumps not running, no visible flow observed.
97591002 | P163222 | PIN | P163222-2 | S356-334 | 2026-02-17 09:29 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are closed. Pumps are not running.
97585035 | P163210 | PIN | P163210-35 | S12A | 2026-02-10 12:37 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.029 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates all closed.
97585044 | P163210 | PIN | P163210-44 | S12A | 2026-02-10 12:46 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB completed using DI 8400.
97585033 | P163210 | PIN | P163210-33 | S12B | 2026-02-10 12:09 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.021 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates all closed.
97585031 | P163210 | PIN | P163210-31 | S12C | 2026-02-10 11:49 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.025 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates all closed. Scum and oil sheen layer present on surface of water, avoided during grab.
97298009 | P162608 | PIE | P162608-9 | S18C | 2026-02-10 11:43 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, no flow observed
97622009 | P163293 | PIE | P163293-9 | S332DX | 2026-02-17 10:19 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97585029 | P163210 | PIN | P163210-29 | S12D | 2026-02-10 11:29 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.018 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are all open at 10ft, raised out of water.
97585020 | P163210 | PIN | P163210-20 | S333 | 2026-02-10 11:04 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.02 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open at 5ft.
97585002 | P163210 | PIN | P163210-2 | S333N | 2026-02-10 10:55 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FB conducted using DI 8394.
97585010 | P163210 | PIN | P163210-10 | S333N | 2026-02-10 10:36 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.018 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open at 3.7 ft.
97585007 | P163210 | PIN | P163210-7 | S355A | 2026-02-10 10:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed. Scum and oil layer present on surface of water, avoided during grab.
97298005 | P162608 | PIE | P162608-5 | G737 | 2026-02-10 10:03 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB. No water present at site. Gates closed, no visible flow.
97304003 | P162620 | PIE | P162620-3 | S332DX | 2026-02-10 10:02 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps not running during site visit. Gates closed, no visible flow observed.
97585005 | P163210 | PIN | P163210-5 | S355B | 2026-02-10 09:41 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.022 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate is closed. Areas of scum/oil sheen present on surface of water. Avoided during grab.
97585003 | P163210 | PIN | P163210-3 | S356-334 | 2026-02-10 09:12 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, pumps not running.
98022002 | P164140 | EVPA | P164140-2 | LOX6 | 2026-02-05 10:24 | SAMP | SW | G | 0.49 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
98022003 | P164140 | EVPA | P164140-3 | LOX11 | 2026-02-05 10:14 | SAMP | SW | G | 0.68 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
98022005 | P164140 | EVPA | P164140-5 | LOX13 | 2026-02-05 09:50 | SAMP | SW | G | 0.59 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
98022006 | P164140 | EVPA | P164140-6 | LOX14 | 2026-02-05 09:40 | SAMP | SW | G | 0.71 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Used Whatman filter lot 18278596 to process this sample only.
98022007 | P164140 | EVPA | P164140-7 | LOX16 | 2026-02-05 09:27 | SAMP | SW | G | 0.68 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
98022008 | P164140 | EVPA | P164140-8 | LOX15 | 2026-02-05 09:18 | SAMP | SW | G | 0.94 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
98022009 | P164140 | EVPA | P164140-9 | LOX12 | 2026-02-05 09:06 | SAMP | SW | G | 0.88 | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Partial sample taken due to TD between 0.1m and 0.2m. Used two filters during processing.
98021011 | P164138 | EVPA | P164138-11 | LOX3 | 2026-02-04 10:46 | SAMP | SW | G | 0.14 | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB due to TD less than 0.1m
98021010 | P164138 | EVPA | P164138-10 | LOX5 | 2026-02-04 10:38 | SAMP | SW | G | 0.18 | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB due to TD less than 0.1m.
98021009 | P164138 | EVPA | P164138-9 | LOX10 | 2026-02-04 10:24 | SAMP | SW | G | 0.23 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Partial sample taken due to TD between 0.1m and 0.2m. Fires burning west of sampling area.
98021008 | P164138 | EVPA | P164138-8 | LOX9 | 2026-02-04 10:06 | SAMP | SW | G | 0.27 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Evidence of burned vegetation nearby recently, roughly 500 ft from sample area, photos taken. Partial sample taken due to TD between 0.1m and 0.2m.
98021007 | P164138 | EVPA | P164138-7 | LOX8 | 2026-02-04 09:35 | SAMP | SW | G | 0.34 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GPS Coordinates: N 26.52371, W 080.33789. Partial sample taken due to TD between 0.1m and 0.2m. Airboat on site.
98021006 | P164138 | EVPA | P164138-6 | LOX7 | 2026-02-04 09:23 | SAMP | SW | G | 0.33 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
98021004 | P164138 | EVPA | P164138-4 | LOX4 | 2026-02-04 09:08 | SAMP | SW | G | 0.28 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Partial sample taken due to TD between 0.1m and 0.2m.
97590029 | P163221 | PIN | P163221-29 | S12A | 2026-02-03 12:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.019 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sampling area had some surface scum, avoided during collection. All gates closed.
97590027 | P163221 | PIN | P163221-27 | S12B | 2026-02-03 11:42 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.017 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sampling area had some surface scum, avoided during collection. All gates closed.
97590025 | P163221 | PIN | P163221-25 | S12C | 2026-02-03 11:23 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sampling area had surface scum, avoided during collection. All gates closed.
97590024 | P163221 | PIN | P163221-24 | S12D | 2026-02-03 11:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sampling area had some surface scum, avoided during collection. All gates open 0.2 feet.
97621007 | P163292 | PIE | P163292-7 | S328 | 2026-02-03 10:57 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | J | 0.011 |  | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Collection is from a disconnected pool of water. Collected via dipper wand. Staff guage reads 1.35ft upstream, 1.35ft downstream NAVD88. | Improper field protocol. Sample taken from disconnected pool of water and not representative of the surrounding water body.; Improper laboratory or field protocol
97615009 | P163280 | PIE | P163280-9 | S18C | 2026-02-03 10:36 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
97590014 | P163221 | PIN | P163221-14 | S333 | 2026-02-03 10:36 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.018 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sampling area clear of debris, gate open 5 feet.
97621005 | P163292 | PIE | P163292-5 | S332DX | 2026-02-03 10:17 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps off, gate open visible flow observed
97590004 | P163221 | PIN | P163221-4 | S333N | 2026-02-03 10:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.017 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sampling area clear of debris, both gates open 4.5 feet. Started using Van Dorn Chonkers for grabs, due to leak on other Van Dorn.
97590039 | P163221 | PIN | P163221-39 | S356-334 | 2026-02-03 09:32 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru sampling equipment, DI 8382.
97615004 | P163280 | PIE | P163280-4 | G737 | 2026-02-03 09:18 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB. Site is dry, no water present at sampling location. Gates closed.
97590002 | P163221 | PIN | P163221-2 | S356-334 | 2026-02-03 09:13 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sampling area clear of debris. Gates closed, no pumps running.
97584035 | P163209 | PIN | P163209-35 | S12A | 2026-01-27 12:19 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.025 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed.
97584033 | P163209 | PIN | P163209-33 | S12B | 2026-01-27 11:59 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed.
97584031 | P163209 | PIN | P163209-31 | S12C | 2026-01-27 11:41 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed.
97584029 | P163209 | PIN | P163209-29 | S12D | 2026-01-27 11:25 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates slightly open.
97584044 | P163209 | PIN | P163209-44 | S333 | 2026-01-27 11:05 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected using DI 8382.
97584020 | P163209 | PIN | P163209-20 | S333 | 2026-01-27 10:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.018 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open, visible flow observed.
97584010 | P163209 | PIN | P163209-10 | S333N | 2026-01-27 10:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.017 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed.
97297009 | P162607 | PIE | P162607-9 | S18C | 2026-01-27 10:04 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB No recorded flow. Gate closed no visible flow observed.
97303003 | P162619 | PIE | P162619-3 | S332DX | 2026-01-27 09:58 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332D pumps not running, no visible flow observed. S176 gate is open and being held up by a construction crane, visible flow observed.
97584007 | P163209 | PIN | P163209-7 | S355A | 2026-01-27 09:51 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.013 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed.
97584005 | P163209 | PIN | P163209-5 | S355B | 2026-01-27 09:31 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.022 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed.
97584003 | P163209 | PIN | P163209-3 | S356-334 | 2026-01-27 09:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Pumps not running.
97584002 | P163209 | PIN | P163209-2 | S356-334 | 2026-01-27 09:01 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FB collected using DI 8382.
97297005 | P162607 | PIE | P162607-5 | G737 | 2026-01-27 08:33 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB, area dried out completely, no water. Gate closed.
97579009 | P163194 | PIE | P163194-9 | S18C | 2026-01-20 12:21 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed at time of sample collection.
97580010 | P163196 | PIE | P163196-10 | S328 | 2026-01-20 12:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | J | 0.018 |  | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Collection is from a disconnected pool of water. Collected via dipper wand. Staff gauge reads 1.5 ft upstream, 1.5 ft downstream NAVD88. | Improper field protocol. Sample taken from disconnected pool of water and not representative of the surrounding water body.; Improper laboratory or field protocol
97580008 | P163196 | PIE | P163196-8 | S332DX | 2026-01-20 11:27 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed, pumps not running. Crane and construction crew present at S176, on the downstream side of the gate. Vegetation caught on sampling platform, avoided during grab. Vegetation removed after sampling was complete.
96809030 | P161625 | PIN | P161625-30 | S12A | 2026-01-20 11:24 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.019 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, no visible flow observed
96809028 | P161625 | PIN | P161625-28 | S12B | 2026-01-20 11:06 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, no visible flow observed
96809026 | P161625 | PIN | P161625-26 | S12C | 2026-01-20 10:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, no visible flow observed
96809024 | P161625 | PIN | P161625-24 | S12D | 2026-01-20 10:29 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed
97579005 | P163194 | PIE | P163194-5 | G737 | 2026-01-20 10:13 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB, sample area completely dry. Gates closed
96809015 | P161625 | PIN | P161625-15 | S333 | 2026-01-20 09:58 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed
96809039 | P161625 | PIN | P161625-39 | S333N | 2026-01-20 09:43 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96809005 | P161625 | PIN | P161625-5 | S333N | 2026-01-20 09:34 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed
96809002 | P161625 | PIN | P161625-2 | S356-334 | 2026-01-20 08:43 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, pumps off.
97582038 | P163200 | PIN | P163200-38 | S12A | 2026-01-13 12:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.021 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are closed.
97582036 | P163200 | PIN | P163200-36 | S12B | 2026-01-13 11:53 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | 6 out of 6 gates are closed.
97582034 | P163200 | PIN | P163200-34 | S12C | 2026-01-13 11:34 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are closed.
97582032 | P163200 | PIN | P163200-32 | S12D | 2026-01-13 11:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | 6 out of 6 gates are slightly open.
97582047 | P163200 | PIN | P163200-47 | S333 | 2026-01-13 10:55 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97582023 | P163200 | PIN | P163200-23 | S333 | 2026-01-13 10:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.017 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate is open.
97296009 | P162606 | PIE | P162606-9 | S18C | 2026-01-13 10:38 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB- No samples in autosampler, no recorded flow. Gates closed. No sample collected.
97582013 | P163200 | PIN | P163200-13 | S333N | 2026-01-13 10:17 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.013 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | 2 out of 2 gates are closed.
97302003 | P162618 | PIE | P162618-3 | S332DX | 2026-01-13 10:14 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S176 gate closed, S332 pumps not running, no visible flow observed. Buildup of vegetation present on sampling platform supports, avoided during grab.
97582010 | P163200 | PIN | P163200-10 | S355A | 2026-01-13 09:52 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate is closed.
97296005 | P162606 | PIE | P162606-5 | G737 | 2026-01-13 09:42 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB- Site does not meet depth requirements. No water at site. No sample collected. FPM notified.
97582008 | P163200 | PIN | P163200-8 | S355B | 2026-01-13 09:36 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.021 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate is closed.
97582006 | P163200 | PIN | P163200-6 | S356-334 | 2026-01-13 09:09 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are closed. Pumps are not running.
97582005 | P163200 | PIN | P163200-5 | S356-334 | 2026-01-13 09:07 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97686009 | P163421 | EVPA | P163421-9 | LOX12 | 2026-01-07 09:32 | SAMP | SW | G | 0.76 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97686008 | P163421 | EVPA | P163421-8 | LOX15 | 2026-01-07 09:22 | SAMP | SW | G | 1.07 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS greater than 1.00m.
97686007 | P163421 | EVPA | P163421-7 | LOX16 | 2026-01-07 09:11 | SAMP | SW | G | 0.55 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97686006 | P163421 | EVPA | P163421-6 | LOX14 | 2026-01-07 09:00 | SAMP | SW | G | 0.72 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97686005 | P163421 | EVPA | P163421-5 | LOX13 | 2026-01-07 08:51 | SAMP | SW | G | 0.52 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97686003 | P163421 | EVPA | P163421-3 | LOX11 | 2026-01-07 08:29 | SAMP | SW | G | 0.53 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97686002 | P163421 | EVPA | P163421-2 | LOX6 | 2026-01-07 08:18 | SAMP | SW | G | 0.47 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96821009 | P161649 | PIE | P161649-9 | S18C | 2026-01-06 12:29 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB. No samples in the autosampler. Gate closed no visible flow observed.
97581033 | P163198 | PIN | P163198-33 | S12A | 2026-01-06 12:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.02 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97581031 | P163198 | PIN | P163198-31 | S12B | 2026-01-06 11:54 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.013 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97581029 | P163198 | PIN | P163198-29 | S12C | 2026-01-06 11:35 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | 6 out of 6 gates are closed.
97581028 | P163198 | PIN | P163198-28 | S12D | 2026-01-06 11:17 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | 6 out of 6 gates are slightly open.
97581018 | P163198 | PIN | P163198-18 | S333 | 2026-01-06 10:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.013 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Technician did not take note whether gates were open or closed.
97685011 | P163419 | EVPA | P163419-11 | LOX3 | 2026-01-06 10:44 | SAMP | SW | G | 0.2 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Partial sample collected due to TD between 0.1 and 0.2m.
96821005 | P161649 | PIE | P161649-5 | G737 | 2026-01-06 10:34 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB. No recorded flow, no sample collected. No water available to collect. Gates closed. Pictures taken FPM notified.
96836007 | P161679 | PIE | P161679-7 | S328 | 2026-01-06 10:33 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | J | 0.018 |  | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, no flow observed. Sampling area is a disconnected pool of water. Sample collected using a dipper wand. HW staff gauge reads 1.6ft NAVD88,, tail water staff gauge reads 1.7ft NAVD88. | Improper field protocol. Sample taken from disconnected pool of water and not representative of the surrounding water body.; Improper laboratory or field protocol
97685010 | P163419 | EVPA | P163419-10 | LOX5 | 2026-01-06 10:29 | SAMP | SW | G | 0.27 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Partial sample collected due to TD between 0.1 and 0.2m.
97581008 | P163198 | PIN | P163198-8 | S333N | 2026-01-06 10:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are open.
97685009 | P163419 | EVPA | P163419-9 | LOX10 | 2026-01-06 10:13 | SAMP | SW | G | 0.3 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97685008 | P163419 | EVPA | P163419-8 | LOX9 | 2026-01-06 10:03 | SAMP | SW | G | 0.29 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96836005 | P161679 | PIE | P161679-5 | S332DX | 2026-01-06 09:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | No pumps running. Gate closed, no flow observed. Vegetation buildup around sampling platform. Unavoidable vegetation debris present throughout sampling area. Technician cleared vegetation caught on platform.
97685007 | P163419 | EVPA | P163419-7 | LOX8 | 2026-01-06 09:37 | SAMP | SW | G | 0.4 | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GPS coordinates: N 26.52404, W 080.33817. Visible suspended solids in undisturbed water column.
97581005 | P163198 | PIN | P163198-5 | S356-334 | 2026-01-06 09:35 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97581043 | P163198 | PIN | P163198-43 | S356-334 | 2026-01-06 09:32 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97685006 | P163419 | EVPA | P163419-6 | LOX7 | 2026-01-06 09:25 | SAMP | SW | G | 0.45 | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97581004 | P163198 | PIN | P163198-4 | S356-334 | 2026-01-06 09:22 | RS | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97581003 | P163198 | PIN | P163198-3 | S356-334 | 2026-01-06 09:12 | RS | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97685004 | P163419 | EVPA | P163419-4 | LOX4 | 2026-01-06 09:05 | SAMP | SW | G | 0.35 | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97581006 | P163198 | PIN | P163198-6 | S356-334 | 2026-01-06 09:02 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps are not operating. Gates are closed.
97581002 | P163198 | PIN | P163198-2 | S356-334 | 2026-01-06 08:53 | EB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO

## Attributes & Codes
Water Quality Data Attributes
LIMS Number | Laboratory Information Management System (LIMS) sample identifier.
Work Identifier | Sampling event identifier.
Project | The abbreviation of the project name (see below for definitions).
Sample Identifier | The code used to identify the specific sample from which the data was derived.
Station | Name of the monitoring station where a water quality sample was collected.
Date Collected | Date and time that a water quality sample was collected at the monitoring location.
Sample Type | Indicates whether the sample is a regular sample or a quality assurance/quality control sample. If the latter, it indicates what kind.
Matrix | The environment or material from which a sample was collected (i.e, surface water, sediments, rainfall, etc.).
Collection Method | Describes how a sample was collected.
DCS | Depth to consolidated substrate (units are in meters).
Test Name | Gives the full test name of the parameter that was analyzed by the laboratory.
Remark Code | Provides information regarding the quality assurance and quality control of the laboratory results associated with the parameter and monitoring station.
Value | Measured concentration or parameter level.
Uncertainty | The uncertainty associated with the sample.
Units | Units used for the results for the parameter (pertain to Value, Uncertainty, MDL, & PQL attributes).
PQL | Practical quantification limit.
MDL | Method detection limit.
Sampling Purpose | The reason the sample was collected.
Data Investigation | Indicates whether or not the data was investigated. CA=Correction applied in DBHYDRO.
Sample Comments | Information regarding sampling that may pertain to the use of the data.
Data Codes:
PROJECT IDENTIFIER |  | SAMPLE COMMENT
P121145 | Everglades National Park Inflows North | ALKA | alkalinity
P121784 | Everglades Protection Area | APA | alkaline phosphatase activity
P122535 | Everglades National Park Inflows East / S-357 Pump Station | BBCW | Biscayne Bay Coastal Wetlands
|  | CA | calcium
PROJECT CODE |  | Cl | chloride
PIE | Everglades National Park Inflows East | COLOR | color
PIN | Everglades National Park Inflows North | DI#### | The batch of dionized water used for field blanks
EVPA | Everglades Protection Area | DOC | dissolved organic carbon
S357P | Event or trip based QA sample | EB | equipment blank
|  | FAV | floating aquatic vegetation
SAMPLE TYPE |  | FB | field blank
EB | equipment blank | FCEB | field-cleaned equipment blank
FB | field blank | FOC | Field Operations Center
FCEB | field-cleaned equipment blank | FPM | field project manager
RS | replicate sample | ft | feet
SAMP | regular sample | HFDM | Horizon Field Data Management
|  | K | potassium
MATRIX |  | L | liter
SW | surface water | m | meter
DI | deionized water | MG | magnesium
|  | mL | milliliter
COLLECT_METHOD |  | NA | sodium
G | grab – e.g., a Niskin (Van Dorn) water sample collector | NAVD88 | North American Vertical Datum of 1988
|  | NH4 | ammonia as nitrogen
TEST NAME |  | NO2 | nitrite as nitrogen
P | phosphorus | NOX | nitrate + nitrite
|  | OPO4 | orthophosphate as phosphorus
UNITS |  | P number | pre-login sample number
mg/L | milligram per liter | PM | project manager
Units | Indicates that there are no units for the data. | SE | southeast
|  | SIO2 | silica
SAMPLING PURPOSE |  | SO4 | sulfate
PD | permit driven | TD | total depth
|  | TDPO4 | total dissolved phosphate as phosphorus
|  | TDS | total dissolved solids
|  | TKN | total Kjeldahl nitrogen
|  | TN | total nitrogen
|  | TOT FE | total iron
|  | TPO4 | total phosphate as phosphorus
|  | TSS | total suspended solids
|  | TURB | turbidity
REMARK CODE
A | Value reported is the arithmetic mean (average) of two or more determinations.
G | Field QC blank detection greater than 10 percent (1/10) of sample value for blank.
I | The reported value is greater than or equal to the lab method detection limit but less than the laboratory practical quantitation limit.
J | Estimated value; value may not be accurate. A “J” value shall not be used as a substitute for K, L, M, T, V, or Y, however, if additional reasons exist for identifying the value as an estimate, the “J” code may be added to a K, L, M, T, V, or Y.
J1 | Surrogate recovery limits exceeded.
J2 | No known quality control criteria exist.
J3 | Precision or accuracy criteria not met.
J4 | Matrix Interference.
J5 | Improper laboratory or field protocols.
J9 | Indicates that the analyte was detected in field blank and/or associated sample. The analyte was detected at or above the method detection limit in a blank other than the method blank and the value of 10 times the blank value equal to or greater than the associated sample value.
K | Off-scale low. Actual value is known to be less than the value given. This code shall be used if: 1. The value is less than the lowest calibration standard and the calibration curve is known to be non-linear: or 2. The value is known to be less than the reported value based on sample size, dilution.
L | Off-scale high. Actual value is known to be greater than value given. To be used when the concentration of the analyte is above the acceptable level for quantitation (exceeds the linear range or highest calibration standard) and the calibration curve is known to exhibit a negative deflection.
M | When reporting chemical analyses: presence of material is verified but not quantified. The actual value is less than the value given. If the value is less than method detection limit use “T” below.
N | Presumptive evidence of presence of material. This qualifier should be used if: 1. The component has been tentatively identified based on mass spectral library search; or 2. There is an indication that the analyte is present, but quality control requirements for confirmation were not met.
NOB | No Bottle Sample. Indicates that a sampling trip was scheduled but a sample was not collected. This may be due to non-representative conditions at the site (such as insufficient water depth for sampling, excess vegetation, etc.) or because conditions for sample collection were not met (no flow at site, etc).
NVZ | No valid zero value; request original results from laboratory.
O | Sampled, but analysis lost or not performed.
PMF | Project Manager Flag.
PMR | Project Manager Remarks.
Q | Preparation or analysis performed after the approved holding time.
S | Secchi disk VOB (visible on bottom).
T | Value reported is less than the laboratory method detection limit.
U | Indicates that an analysis was performed for the analyte but that the analyte was not detected.
V | Indicates that the analyte was detected in both the sample and the associated method blank and the value of 10 times the blank value equal to or greater than the associated sample value.
Y | The laboratory analysis was from an unpreserved or improperly preserved sample. The data may not be accurate.
? | Data are rejected and should not be used. Some or all of the quality control data for the analyte were outside criteria, and the presence or absence of the analyte cannot be determined from the data.
* | Not reported due to interference.
! | Data deviates from historically established concentration ranges.
D | Measurement was made in the field (i.e. in-situ).
B | Results based upon colony outside the acceptable range.
Z | Too many colonies were present (TNTC), the numeric value represents the filtration volume.