## WQ Data - Jan Mar 2022
Quality Assessment Report for Water Quality Monitoring, January - March 2022: Water Quality Data
Provided to the Everglades Technical Oversight Committee on May 19, 2022
LIMS Number | Work Identifier | Project | Sample Identifier | Station | Date Collected | Sample Type | Matrix | Collection Method | DCS | Test Name | Remark Code | Value | Uncertainty | Units | MDL | PQL | Sampling Purpose | Data Investigation | Sample Comments
81582003 | P129420 | PIN | P129420-3 | S356-334 | 2022-01-03 08:48 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S356-334 GRAB FOR WEEKLY RECORDED FLOWOR S334 GATES ARE OPEN OR S356 PUMPS ARE RUNNING OR FOR MONTHLY; Two pumps running at time of sample collection.
81582050 | P129420 | PIN | P129420-50 | S356-334 | 2022-01-03 09:07 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment. DI 7441.
81582014 | P129420 | PIN | P129420-14 | S355BTW | 2022-01-03 09:31 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample. S355BTW SAMPLED REGARDLESS OF FLOW
81582016 | P129420 | PIN | P129420-16 | S355ATW | 2022-01-03 09:45 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample. S355ATW SAMPLED REGARDLESS OF FLOW
81582017 | P129420 | PIN | P129420-17 | S333N | 2022-01-03 10:06 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S333N GRAB IF RECORDED FLOW OR GATES OPEN AT S12D, S333N, OR S333, OTHERWISE MONTHLY
81582002 | P129420 | PIN | P129420-2 | S333N | 2022-01-03 10:08 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI 7441 to sample bottles. FB FOR ADT
81582037 | P129420 | PIN | P129420-37 | S12D | 2022-01-03 10:39 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipperwand used to collect sample. Gates open to about 1 ft. S12D GRAB IF FLOWING OTHERWISE NOB
81582041 | P129420 | PIN | P129420-41 | S12A | 2022-01-03 11:02 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed at time of sample collection. Dipper wand used to collect sample. S12A GRAB FOR NO FLOW AND MONTHLY PREVIOUSLY COLLECTED
81642004 | P129534 | PIE | P129534-4 | S331-173 | 2022-01-04 08:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps on. S331-173 GRAB FOR RECORDED FLOW AT S331 OR S173 OR FOR MONTHLY
82083011 | P130460 | EVPA | P130460-11 | LOXA101 | 2022-01-04 08:31 | SAMP | SW | G | 0.46 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82083010 | P130460 | EVPA | P130460-10 | LOXA140 | 2022-01-04 08:42 | SAMP | SW | G | 0.47 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
81642002 | P129534 | S357P | P129534-2 | S357 | 2022-01-04 08:52 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps on. S357 GRAB FOR RECORDED FLOW
82083009 | P130460 | EVPA | P130460-9 | LOX4 | 2022-01-04 08:53 | SAMP | SW | G | 0.59 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Staff Gauge Reading: 17.68ft
82083008 | P130460 | EVPA | P130460-8 | LOXA130 | 2022-01-04 09:03 | SAMP | SW | G | 0.55 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82083007 | P130460 | EVPA | P130460-7 | LOX7 | 2022-01-04 09:15 | SAMP | SW | G | 0.6 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82083006 | P130460 | EVPA | P130460-6 | LOX8 | 2022-01-04 09:25 | SAMP | SW | G | 0.45 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82083005 | P130460 | EVPA | P130460-5 | LOX9 | 2022-01-04 09:35 | SAMP | SW | G | 0.54 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
81642014 | P129534 | PIE | P129534-14 | S332DX | 2022-01-04 09:41 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps on. Dead python in water at platform. Avoided during grab. Notified FPM. S332DX FOR RECORDED FLOW OR IF FLOWING AT S332D, S176 OR S332C OR FOR MONTHLY
82083004 | P130460 | EVPA | P130460-4 | LOX10 | 2022-01-04 09:45 | SAMP | SW | G | 0.55 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82083003 | P130460 | EVPA | P130460-3 | LOX5 | 2022-01-04 09:58 | SAMP | SW | G | 0.48 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
81642024 | P129534 | PIE | P129534-24 | S200 | 2022-01-04 10:07 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps on. S200 FOR WEEKLY RECORDED FLOW, OTHERWISE NOB
82083002 | P130460 | EVPA | P130460-2 | LOX3 | 2022-01-04 10:13 | SAMP | SW | G | 0.42 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
81642028 | P129534 | PIE | P129534-28 | AJC1 | 2022-01-04 10:54 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB FOR RECORDED FLOW AT S199 OTHERWISE NOB; Staff gauge reading 1.8 NAVD88.
81642027 | P129534 | PIE | P129534-27 | S177 | 2022-01-04 11:10 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps on. S177 GRAB FOR RECORDED FLOW OR IF S177 GATES OPEN OR S199 PUMPS ON, OTHERWISE MONTHLY
81642033 | P129534 | PIE | P129534-33 | S177 | 2022-01-04 11:21 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
81642029 | P129534 | PIE | P129534-29 | S178 | 2022-01-04 11:34 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open. S178 GRAB FOR RECORDED FLOW OR IF FLOWING OTHERWISE MONTHLY
81642030 | P129534 | PIE | P129534-30 | S18C | 2022-01-04 11:58 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open. S18C GRAB FOR RECORDED FLOW OR IF FLOWING OTHERWEISE MONTHLY
82083012 | P130460 | EVPA | P130460-12 | FOCQC | 2022-01-04 13:03 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82087011 | P130468 | EVPA | P130468-11 | X4 | 2022-01-05 08:25 | SAMP | SW | G | 0.69 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82087010 | P130468 | EVPA | P130468-10 | X1 | 2022-01-05 08:33 | SAMP | SW | G | 1.05 | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS greater than 1.0m.
82087009 | P130468 | EVPA | P130468-9 | LOX12 | 2022-01-05 08:43 | SAMP | SW | G | 1.12 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Staff gauge reading 17.75. Sample taken from float due to DCS greater than 1.0m.
82087008 | P130468 | EVPA | P130468-8 | LOX15 | 2022-01-05 08:50 | SAMP | SW | G | 1.05 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS greater than 1.0m.
82087007 | P130468 | EVPA | P130468-7 | LOX16 | 2022-01-05 08:58 | SAMP | SW | G | 1.01 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS greater than 1.0m.
82087006 | P130468 | EVPA | P130468-6 | LOX14 | 2022-01-05 09:06 | SAMP | SW | G | 1.03 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS greater than 1.0m.
82087005 | P130468 | EVPA | P130468-5 | LOX13 | 2022-01-05 09:14 | SAMP | SW | G | 0.78 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82087004 | P130468 | EVPA | P130468-4 | LOXA124 | 2022-01-05 09:23 | SAMP | SW | G | 0.72 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82087003 | P130468 | EVPA | P130468-3 | LOX11 | 2022-01-05 09:33 | SAMP | SW | G | 0.74 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82087002 | P130468 | EVPA | P130468-2 | LOX6 | 2022-01-05 09:42 | SAMP | SW | G | 0.71 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82087012 | P130468 | EVPA | P130468-12 | FOCQC | 2022-01-05 12:12 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
81578003 | P129412 | PIN | P129412-3 | S356-334 | 2022-01-10 08:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S356-334 GRAB FOR WEEKLY RECORDED FLOWOR S334 GATES ARE OPEN OR S356 PUMPS ARE RUNNING OR FOR MONTHLY; Two pumps operating during time of sampling. Gate closed.
81578002 | P129412 | PIN | P129412-2 | S356-334 | 2022-01-10 08:59 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI 7412 through niskin to sample bottles. FCEB TO BE COMPLETED AT ANY SITE AFTER FIRST USE OF ALL EQUIPMENT PREFERABLY LONGEST ACODE LIST REMEMBER TO DELETE UNUSED ACODES
81578013 | P129412 | PIN | P129412-13 | S333N | 2022-01-10 09:29 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open to 3.5 feet during time of sampling. S333N GRAB IF RECORDED FLOW OR GATES OPEN AT S12D, S333N, OR S333, OTHERWISE MONTHLY
81578033 | P129412 | PIN | P129412-33 | S12D | 2022-01-10 09:55 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open to 0.3 feet at time of sampling. Dipper wand used to collect sample. S12D GRAB IF FLOWING OTHERWISE NOB
81578036 | P129412 | PIN | P129412-36 | S12A | 2022-01-10 10:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed during time of sampling. Collected for monthly. ; S12A GRAB FOR WEEKLY IF FLOW OTHERWISE MONTHLY
81657004 | P129564 | PIE | P129564-4 | S331-173 | 2022-01-11 08:39 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps not running, S173 gate closed. S331-173 GRAB FOR RECORDED FLOW AT S331 OR S173 OR FOR MONTHLY
81657002 | P129564 | S357P | P129564-2 | S357 | 2022-01-11 09:10 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running; S357 GRAB FOR RECORDED FLOW
81663002 | P129576 | PIE | P129576-2 | S200 | 2022-01-11 09:29 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S200 Grab for Weekly Recorded Flow; pumps running, flow visible
81657015 | P129564 | PIE | P129564-15 | S332DX | 2022-01-11 09:58 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running. Dead python floating under platform, sample taken slightly upstream of carcass via niskin toss. S332DX FOR RECORDED FLOW OR IF FLOWING AT S332D, S176 OR S332C OR FOR MONTHLY
81657027 | P129564 | PIE | P129564-27 | S332DX | 2022-01-11 10:10 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
81663006 | P129576 | PIE | P129576-6 | AJC1 | 2022-01-11 10:21 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB FOR RECORDED FLOW AND STAGE AT S199. IF NO RECORDED FLOW NOB; flow over weir. staff gauge reading of 2.1 ft NAVD
81663012 | P129576 | PIE | P129576-12 | AJC1 | 2022-01-11 10:28 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
81663005 | P129576 | PIE | P129576-5 | S177 | 2022-01-11 10:45 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S177 GRAB FOR RECORDED FLOW OF IF S199 PUM PS ON OR S177 GATES OPEN, OTHERWISE MONTHLY; pumps running.
81657025 | P129564 | PIE | P129564-25 | S328 | 2022-01-11 10:54 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, no visible flow. Staff gauge reads 4.6ft NAVD88 at 11AM.
81663007 | P129576 | PIE | P129576-7 | S178 | 2022-01-11 10:59 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S178 GRAB FOR RECORDED FLOW OR S178 GATES OPEN, OTHERWISE MONTHLY; gates open
81657026 | P129564 | PIE | P129564-26 | BERMB3 | 2022-01-11 11:23 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | BERMB3 GRAB FOR IF FLOWING OTHERWISE MONTHLY; Visible flow over weir. TD measured 0.42m via graduated PVC pole. Sample taken via direct grab with 1L bottle.
81663008 | P129576 | PIE | P129576-8 | S18C | 2022-01-11 11:28 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S18C GRAB FOR RECORDED FLOW OR IF FLOW, OTHERWISE MONTHLY; gates open
82504003 | P131308 | PIN | P131308-3 | S356-334 | 2022-01-18 08:54 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | No pumps running during time of sample collection. Construction occurring near site. S356-334 GRAB FOR WEEKLY RECORDED FLOWOR S334 GATES ARE OPEN OR S356 PUMPS ARE RUNNING OR FOR MONTHLY
82534004 | P131399 | PIE | P131399-4 | S331-173 | 2022-01-18 09:13 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running. S331-173 GRAB FOR RECORDED FLOW AT S331 OR S173 OR FOR MONTHLY
82504050 | P131308 | PIN | P131308-50 | S356-334 | 2022-01-18 09:14 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment. DI 7486.
82534002 | P131399 | S357P | P131399-2 | S357 | 2022-01-18 09:45 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running. S357 GRAB FOR RECORDED FLOW
82504013 | P131308 | PIN | P131308-13 | S355B | 2022-01-18 09:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, monthly collected. Oily sheen on surface of water at sample site, avoided during sample collection. S355B GRAB IF FLOWING, OTHERWISE MONTHLY, OTHERWISE NOB
82504014 | P131308 | PIN | P131308-14 | S355BTW | 2022-01-18 09:48 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipperwand used to collect sample. S355BTW SAMPLED REGARDLESS OF FLOW
82504015 | P131308 | PIN | P131308-15 | S355A | 2022-01-18 10:09 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, monthly collected. Oily sheen on surface of water at sample site, avoided during sample collection. S355A GRAB IF FLOWING, OTHERWISE MONTHLY, OTHERWISE NOB
82504016 | P131308 | PIN | P131308-16 | S355ATW | 2022-01-18 10:14 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipperwand used to collect sample. S355ATW SAMPLED REGARDLESS OF FLOW
82534014 | P131399 | PIE | P131399-14 | S332DX | 2022-01-18 10:24 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running. S332DX FOR RECORDED FLOW OR IF FLOWING AT S332D, S176 OR S332C OR FOR MONTHLY
82504017 | P131308 | PIN | P131308-17 | S333N | 2022-01-18 10:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S333N GRAB IF RECORDED FLOW OR GATES OPEN AT S12D, S333N, OR S333, OTHERWISE MONTHLY
82504002 | P131308 | PIN | P131308-2 | S333N | 2022-01-18 10:43 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI 7486 to sample bottles. FB FOR ADT
82534024 | P131399 | PIE | P131399-24 | S200 | 2022-01-18 10:54 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running. S200 FOR WEEKLY RECORDED FLOW, OTHERWISE NOB
82504037 | P131308 | PIN | P131308-37 | S12D | 2022-01-18 11:27 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open to ~0.25ft. Dipperwand used to collect sample. S12D GRAB IF FLOWING OTHERWISE NOB
82534028 | P131399 | PIE | P131399-28 | AJC1 | 2022-01-18 11:34 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB FOR RECORDED FLOW AT S199 OTHERWISE NOB; Visible flow
82534027 | P131399 | PIE | P131399-27 | S177 | 2022-01-18 11:53 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running. S177 GRAB FOR RECORDED FLOW OR IF S177 GATES OPEN OR S199 PUMPS ON, OTHERWISE MONTHLY
82534033 | P131399 | PIE | P131399-33 | S177 | 2022-01-18 12:02 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82504041 | P131308 | PIN | P131308-41 | S12A | 2022-01-18 12:07 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipperwand used to collect sample. S12A GRAB FOR NO FLOW AND MONTHLY PREVIOUSLY COLLECTED
82534029 | P131399 | PIE | P131399-29 | S178 | 2022-01-18 12:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.052 | +/- 0.004 | mg/L | 0.002 | 0.004 | PD | NO | Gates open. DI switched from 7412 to 7451. S178 GRAB FOR RECORDED FLOW OR IF FLOWING OTHERWISE MONTHLY
82534030 | P131399 | PIE | P131399-30 | S18C | 2022-01-18 12:37 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open. Heavy vegetation surrounding gates, avoided during sampling. S18C GRAB FOR RECORDED FLOW OR IF FLOWING OTHERWEISE MONTHLY
82499002 | P131298 | PIN | P131298-2 | S356-334 | 2022-01-24 08:30 | EB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | EB collected thru all sampling equipment
82499006 | P131298 | PIN | P131298-6 | S356-334 | 2022-01-24 08:43 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed and pumps running during sample collection. Bugs present on surface of water avoided during sample collection. S356-334 GRAB FOR WEEKLY RECORDED FLOWOR S334 GATES ARE OPEN OR S356 PUMPS ARE RUNNING OR FOR MONTHLY
82499003 | P131298 | PIN | P131298-3 | S356-334 | 2022-01-24 08:48 | RS | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Bugs present on surface of water avoided during sample collection.
82499004 | P131298 | PIN | P131298-4 | S356-334 | 2022-01-24 08:55 | RS | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Bugs present on surface of water avoided during sample collection.
82499049 | P131298 | PIN | P131298-49 | S356-334 | 2022-01-24 09:04 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB TO BE COMPLETED AT ANY SITE AFTER FIRST USE OF ALL EQUIPMENT PREFERABLY LONGEST ACODE LIST REMEMBER TO DELETE UNUSED ACODES; FCEB collected thru all sampling equipment
82499016 | P131298 | PIN | P131298-16 | S333N | 2022-01-24 09:27 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open to 4.3 feet during sampling. S333N GRAB IF RECORDED FLOWOR GATES OPEN AT S12D, S333 OR S333N, OTHERWISE MONTHLY
82499005 | P131298 | PIN | P131298-5 | S333N | 2022-01-24 09:42 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FB FOR ADT
82499036 | P131298 | PIN | P131298-36 | S12D | 2022-01-24 09:53 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open to 0.5ft. Dipper wand used to collect sample. S12D GRAB IF FLOWING OTHERWISE NOB
82499040 | P131298 | PIN | P131298-40 | S12A | 2022-01-24 10:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed and monthly previously collected 01/10/2022. S12A GRAB FOR NO FLOW AND MONTHLY PREVIOUSLY COLLECTED
82542002 | P131370 | PIE | P131370-2 | S200 | 2022-01-25 09:03 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running; S200 GRAB FOR RECORDED FLOW
82541002 | P131368 | PIE | P131368-2 | S331-173 | 2022-01-25 09:27 | EB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82541007 | P131368 | PIE | P131368-7 | S331-173 | 2022-01-25 09:49 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S331-173 GRAB FOR FLOW AT S331 OR S173 OR FOR MONTHLY; pumps on
82541003 | P131368 | PIE | P131368-3 | S331-173 | 2022-01-25 10:02 | RS | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | pumps on
82542007 | P131370 | PIE | P131370-7 | AJC1 | 2022-01-25 10:10 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | . flow apparent. AJC1 GRAB FOR WRF AT S199 MUST COLLECT STAFF GAUGE READING IF SAMPLE COLLECTED
82541004 | P131368 | PIE | P131368-4 | S331-173 | 2022-01-25 10:12 | RS | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | pumps on
82541005 | P131368 | S357P | P131368-5 | S357 | 2022-01-25 10:32 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S357 GRAB FOR RECORDED FLOW; pumps running, flow visible
82541018 | P131368 | PIE | P131368-18 | S332DX | 2022-01-25 11:07 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332DX GRAB FOR RECORDED FLOW OR IF FOWING AY EITHER S176 OR S332D OR FOR MONTHLY; pumps running
82541030 | P131368 | PIE | P131368-30 | S332DX | 2022-01-25 11:23 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82542005 | P131370 | PIE | P131370-5 | S177 | 2022-01-25 11:25 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running; S177 GRAB FOR RECORDED FLOW OF IF FLOW AT EITHER S199 OR S177 OTHERWISE MONTHLY
82542015 | P131370 | PIE | P131370-15 | S177 | 2022-01-25 11:38 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82541028 | P131368 | PIE | P131368-28 | S328 | 2022-01-25 11:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S328 GRAB FOR RECORDED FLOW; gates open. staff gauge reading of 4.8 ft NAVD88
82542009 | P131370 | PIE | P131370-9 | S178 | 2022-01-25 11:58 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.019 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open; S178 GRAB FOR RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY
82541029 | P131368 | PIE | P131368-29 | BERMB3 | 2022-01-25 12:03 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | BERMB3 GRAB FOR FLOW OTHERWISE MONTHLY; TD less than 0.5m. unable to collect with van dorn due to vegetation. sample collected using a 1 L bottle via direct grab.
82542011 | P131370 | PIE | P131370-11 | S18C | 2022-01-25 12:31 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open; S18C GRAB FOR RECORDED OR IF GATES OPEN OTHERWISE MONTHLY
82542014 | P131370 | PIE | P131370-14 | S197 | 2022-01-25 13:24 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed; S197 QUARTERLY GRAB
82500006 | P131300 | PIN | P131300-6 | S356-334 | 2022-01-31 09:02 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Three pumps operating during time of sampling. ; S356-334 GRAB FOR WEEKLY RECORDED FLOWOR S334 GATES ARE OPEN OR S356 PUMPS ARE RUNNING OR FOR MONTHLY
82500053 | P131300 | PIN | P131300-53 | S356-334 | 2022-01-31 09:19 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI 7457 through niskin to sample bottles.
82500016 | P131300 | PIN | P131300-16 | S355B | 2022-01-31 09:43 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed at time of sampling. Collected according to PM decision paperwork. S355B GRAB IF FLOWING, OTHERWISE MONTHLY, OTHERWISE NOB
82500017 | P131300 | PIN | P131300-17 | S355BTW | 2022-01-31 09:52 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample. S355BTW SAMPLED REGARDLESS OF FLOW
82500018 | P131300 | PIN | P131300-18 | S355A | 2022-01-31 10:02 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed during time of sampling. Samples collected according to PM decision paperwork. ; S355A GRAB IF FLOWING, OTHERWISE MONTHLY, OTHERWISE NOB
82500019 | P131300 | PIN | P131300-19 | S355ATW | 2022-01-31 10:10 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample. ; S355ATW SAMPLED REGARDLESS OF FLOW
82500020 | P131300 | PIN | P131300-20 | S333N | 2022-01-31 10:29 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open to 3.0 during time of sampling. S333N GRAB FOR RECORDED FLOW OR GATES OPEN AT S12D, S333 OR S333N, OTHERWISE MONTHLY
82500005 | P131300 | PIN | P131300-5 | S333N | 2022-01-31 10:33 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI 7459 to sample bottles. FB FOR ADT
82500040 | P131300 | PIN | P131300-40 | S12D | 2022-01-31 10:57 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample. Gates open to 0.3 feet during time of sampling. S12D GRAB IF FLOWING OTHERWISE NOB
82500044 | P131300 | PIN | P131300-44 | S12A | 2022-01-31 11:26 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed during time of sampling. S12A GRAB IF NO FLOW AND MONTHLY PREVIOUSLY COLLECTED
82084011 | P130461 | EVPA | P130461-11 | LOXA101 | 2022-02-01 08:05 | SAMP | SW | G | 0.4 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82084010 | P130461 | EVPA | P130461-10 | LOXA140 | 2022-02-01 08:09 | SAMP | SW | G | 0.4 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82084009 | P130461 | EVPA | P130461-9 | LOX4 | 2022-02-01 08:20 | SAMP | SW | G | 0.56 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Staff Gauge Reading: 17.50
82084008 | P130461 | EVPA | P130461-8 | LOXA130 | 2022-02-01 08:28 | SAMP | SW | G | 0.51 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82084007 | P130461 | EVPA | P130461-7 | LOX7 | 2022-02-01 08:37 | SAMP | SW | G | 0.59 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82084006 | P130461 | EVPA | P130461-6 | LOX8 | 2022-02-01 08:47 | SAMP | SW | G | 0.52 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82535004 | P131400 | PIE | P131400-4 | S331-173 | 2022-02-01 08:48 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S331-173 GRAB FOR RECORDED FLOW AT S331 OR S173 OR FOR MONTHLY; no flow visible
82084005 | P130461 | EVPA | P130461-5 | LOX9 | 2022-02-01 08:56 | SAMP | SW | G | 0.55 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82084004 | P130461 | EVPA | P130461-4 | LOX10 | 2022-02-01 09:05 | SAMP | SW | G | 0.43 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Substituted 1L clear with 1L amber bottle for grab due to shortage.
82084003 | P130461 | EVPA | P130461-3 | LOX5 | 2022-02-01 09:15 | SAMP | SW | G | 0.45 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Substituted 1L clear with 1L amber bottle for grab due to shortage.
82535002 | P131400 | S357P | P131400-2 | S357 | 2022-02-01 09:28 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S357 GRAB FOR RECORDED FLOW; pumps running
82535014 | P131400 | PIE | P131400-14 | S332DX | 2022-02-01 10:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332DX FOR RECORDED FLOW OR IF FLOWING AT S332D, S176 OR S332C OR FOR MONTHLY; pumps runing
82535024 | P131400 | PIE | P131400-24 | S200 | 2022-02-01 11:22 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S200 FOR WEEKLY RECORDED FLOW, OTHERWISE NOB; pumps running
82084012 | P130461 | EVPA | P130461-12 | FOCQC | 2022-02-01 12:23 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82535028 | P131400 | PIE | P131400-28 | AJC1 | 2022-02-01 12:26 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB FOR RECORDED FLOW AT S199 OTHERWISE NOB; staff gauge reading 2.1 ft NAVD88.. flow over rocks visible
82535027 | P131400 | PIE | P131400-27 | S177 | 2022-02-01 12:45 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S177 GRAB FOR RECORDED FLOW OR IF S177 GATES OPEN OR S199 PUMPS ON, OTHERWISE MONTHLY; pumps running
82535033 | P131400 | PIE | P131400-33 | S177 | 2022-02-01 13:05 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82535029 | P131400 | PIE | P131400-29 | S178 | 2022-02-01 13:22 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S178 GRAB FOR RECORDED FLOW OR IF FLOWING OTHERWISE MONTHLY; gates open
82535030 | P131400 | PIE | P131400-30 | S18C | 2022-02-01 13:55 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S18C GRAB FOR RECORDED FLOW OR IF FLOWING OTHERWEISE MONTHLY; gates open
82088010 | P130469 | EVPA | P130469-10 | X1 | 2022-02-02 08:06 | SAMP | SW | G | 1.05 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS greater than 1.0m.
82088011 | P130469 | EVPA | P130469-11 | X4 | 2022-02-02 08:14 | SAMP | SW | G | 0.57 | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82088009 | P130469 | EVPA | P130469-9 | LOX12 | 2022-02-02 08:22 | SAMP | SW | G | 1.1 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Staff gauge reading 17.55. Sample taken from float due to DCS greater than 1.0m.
82088008 | P130469 | EVPA | P130469-8 | LOX15 | 2022-02-02 08:32 | SAMP | SW | G | 1.15 | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS greater than 1.0m.
82088007 | P130469 | EVPA | P130469-7 | LOX16 | 2022-02-02 08:39 | SAMP | SW | G | 1.04 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS greater than 1.0m.
82088006 | P130469 | EVPA | P130469-6 | LOX14 | 2022-02-02 08:47 | SAMP | SW | G | 1.02 | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS greater than 1.0m.
82088005 | P130469 | EVPA | P130469-5 | LOX13 | 2022-02-02 08:56 | SAMP | SW | G | 0.79 | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82088004 | P130469 | EVPA | P130469-4 | LOXA124 | 2022-02-02 09:06 | SAMP | SW | G | 0.79 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82088003 | P130469 | EVPA | P130469-3 | LOX11 | 2022-02-02 09:15 | SAMP | SW | G | 0.67 | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82088002 | P130469 | EVPA | P130469-2 | LOX6 | 2022-02-02 09:26 | SAMP | SW | G | 0.7 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82088012 | P130469 | EVPA | P130469-12 | FOCQC | 2022-02-02 12:24 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82515003 | P131334 | PIN | P131334-3 | S356-334 | 2022-02-07 08:39 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, 3 pumps running during sample collection. S356-334 GRAB FOR WEEKLY RECORDED FLOWOR S334 GATES ARE OPEN OR S356 PUMPS ARE RUNNING OR FOR MONTHLY
82515002 | P131334 | PIN | P131334-2 | S356-334 | 2022-02-07 08:54 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI7445 through Van Dorn, to sample bottles. FCEB TO BE COMPLETED AT ANY SITE AFTER FIRST USE OF ALL EQUIPMENT PREFERABLY LONGEST ACODE LIST REMEMBER TO DELETE UNUSED ACODES
82515013 | P131334 | PIN | P131334-13 | S333N | 2022-02-07 09:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open to 3.0' feet, flow observed. S333N GRAB IF RECORDED FLOW OR GATES OPEN AT S12D, S333N, OR S333, OTHERWISE MONTHLY
82515023 | P131334 | PIN | P131334-23 | S333 | 2022-02-07 10:00 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open to 2.9' feet, flow observed. Collected per FPM. S333 GRAB FOR RECORDED FLOW OR IF FLOWING AT S12D S333 OR S333N OR FOR MONTHLY
82515033 | P131334 | PIN | P131334-33 | S12D | 2022-02-07 10:19 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used for sample collection. All gates open to approximately 0.5' feet. S12D GRAB IF FLOWING OTHERWISE NOB
82515037 | P131334 | PIN | P131334-37 | S12A | 2022-02-07 10:48 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used for sample collection. Floating vegetation present in sampling area, avoided during collection. S12A GRAB FOR NO FLOW AND MONTHLY PREVIOUSLY COLLECTED
82549004 | P131423 | PIE | P131423-4 | S331-173 | 2022-02-08 08:25 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps off. S331-173 GRAB FOR RECORDED FLOW AT S331 OR S173 OR FOR MONTHLY
82549002 | P131423 | S357P | P131423-2 | S357 | 2022-02-08 08:52 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps on. S357 GRAB FOR RECORDED FLOW
82554002 | P131433 | PIE | P131433-2 | S200 | 2022-02-08 09:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S200 Grab for Weekly Recorded Flow; pumps running, flow visible. smoke present at site, no ash visible.
82549015 | P131423 | PIE | P131423-15 | S332DX | 2022-02-08 09:38 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running. S332DX FOR RECORDED FLOW OR IF FLOWING AT S332D, S176 OR S332C OR FOR MONTHLY
82549027 | P131423 | PIE | P131423-27 | S332DX | 2022-02-08 09:54 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82554004 | P131433 | PIE | P131433-4 | G737 | 2022-02-08 10:11 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Area is too overgrown with veg and shallow at platform, unable to collect wtih niskin or dipperwand. Sample collected at S201 bridge using a dipperwand and 120mL bottle. flow visible; G737 GRAB USE THIS LINE IF RECORDED FLOW
82549025 | P131423 | PIE | P131423-25 | S328 | 2022-02-08 10:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Staff gauge reading 4.5 NAVD88 at 10:20 AM. Downstream staff gauge reading 4.6 NAVD88 at 10:24. Gates open.
82549026 | P131423 | PIE | P131423-26 | BERMB3 | 2022-02-08 10:33 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | BERMB3 GRAB FOR IF FLOWING OTHERWISE MONTHLY; Direct grab with 1L amber bottle. Depth measured with graduated PVC pole at 0.36 meters.
82554006 | P131433 | PIE | P131433-6 | AJC1 | 2022-02-08 10:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB FOR RECORDED FLOW AND STAGE AT S199. IF NO RECORDED FLOW NOB; staff gauge reading of 2.1 ft NAVD88. flow visible over rocks
82554005 | P131433 | PIE | P131433-5 | S177 | 2022-02-08 11:11 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S177 GRAB FOR RECORDED FLOW OF IF S199 PUM PS ON OR S177 GATES OPEN, OTHERWISE MONTHLY; pumps running, flow visible
82554012 | P131433 | PIE | P131433-12 | S177 | 2022-02-08 11:30 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82554007 | P131433 | PIE | P131433-7 | S178 | 2022-02-08 11:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.019 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S178 GRAB FOR RECORDED FLOW OR S178 GATES OPEN, OTHERWISE MONTHLY; gates open. miniscule, unidentifiable living organisms visible in sample. Attempted to collect multiple times from various areas at site, organisms present in each grab.
82554008 | P131433 | PIE | P131433-8 | S18C | 2022-02-08 12:29 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S18C GRAB FOR RECORDED FLOW OR IF FLOW, OTHERWISE MONTHLY; gates open, flow visible. brown sludge on surface of water, avoided while grabbing sample.
82520003 | P131344 | PIN | P131344-3 | S356-334 | 2022-02-14 08:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, 3 pumps running at time of site visit; S356-334 GRAB FOR WEEKLY RECORDED FLOWOR S334 GATES ARE OPEN OR S356 PUMPS ARE RUNNING OR FOR MONTHLY
82520050 | P131344 | PIN | P131344-50 | S356-334 | 2022-02-14 08:58 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI Water 7474 through all equipment to bottles.
82520014 | P131344 | PIN | P131344-14 | S355BTW | 2022-02-14 09:33 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample; S355BTW SAMPLED REGARDLESS OF FLOW
82520016 | P131344 | PIN | P131344-16 | S355ATW | 2022-02-14 09:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample; S355ATW SAMPLED REGARDLESS OF FLOW
82520002 | P131344 | PIN | P131344-2 | S333N | 2022-02-14 10:08 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI Water 7474 to bottles; FB FOR ADT
82520017 | P131344 | PIN | P131344-17 | S333N | 2022-02-14 10:10 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open 2.4-feet at time of site visit; S333N GRAB IF RECORDED FLOW OR GATES OPEN AT S12D, S333N, OR S333, OTHERWISE MONTHLY
82520027 | P131344 | PIN | P131344-27 | S333 | 2022-02-14 10:37 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open 2.4-feet at time of site visit; S333 GRAB FOR RECORDED FLOW OR IF FLOWING AT S12D S333 OR S333N OR FOR MONTHLY
82520037 | P131344 | PIN | P131344-37 | S12D | 2022-02-14 10:56 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample; S12D GRAB IF FLOWING OTHERWISE NOB
82520041 | P131344 | PIN | P131344-41 | S12A | 2022-02-14 11:28 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.017 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed at time of site visit. Dipper wand used to collect sample. S12A GRAB FOR NO FLOW AND MONTHLY PREVIOUSLY COLLECTED
82536004 | P131401 | PIE | P131401-4 | S331-173 | 2022-02-15 08:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S331-173 GRAB FOR RECORDED FLOW AT S331 OR S173 OR FOR MONTHLY; pumps off, gate closed. no flow visible
82536002 | P131401 | S357P | P131401-2 | S357 | 2022-02-15 09:27 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S357 GRAB FOR RECORDED FLOW; pumps running. grass and oily sheen present on surface of water, avoided while grabbing sample.
82536014 | P131401 | PIE | P131401-14 | S332DX | 2022-02-15 10:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332DX FOR RECORDED FLOW OR IF FLOWING AT S332D, S176 OR S332C OR FOR MONTHLY; pumps off, construction on the downstream side of pump station. gates open.
82536024 | P131401 | PIE | P131401-24 | S200 | 2022-02-15 10:45 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S200 FOR WEEKLY RECORDED FLOW, OTHERWISE NOB; pumps on
82536026 | P131401 | PIE | P131401-26 | G737 | 2022-02-15 11:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | G737 COLLECT IF RECORDED FLOW OTHERWISE NOB; sample taken from S201 bridge south of platform due to depth being too shallow and vegetation at site. Sample collected at bridge using dipperwand and 120ml bottle.
82536028 | P131401 | PIE | P131401-28 | AJC1 | 2022-02-15 11:54 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB FOR RECORDED FLOW AT S199 OTHERWISE NOB; staff gauge reading of 1.8 ft NAVD88. flow visible over rocks.
82536027 | P131401 | PIE | P131401-27 | S177 | 2022-02-15 12:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S177 GRAB FOR RECORDED FLOW OR IF S177 GATES OPEN OR S199 PUMPS ON, OTHERWISE MONTHLY; pumps on
82536033 | P131401 | PIE | P131401-33 | S177 | 2022-02-15 12:30 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82536029 | P131401 | PIE | P131401-29 | S178 | 2022-02-15 12:45 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S178 GRAB FOR RECORDED FLOW OR IF FLOWING OTHERWISE MONTHLY; gates open
82536030 | P131401 | PIE | P131401-30 | S18C | 2022-02-15 13:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S18C GRAB FOR RECORDED FLOW OR IF FLOWING OTHERWEISE MONTHLY; gates open
82516003 | P131335 | PIN | P131335-3 | S356-334 | 2022-02-21 08:52 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Flow observed, 3 pumps running at time of sample collection. Live insects on the water surface surrounding the sampling platform, avoided during sample collection. S356-334 GRAB FOR WEEKLY RECORDED FLOWOR S334 GATES ARE OPEN OR S356 PUMPS ARE RUNNING OR FOR MONTHLY
82516002 | P131335 | PIN | P131335-2 | S356-334 | 2022-02-21 09:10 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB TO BE COMPLETED AT ANY SITE AFTER FIRST USE OF ALL EQUIPMENT PREFERABLY LONGEST ACODE LIST REMEMBER TO DELETE UNUSED ACODES; FCEB collected thru all sampling equipment by AH using DI 7453.
82516013 | P131335 | PIN | P131335-13 | S333N | 2022-02-21 09:59 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Flow observed. Gates open to 2.4 ft. S333N GRAB IF RECORDED FLOW OR GATES OPEN AT S12D, S333N, OR S333, OTHERWISE MONTHLY
82516023 | P131335 | PIN | P131335-23 | S333 | 2022-02-21 10:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Flow observed. Gate open to 2.4 ft. S333 GRAB FOR RECORDED FLOW OR IF FLOWING AT S12D S333 OR S333N OR FOR MONTHLY
82516033 | P131335 | PIN | P131335-33 | S12D | 2022-02-21 11:33 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates open to 0.3 ft. Sample collected from canal bank using dipper wand. S12D GRAB IF FLOWING OTHERWISE NOB
82516037 | P131335 | PIN | P131335-37 | S12A | 2022-02-21 12:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.017 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S12A GRAB FOR NO FLOW AND MONTHLY PREVIOUSLY COLLECTED; Sample collected from canal bank using dipper wand.
82550004 | P131424 | PIE | P131424-4 | S331-173 | 2022-02-22 08:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S331-173 GRAB FOR RECORDED FLOW AT S331 OR S173 OR FOR MONTHLY; gate open
82555002 | P131434 | PIE | P131434-2 | S200 | 2022-02-22 08:55 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running. S200 Grab for Weekly Recorded Flow
82550002 | P131424 | S357P | P131424-2 | S357 | 2022-02-22 09:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S357 GRAB FOR RECORDED FLOW; pumps running
82555004 | P131434 | PIE | P131434-4 | G737 | 2022-02-22 09:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Flow visible. Surface water on platform is too overgrown with vegetation to use niskin or dipper wand. Sample was collected at S201 bridge using dipperwand and 120mL bottle. Depth was taken using a graduated PVC pole and measured TD at 0.31 meters. G737 GRAB USE THIS LINE IF RECORDED FLOW
82550014 | P131424 | PIE | P131424-14 | S332B | 2022-02-22 09:50 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332B GRAB FOR BIWEEKLY RECORDED FLOW; pumps running
82555006 | P131434 | PIE | P131434-6 | AJC1 | 2022-02-22 09:51 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB FOR RECORDED FLOW AND STAGE AT S199. IF NO RECORDED FLOW NOB; No visible flow. Staff gauge reading of 1.2 ft. NAVD88.
82550015 | P131424 | PIE | P131424-15 | S332DX | 2022-02-22 10:36 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332DX FOR RECORDED FLOW OR IF FLOWING AT S332D, S176 OR S332C OR FOR MONTHLY; gates open. construction occurring at gate. construction occurring on downstream side of pump station, west of site, pumps off. water is very turbid, green, and milky. FPM notified.
82550027 | P131424 | PIE | P131424-27 | S332DX | 2022-02-22 10:55 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82555005 | P131434 | PIE | P131434-5 | S177 | 2022-02-22 11:12 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps off. S177 GRAB FOR RECORDED FLOW OF IF S199 PUM PS ON OR S177 GATES OPEN, OTHERWISE MONTHLY
82555012 | P131434 | PIE | P131434-12 | S177 | 2022-02-22 11:20 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82550025 | P131424 | PIE | P131424-25 | S328 | 2022-02-22 11:26 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | staff gauge reading of 4.7 ft NAVD88 at 11:30. gates closed. sample taken from isolated pool and not representative of surrounding area.
82555007 | P131434 | PIE | P131434-7 | S178 | 2022-02-22 11:33 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.018 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. S178 GRAB FOR RECORDED FLOW OR S178 GATES OPEN, OTHERWISE MONTHLY
82555008 | P131434 | PIE | P131434-8 | S18C | 2022-02-22 11:57 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open. S18C GRAB FOR RECORDED FLOW OR IF FLOW, OTHERWISE MONTHLY
82521003 | P131345 | PIN | P131345-3 | S356-334 | 2022-02-28 09:10 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | 3 pumps running at time of collection. S356-334 GRAB FOR WEEKLY RECORDED FLOWOR S334 GATES ARE OPEN OR S356 PUMPS ARE RUNNING OR FOR MONTHLY
82521050 | P131345 | PIN | P131345-50 | S356-334 | 2022-02-28 09:30 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment
82521013 | P131345 | PIN | P131345-13 | S355B | 2022-02-28 09:49 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Collected for monthly. Grass cutting on water surface avoided. S355B GRAB IF FLOWING, OTHERWISE MONTHLY, OTHERWISE NOB
82521014 | P131345 | PIN | P131345-14 | S355BTW | 2022-02-28 09:55 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used. Glass clippings present on water's surface. S355BTW SAMPLED REGARDLESS OF FLOW
82521015 | P131345 | PIN | P131345-15 | S355A | 2022-02-28 10:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Collected for monthly requirement. Unavoidable grass clippings on water's surface. S355A GRAB IF FLOWING, OTHERWISE MONTHLY, OTHERWISE NOB
82521016 | P131345 | PIN | P131345-16 | S355ATW | 2022-02-28 10:15 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used. Grass clippings on water surface avoided. S355ATW SAMPLED REGARDLESS OF FLOW
82521017 | P131345 | PIN | P131345-17 | S333N | 2022-02-28 10:37 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S333N GRAB IF RECORDED FLOW OR GATES OPEN AT S12D, S333N, OR S333, OTHERWISE MONTHLY
82521002 | P131345 | PIN | P131345-2 | S333 | 2022-02-28 11:00 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI 7479 to bottles. FB FOR ADT
82521027 | P131345 | PIN | P131345-27 | S333 | 2022-02-28 11:00 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S333 GRAB FOR RECORDED FLOW OR IF FLOWING AT S12D S333 OR S333N OR FOR MONTHLY
82521037 | P131345 | PIN | P131345-37 | S12D | 2022-02-28 11:25 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used. Oily sheen present on water surface. All gates open to 0.5ft. S12D GRAB IF FLOWING OTHERWISE NOB
82521040 | P131345 | PIN | P131345-40 | S12A | 2022-02-28 11:45 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.019 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed. Collected for monthly sampling event. S12A GRAB FOR WEEKLY IF FLOW OTHERWISE MONTHLY
83281002 | P133164 | PIE | P133164-2 | S200 | 2022-03-01 09:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S200 Grab for Weekly Recorded Flow; pumps running, flow visible.
83281004 | P133164 | PIE | P133164-4 | G737 | 2022-03-01 09:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | G737 GRAB USE THIS LINE IF RECORDED FLOW; TD at platform is 0.27m. unable to collect using niskin or dipperwand due to depth being too shallow and overgrown veg. sample collected from the bridge south of the platform using a 120ml bottle and dipperwand due to depth being less than 0.4m.
83323005 | P133225 | EVPA | P133225-5 | LOX3 | 2022-03-01 09:55 | SAMP | SW | G | 0.26 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Partial sample taken due to TD between 0.1m and 0.2m. Syringe was not rinsed with site water.
83323006 | P133225 | EVPA | P133225-6 | LOX5 | 2022-03-01 10:07 | SAMP | SW | G | 0.32 | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Partial sample taken due to TD between 0.1m and 0.2m. Syringe was not rinsed with site water.
83281007 | P133164 | PIE | P133164-7 | S178 | 2022-03-01 10:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S178 GRAB FOR RECORDED FLOW OR S178 GATES OPEN, OTHERWISE MONTHLY; gates open
83323007 | P133225 | EVPA | P133225-7 | LOX10 | 2022-03-01 10:24 | SAMP | SW | G | 0.4 | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
83281011 | P133164 | PIE | P133164-11 | S178 | 2022-03-01 10:28 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
83323008 | P133225 | EVPA | P133225-8 | LOX9 | 2022-03-01 10:35 | SAMP | SW | G | 0.45 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
83323009 | P133225 | EVPA | P133225-9 | LOX8 | 2022-03-01 10:46 | SAMP | SW | G | 0.48 | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
83281008 | P133164 | PIE | P133164-8 | S18C | 2022-03-01 10:51 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S18C GRAB FOR RECORDED FLOW OR IF FLOW, OTHERWISE MONTHLY; gates open
83323010 | P133225 | EVPA | P133225-10 | LOX7 | 2022-03-01 10:58 | SAMP | SW | G | 1.15 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to TD greater than 1.0m.
83323011 | P133225 | EVPA | P133225-11 | LOXA130 | 2022-03-01 11:07 | SAMP | SW | G | 0.42 | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
83323012 | P133225 | EVPA | P133225-12 | LOX4 | 2022-03-01 11:16 | SAMP | SW | G | 0.45 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Staff gauge reading 17.10
83323013 | P133225 | EVPA | P133225-13 | LOXA140 | 2022-03-01 11:29 | SAMP | SW | G | 0.35 | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
83323014 | P133225 | EVPA | P133225-14 | LOXA101 | 2022-03-01 11:36 | SAMP | SW | G | 0.25 | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
83323002 | P133225 | EVPA | P133225-2 | FOCQC | 2022-03-01 12:43 | EB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
83323015 | P133225 | EVPA | P133225-15 | FOCQC | 2022-03-01 14:10 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
83326014 | P133231 | EVPA | P133231-14 | X4 | 2022-03-02 08:08 | SAMP | SW | G | 0.5 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
83326012 | P133231 | EVPA | P133231-12 | LOX12 | 2022-03-02 08:20 | SAMP | SW | G | 0.95 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Staff gauge reading: 17.15ft
83326011 | P133231 | EVPA | P133231-11 | LOX15 | 2022-03-02 08:31 | SAMP | SW | G | 1.1 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DCS over 1m, sample taken from float.
83326003 | P133231 | EVPA | P133231-3 | LOX15 | 2022-03-02 08:33 | RS | SW | G | 1.1 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DCS over 1m, sample taken from float.
83326004 | P133231 | EVPA | P133231-4 | LOX15 | 2022-03-02 08:34 | RS | SW | G | 1.1 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DCS over 1m, sample taken from float.
83326010 | P133231 | EVPA | P133231-10 | LOX16 | 2022-03-02 08:45 | SAMP | SW | G | 0.62 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
83326009 | P133231 | EVPA | P133231-9 | LOX14 | 2022-03-02 08:56 | SAMP | SW | G | 0.78 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
83326008 | P133231 | EVPA | P133231-8 | LOX13 | 2022-03-02 09:06 | SAMP | SW | G | 0.72 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
83326007 | P133231 | EVPA | P133231-7 | LOXA124 | 2022-03-02 09:14 | SAMP | SW | G | 0.58 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
83326006 | P133231 | EVPA | P133231-6 | LOX11 | 2022-03-02 09:24 | SAMP | SW | G | 0.58 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Syringe and filter broke during processing, both replaced.
83326005 | P133231 | EVPA | P133231-5 | LOX6 | 2022-03-02 09:35 | SAMP | SW | G | 0.54 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Green bottle dropped and sample lost while relinquishing samples. Outside 4-hour hold time, SPR submitted.
83326015 | P133231 | EVPA | P133231-15 | FOCQC | 2022-03-02 13:05 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82517003 | P131336 | PIN | P131336-3 | S356-334 | 2022-03-07 09:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed and 2 pumps running at time of site visit; S356-334 GRAB FOR WEEKLY RECORDED FLOWOR S334 GATES ARE OPEN OR S356 PUMPS ARE RUNNING OR FOR MONTHLY
82517002 | P131336 | PIN | P131336-2 | S356-334 | 2022-03-07 09:30 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI water 7476 through all equipment. FCEB TO BE COMPLETED AT ANY SITE AFTER FIRST USE OF ALL EQUIPMENT PREFERABLY LONGEST ACODE LIST REMEMBER TO DELETE UNUSED ACODES
82517013 | P131336 | PIN | P131336-13 | S333N | 2022-03-07 09:58 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Both gates open 2.3-feet at time of site visit; S333N GRAB IF RECORDED FLOW OR GATES OPEN AT S12D, S333N, OR S333, OTHERWISE MONTHLY
82517023 | P131336 | PIN | P131336-23 | S333 | 2022-03-07 10:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open 2.3-feet at time of site visit; S333 GRAB FOR RECORDED FLOW OR IF FLOWING AT S12D S333 OR S333N OR FOR MONTHLY
82517033 | P131336 | PIN | P131336-33 | S12D | 2022-03-07 10:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample. Gates open 0.5-feet at time of site visit. S12D GRAB IF FLOWING OTHERWISE NOB
82517037 | P131336 | PIN | P131336-37 | S12A | 2022-03-07 11:09 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.023 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample; S12A GRAB FOR NO FLOW AND MONTHLY PREVIOUSLY COLLECTED
82556002 | P131435 | PIE | P131435-2 | S200 | 2022-03-08 08:57 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running. Oily sheen and light vegetation on surface, avoided during grab. S200 Grab for Weekly Recorded Flow
82556007 | P131435 | PIE | P131435-7 | S178 | 2022-03-08 10:01 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.019 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open. S178 GRAB FOR RECORDED FLOW OR S178 GATES OPEN, OTHERWISE MONTHLY
82556012 | P131435 | PIE | P131435-12 | S178 | 2022-03-08 10:10 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82556008 | P131435 | PIE | P131435-8 | S18C | 2022-03-08 10:36 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. S18C GRAB FOR RECORDED FLOW OR IF FLOW, OTHERWISE MONTHLY
82522003 | P131346 | PIN | P131346-3 | S356-334 | 2022-03-14 08:49 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Large amount of aquatic insects on waters surface surrounding autosampler platform. 3 pumps running during sample collection. S356-334 GRAB FOR WEEKLY RECORDED FLOWOR S334 GATES ARE OPEN OR S356 PUMPS ARE RUNNING OR FOR MONTHLY
82522050 | P131346 | PIN | P131346-50 | S356-334 | 2022-03-14 09:08 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI7489 through Van Dorn to sample bottles.
82522014 | P131346 | PIN | P131346-14 | S355BTW | 2022-03-14 09:43 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used for sample collection. S355BTW SAMPLED REGARDLESS OF FLOW
82522016 | P131346 | PIN | P131346-16 | S355ATW | 2022-03-14 09:56 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.013 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used for sample collection. S355ATW SAMPLED REGARDLESS OF FLOW
82522002 | P131346 | PIN | P131346-2 | S333N | 2022-03-14 10:15 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI7489 to sample bottles. FB FOR ADT
82522017 | P131346 | PIN | P131346-17 | S333N | 2022-03-14 10:21 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.013 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open to approximately 2.4' feet. S333N GRAB IF RECORDED FLOW OR GATES OPEN AT S12D, S333N, OR S333, OTHERWISE MONTHLY
82522027 | P131346 | PIN | P131346-27 | S333 | 2022-03-14 10:42 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open to approximately 2.4' feet. S333 GRAB FOR RECORDED FLOW OR IF FLOWING AT S12D S333 OR S333N OR FOR MONTHLY
82522041 | P131346 | PIN | P131346-41 | S12A | 2022-03-14 11:58 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.025 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Dipper wand used for sample collection. S12A GRAB FOR NO FLOW AND MONTHLY PREVIOUSLY COLLECTED
82522037 | P131346 | PIN | P131346-37 | S12D | 2022-03-14 12:36 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.013 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open to 0.2' feet. Dipper wand used for sample collection. S12D GRAB IF FLOWING OTHERWISE NOB
83282002 | P133165 | PIE | P133165-2 | S200 | 2022-03-15 09:50 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps not running; S200 Grab for Weekly Recorded Flow
83282007 | P133165 | PIE | P133165-7 | S178 | 2022-03-15 10:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, no visible flow. S178 GRAB FOR RECORDED FLOW OR S178 GATES OPEN, OTHERWISE MONTHLY
83282009 | P133165 | PIE | P133165-9 | S18C | 2022-03-15 11:24 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Sample collected via dipper wand; S18C GRAB FOR NO FLOW AND MONTHLY PREVIOUSLY COLLECTED
83282011 | P133165 | PIE | P133165-11 | S18C | 2022-03-15 11:42 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82518003 | P131337 | PIN | P131337-3 | S356-334 | 2022-03-21 08:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | 2 pumps running during collection. S356-334 GRAB FOR WEEKLY RECORDED FLOWOR S334 GATES ARE OPEN OR S356 PUMPS ARE RUNNING OR FOR MONTHLY
82518002 | P131337 | PIN | P131337-2 | S356-334 | 2022-03-21 08:47 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB TO BE COMPLETED AT ANY SITE AFTER FIRST USE OF ALL EQUIPMENT PREFERABLY LONGEST ACODE LIST REMEMBER TO DELETE UNUSED ACODES; FCEB collected thru all sampling equipment
82518013 | P131337 | PIN | P131337-13 | S333N | 2022-03-21 09:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open to 2.1 ft. S333N GRAB IF RECORDED FLOW OR GATES OPEN AT S12D, S333N, OR S333, OTHERWISE MONTHLY
82518023 | P131337 | PIN | P131337-23 | S333 | 2022-03-21 09:39 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open to 2.1 ft. S333 GRAB FOR RECORDED FLOW OR IF FLOWING AT S12D S333 OR S333N OR FOR MONTHLY
82518033 | P131337 | PIN | P131337-33 | S12D | 2022-03-21 10:02 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates open to 0.3ft. Dipper wand used. S12D GRAB IF FLOWING OTHERWISE NOB
82518036 | P131337 | PIN | P131337-36 | S12A | 2022-03-21 10:28 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.026 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | S12A GRAB FOR WEEKLY IF FLOW OTHERWISE MONTHLY
82552004 | P131426 | PIE | P131426-4 | S331-173 | 2022-03-23 08:54 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps off. S331-173 GRAB FOR NO RECORDED FLOW AT S331 OR S173
82552002 | P131426 | S357P | P131426-2 | S357 | 2022-03-23 09:42 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps on. S357 GRAB FOR RECORDED FLOW
82552014 | P131426 | PIE | P131426-14 | S332B | 2022-03-23 10:14 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps off. S332DX GRAB FOR RECORDED FLOW OR IF FLOWING AT EITHER S176 OR S332D OR FOR MONTHLY
82552015 | P131426 | PIE | P131426-15 | S332DX | 2022-03-23 10:43 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps on. S332DX GRAB FOR NO RECORDED FLOW NO FLOW AT EITHER S176 OR S332D AND MONTHLY PREVIOUSLY COLLECTED
82557006 | P131436 | PIE | P131436-6 | AJC1 | 2022-03-23 10:55 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB FOR RECORDED FLOW AND STAGE AT S199. IF NO RECORDED FLOW NOB; Staff guage reads 2.3ft NAVD88. Visible flow.
82552027 | P131426 | PIE | P131426-27 | S332DX | 2022-03-23 11:00 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82557005 | P131436 | PIE | P131436-5 | S177 | 2022-03-23 11:17 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running; S177 GRAB FOR RECORDED FLOW OF IF S199 PUM PS ON OR S177 GATES OPEN, OTHERWISE MONTHLY
82552025 | P131426 | PIE | P131426-25 | S328 | 2022-03-23 11:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Staff gauge reading upstream is 4.4. NAVD88 at 11:20 AM. Staff gauge reading downstream is 4.2 at NAVD88 at 11:24 AM. Gates closed.
82557012 | P131436 | PIE | P131436-12 | S177 | 2022-03-23 11:26 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
82557007 | P131436 | PIE | P131436-7 | S178 | 2022-03-23 11:36 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, no visible flow; S178 GRAB FOR RECORDED FLOW OR S178 GATES OPEN, OTHERWISE MONTHLY
82557008 | P131436 | PIE | P131436-8 | S18C | 2022-03-23 12:01 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open 0.5ft, visible flow; S18C GRAB FOR RECORDED FLOW OR IF FLOW, OTHERWISE MONTHLY
82523003 | P131347 | PIN | P131347-3 | S356-334 | 2022-03-28 09:17 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed, 2 pumps running at time of site visit; S356-334 GRAB FOR WEEKLY RECORDED FLOWOR S334 GATES ARE OPEN OR S356 PUMPS ARE RUNNING OR FOR MONTHLY
82523050 | P131347 | PIN | P131347-50 | S356-334 | 2022-03-28 09:30 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI Water through all equipment
82523013 | P131347 | PIN | P131347-13 | S355B | 2022-03-28 09:54 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S355B GRAB IF FLOWING, OTHERWISE MONTHLY, OTHERWISE NOB
82523014 | P131347 | PIN | P131347-14 | S355BTW | 2022-03-28 09:55 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.013 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample; S355BTW SAMPLED REGARDLESS OF FLOW
82523015 | P131347 | PIN | P131347-15 | S355A | 2022-03-28 10:12 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S355A GRAB IF FLOWING, OTHERWISE MONTHLY, OTHERWISE NOB
82523016 | P131347 | PIN | P131347-16 | S355ATW | 2022-03-28 10:15 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample; S355ATW SAMPLED REGARDLESS OF FLOW
82523002 | P131347 | PIN | P131347-2 | S333N | 2022-03-28 10:38 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI water to bottles; FB FOR ADT
82523017 | P131347 | PIN | P131347-17 | S333N | 2022-03-28 10:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.026 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates open 2.6-feet at time of site visit; S333N GRAB IF RECORDED FLOW OR GATES OPEN AT S12D, S333N, OR S333, OTHERWISE MONTHLY
82523027 | P131347 | PIN | P131347-27 | S333 | 2022-03-28 11:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open 2.6-feet at time of site visit; S333 GRAB FOR RECORDED FLOW OR IF FLOWING AT S12D S333 OR S333N OR FOR MONTHLY
82523037 | P131347 | PIN | P131347-37 | S12D | 2022-03-28 11:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open 0.5-feet at time of site visit. Dipper wand used to collect sample; S12D GRAB IF FLOWING OTHERWISE NOB
82523040 | P131347 | PIN | P131347-40 | S12A | 2022-03-28 11:49 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.023 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S12A GRAB FOR WEEKLY IF FLOW OTHERWISE MONTHLY
83292004 | P133148 | PIE | P133148-4 | S331-173 | 2022-03-29 09:11 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps off. S331-173 GRAB FOR NO RECORDED FLOW AT S331 OR S173
83292002 | P133148 | S357P | P133148-2 | S357 | 2022-03-29 10:04 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S357 GRAB FOR RECORDED FLOW
83283006 | P133166 | PIE | P133166-6 | AJC1 | 2022-03-29 10:28 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB FOR RECORDED FLOW AND STAGE AT S199. IF NO RECORDED FLOW NOB; staff gauge reading of 1.9ft NAVD88. flow visible over rocks
83292014 | P133148 | PIE | P133148-14 | S332DX | 2022-03-29 10:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps on. S332DX ADT BOTTLE 1
83292024 | P133148 | PIE | P133148-24 | S332DX | 2022-03-29 11:05 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
83283005 | P133166 | PIE | P133166-5 | S177 | 2022-03-29 11:36 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S177 GRAB FOR RECORDED FLOW OF IF S199 PUM PS ON OR S177 GATES OPEN, OTHERWISE MONTHLY; pumps open, flow visible
83283011 | P133166 | PIE | P133166-11 | S177 | 2022-03-29 11:47 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
83283007 | P133166 | PIE | P133166-7 | S178 | 2022-03-29 12:03 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S178 GRAB FOR RECORDED FLOW OR S178 GATES OPEN, OTHERWISE MONTHLY; gates open
83283008 | P133166 | PIE | P133166-8 | S18C | 2022-03-29 12:32 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S18C GRAB FOR RECORDED FLOW OR IF FLOW, OTHERWISE MONTHLY; gates open. brown film present on surface of water near gate, avoided when grabbing sample

## Attributes & Codes
Water Quality Data Attributes
LIMS Number | Laboratory Information Management System (LIMS) sample identifier.
Work Identifier | Sampling event identifier.
Project | The abbreviation of the project name (see below for definitions).
Sample Identifier | The code used to identify the specific sample from which the data was derived.
Station | Name of the monitoring station where a water quality sample was collected.
Date Collected | Date and time that a water quality sample was collected at the monitoring location.
Sample Type | Indicates whether the sample is a regular sample or a quality assurance/quality control sample. If the latter, it indicates what kind.
Matrix | The environment or material from which a sample was collected (i.e, surface water, sediments, rainfall, etc.).
Collection Method | Describes how a sample was collected.
DCS | Depth to consolidated substrate (units are in meters).
Test Name | Gives the full test name of the parameter that was analyzed by the laboratory.
Remark Code | Provides information regarding the quality assurance and quality control of the laboratory results associated with the parameter and monitoring station.
Value | Measured concentration or parameter level.
Uncertainty | The uncertainty associated with the sample.
Units | Units used for the results for the parameter (pertain to Value, Uncertainty, MDL, & PQL attributes).
PQL | Practical quantification limit.
MDL | Method detection limit.
Sampling Purpose | The reason the sample was collected.
Data Investigation | Indicates whether or not the data was investigated. CA=Correction applied in DBHYDRO.
Sample Comments | Information regarding sampling that may pertain to the use of the data.
Data Codes:
PROJECT IDENTIFIER |  | SAMPLE COMMENT
P121145 | Everglades National Park Inflows North | ALKA | alkalinity
P121784 | Everglades Protection Area | APA | alkaline phosphatase activity
P122535 | Everglades National Park Inflows East / S-357 Pump Station | BBCW | Biscayne Bay Coastal Wetlands
|  | CA | calcium
PROJECT CODE |  | Cl | chloride
S357P | S-357 Pump Station | cm | centimeter
PIE | Everglades National Park Inflows East | COLOR | color
PIN | Everglades National Park Inflows North | DI#### | The batch of dionized water used for field blanks
EVPA | Everglades Protection Area | DOC | dissolved organic carbon
|  | EB | equipment blank
SAMPLE TYPE |  | FAV | floating aquatic vegetation
EB | equipment blank | FB | field blank
FB | field blank | FCEB | field-cleaned equipment blank
FCEB | field-cleaned equipment blank | FOC | Field Operations Center
RS | replicate sample | FPM | field project manager
SAMP | regular sample | ft | feet
|  | HFDM | Horizon Field Data Management
MATRIX |  | K | potassium
SW | surface water | L | liter
DI | deionized water | m | meter
|  | MG | magnesium
COLLECT_METHOD |  | mL | milliliter
G | grab – e.g., a Niskin (Van Dorn) water sample collector | NA | sodium
|  | NAVD88 | North American Vertical Datum of 1988
TEST NAME |  | NH4 | ammonia as nitrogen
P | phosphorus | NO2 | nitrite as nitrogen
|  | NOX | nitrate + nitrite
UNITS |  | OPO4 | orthophosphate as phosphorus
mg/L | milligram per liter | P number | pre-login sample number
Units | Indicates that there are no units for the data. | PM | project manager
|  | SE | southeast
SAMPLING PURPOSE |  | SIO2 | silica
PD | permit driven | SO4 | sulfate
|  | TD | total depth
|  | TDPO4 | total dissolved phosphate as phosphorus
|  | TDS | total dissolved solids
|  | TKN | total Kjeldahl nitrogen
|  | TN | total nitrogen
|  | TOT FE | total iron
|  | TPO4 | total phosphate as phosphorus
|  | TSS | total suspended solids
|  | TURB | turbidity
REMARK CODE
A | Value reported is the arithmetic mean (average) of two or more determinations.
G | Field QC blank detection greater than 10 percent (1/10) of sample value for blank.
I | The reported value is greater than or equal to the lab method detection limit but less than the laboratory practical quantitation limit.
J | Estimated value; value may not be accurate. A “J” value shall not be used as a substitute for K, L, M, T, V, or Y, however, if additional reasons exist for identifying the value as an estimate, the “J” code may be added to a K, L, M, T, V, or Y.
J1 | Surrogate recovery limits exceeded.
J2 | No known quality control criteria exist.
J3 | Precision or accuracy criteria not met.
J4 | Matrix Interference.
J5 | Improper laboratory or field protocols.
J9 | Indicates that the analyte was detected in field blank and/or associated sample. The analyte was detected at or above the method detection limit in a blank other than the method blank and the value of 10 times the blank value equal to or greater than the associated sample value.
K | Off-scale low. Actual value is known to be less than the value given. This code shall be used if: 1. The value is less than the lowest calibration standard and the calibration curve is known to be non-linear: or 2. The value is known to be less than the reported value based on sample size, dilution.
L | Off-scale high. Actual value is known to be greater than value given. To be used when the concentration of the analyte is above the acceptable level for quantitation (exceeds the linear range or highest calibration standard) and the calibration curve is known to exhibit a negative deflection.
M | When reporting chemical analyses: presence of material is verified but not quantified. The actual value is less than the value given. If the value is less than method detection limit use “T” below.
N | Presumptive evidence of presence of material. This qualifier should be used if: 1. The component has been tentatively identified based on mass spectral library search; or 2. There is an indication that the analyte is present, but quality control requirements for confirmation were not met.
NOB | No Bottle Sample. Indicates that a sampling trip was scheduled but a sample was not collected. This may be due to non-representative conditions at the site (such as insufficient water depth for sampling, excess vegetation, etc.) or because conditions for sample collection were not met (no flow at site, etc).
NVZ | No valid zero value; request original results from laboratory.
O | Sampled, but analysis lost or not performed.
PMF | Project Manager Flag.
PMR | Project Manager Remarks.
Q | Preparation or analysis performed after the approved holding time.
S | Secchi disk VOB (visible on bottom).
T | Value reported is less than the laboratory method detection limit.
U | Indicates that an analysis was performed for the analyte but that the analyte was not detected.
V | Indicates that the analyte was detected in both the sample and the associated method blank and the value of 10 times the blank value equal to or greater than the associated sample value.
Y | The laboratory analysis was from an unpreserved or improperly preserved sample. The data may not be accurate.
? | Data are rejected and should not be used. Some or all of the quality control data for the analyte were outside criteria, and the presence or absence of the analyte cannot be determined from the data.
* | Not reported due to interference.
! | Data deviates from historically established concentration ranges.
D | Measurement was made in the field (i.e. in-situ).
B | Results based upon colony outside the acceptable range.
Z | Too many colonies were present (TNTC), the numeric value represents the filtration volume.