## WQ Data - Jan Mar 2023
Quality Assessment Report for Water Quality Monitoring, January - March 2023: Water Quality Data
Provided to the Everglades Technical Oversight Committee on June 7, 2023
LIMS Number | Work Identifier | Project | Sample Identifier | Station | Date Collected | Sample Type | Matrix | Collection Method | DCS | Test Name | Remark Code | Value | Uncertainty | Units | MDL | PQL | Sampling Purpose | Data Investigation | Sample Comments
85318003 | P137426 | PIN | P137426-3 | S356-334 | 2023-01-03 08:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WRF OR S334 GATES OPEN OR S356 PUMPS ON OR FOR MONTHLY; Gate closed, 4 pumps running at time of site visit.
85338002 | P137470 | PIE | P137470-2 | S331-173 | 2023-01-03 08:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S331-173 GRAB FOR RECORDED FLOW AT EITHER S331 OR S173 OR FOR MONTHLY.
85318050 | P137426 | PIN | P137426-50 | S356-334 | 2023-01-03 08:57 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI water through all eqipment.
85338022 | P137470 | PIE | P137470-22 | S331-173 | 2023-01-03 09:19 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment.
85318014 | P137426 | PIN | P137426-14 | S355BTW | 2023-01-03 09:27 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | SAMPLED REGARDLESS OF FLOW.
85344002 | P137482 | PIE | P137482-2 | S200 | 2023-01-03 09:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW; Pumps running.
85318016 | P137426 | PIN | P137426-16 | S355ATW | 2023-01-03 09:41 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | SAMPLED REGARDLESS OF FLOW.
85344011 | P137482 | PIE | P137482-11 | S200 | 2023-01-03 09:44 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85318002 | P137426 | PIN | P137426-2 | S333N | 2023-01-03 09:59 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI water to bottles; FB FOR ADT.
85318017 | P137426 | PIN | P137426-17 | S333N | 2023-01-03 10:00 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY; Gates open to 0.9-feet at time of site visit.
85338012 | P137470 | PIE | P137470-12 | S332DX | 2023-01-03 10:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332DX GRAB FOR RECORDED FLOW AT EITHER S332D OR S176 OR FOR MONTHLY.
85318027 | P137426 | PIN | P137426-27 | S333 | 2023-01-03 10:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY; Gate open to 0.9-feet at time of site visit. Several dead fish floating near sample site. Sample collected away from affected area.
85344006 | P137482 | PIE | P137482-6 | AJC1 | 2023-01-03 10:31 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB IF RECORDED FLOW AT S199 COLLECT FULL SET AND RECORD STAGE. IF NO RECORDED FLOW NOB; Visible flow over weir. NAVD88 staff gauge reading 2.6 ft.
85344005 | P137482 | PIE | P137482-5 | S177 | 2023-01-03 10:52 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed; S177 GRAB FOR RECORDED FLOW OR IF S199 PUMPS ON OR S177GATES OPEN OTHERWISE MONTHLY.
85318037 | P137426 | PIN | P137426-37 | S12D | 2023-01-03 10:52 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF FLOWING OTHERWISE NOB; Gates open to 11-feet at time of site visit. Dipper wand used to collect sample.
85318038 | P137426 | PIN | P137426-38 | S12C | 2023-01-03 11:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dead fish floating within all gate flow areas, sample collected away from affected areas; GRAB IF FLOWING OTHERWISE NOB.
85344007 | P137482 | PIE | P137482-7 | S178 | 2023-01-03 11:12 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FAV and SAV around sampling area, avoided during collection. Gates open; GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY.
85318040 | P137426 | PIN | P137426-40 | S12A | 2023-01-03 11:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.017 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed at time of site visit. Monthly grab collected; GRAB IF FLOWING OTHERWISE MONTHLY.
85344008 | P137482 | PIE | P137482-8 | S18C | 2023-01-03 11:48 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; Gates open 0.5 ft.
85473011 | P137757 | EVPA | P137757-11 | LOXA101 | 2023-01-04 08:03 | SAMP | SW | G | 0.43 | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85473010 | P137757 | EVPA | P137757-10 | LOXA140 | 2023-01-04 08:11 | SAMP | SW | G | 0.51 | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85473008 | P137757 | EVPA | P137757-8 | LOXA130 | 2023-01-04 08:21 | SAMP | SW | G | 0.47 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85473007 | P137757 | EVPA | P137757-7 | LOX7 | 2023-01-04 08:29 | SAMP | SW | G | 0.64 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85473006 | P137757 | EVPA | P137757-6 | LOX8 | 2023-01-04 08:37 | SAMP | SW | G | 0.62 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85473005 | P137757 | EVPA | P137757-5 | LOX9 | 2023-01-04 08:47 | SAMP | SW | G | 0.55 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85473004 | P137757 | EVPA | P137757-4 | LOX10 | 2023-01-04 08:55 | SAMP | SW | G | 0.56 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85473003 | P137757 | EVPA | P137757-3 | LOX5 | 2023-01-04 09:03 | SAMP | SW | G | 0.44 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85473002 | P137757 | EVPA | P137757-2 | LOX3 | 2023-01-04 09:14 | SAMP | SW | G | 0.36 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85473009 | P137757 | EVPA | P137757-9 | LOX4 | 2023-01-04 09:26 | SAMP | SW | G | 0.56 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Staff gauge reading 17.60ft.
85473012 | P137757 | EVPA | P137757-12 | FOCQC | 2023-01-04 12:35 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85476011 | P137763 | EVPA | P137763-11 | X4 | 2023-01-05 08:15 | SAMP | SW | G | 0.64 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85476009 | P137763 | EVPA | P137763-9 | LOX12 | 2023-01-05 08:30 | SAMP | SW | G | 1.02 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Staff gauge reading: 17.68 ft. Sample taken from float due to DCS over 1m.
85476008 | P137763 | EVPA | P137763-8 | LOX15 | 2023-01-05 08:41 | SAMP | SW | G | 1.05 | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS over 1m.
85476007 | P137763 | EVPA | P137763-7 | LOX16 | 2023-01-05 08:51 | SAMP | SW | G | 1.07 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS over 1m.
85476006 | P137763 | EVPA | P137763-6 | LOX14 | 2023-01-05 09:02 | SAMP | SW | G | 0.93 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS of 0.93 and soft bottom.
85476005 | P137763 | EVPA | P137763-5 | LOX13 | 2023-01-05 09:10 | SAMP | SW | G | 0.84 | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85476004 | P137763 | EVPA | P137763-4 | LOXA124 | 2023-01-05 09:22 | SAMP | SW | G | 0.75 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85476003 | P137763 | EVPA | P137763-3 | LOX11 | 2023-01-05 09:29 | SAMP | SW | G | 0.78 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85476002 | P137763 | EVPA | P137763-2 | LOX6 | 2023-01-05 09:39 | SAMP | SW | G | 0.69 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85476012 | P137763 | EVPA | P137763-12 | FOCQC | 2023-01-05 12:22 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
85313003 | P137401 | PIN | P137401-3 | S356-334 | 2023-01-09 08:59 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All 4 pumps running; GRAB FOR WRF OR S334 GATES OPEN OR S356 PUMPS ON OR FOR MONTHLY.
85313002 | P137401 | PIN | P137401-2 | S356-334 | 2023-01-09 09:26 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment.
85313013 | P137401 | PIN | P137401-13 | S333N | 2023-01-09 10:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY.
85313023 | P137401 | PIN | P137401-23 | S333 | 2023-01-09 10:37 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dead bird and multiple dead fish of varying species were found directly adjacent of the autosampler. Picture taken; GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY.
85313033 | P137401 | PIN | P137401-33 | S12D | 2023-01-09 11:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used for sample collection. Multiple dead fish of various species found along eastern bank. Picture taken; GRAB IF FLOWING OTHERWISE NOB.
85313034 | P137401 | PIN | P137401-34 | S12C | 2023-01-09 11:25 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates appear open under less than 0.5 feet. Dead fish floating against downstream sides of all gates, most heavily concentrated at the two easternmost gates. Picture taken at easternmost gate; GRAB IF FLOWING OTHERWISE NOB.
85313036 | P137401 | PIN | P137401-36 | S12A | 2023-01-09 11:51 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed, no visible flow observed, collected for monthly. Dead fish floating against upstream side of gates; GRAB IF FLOWING OTHERWISE MONTHLY.
86322002 | P139510 | PIE | P139510-2 | S331-173 | 2023-01-10 08:46 | EB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86322006 | P139510 | PIE | P139510-6 | S331-173 | 2023-01-10 08:57 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps off; S331-173 GRAB FOR RECORDED FLOW AT EITHER S331 OR S173 OR FOR MONTHLY.
86322003 | P139510 | PIE | P139510-3 | S331-173 | 2023-01-10 09:12 | RS | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps off.
86322004 | P139510 | PIE | P139510-4 | S331-173 | 2023-01-10 09:24 | RS | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps off.
86322029 | P139510 | PIE | P139510-29 | S331-173 | 2023-01-10 09:35 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86323002 | P139512 | PIE | P139512-2 | S200 | 2023-01-10 09:38 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW; Pumps on, visible flow.
86322016 | P139510 | PIE | P139510-16 | S332B | 2023-01-10 10:12 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used for sample collection. Pumps on; S332B GRAB FOR RECORDED FLOW OTHERWISE NOB.
86322017 | P139510 | PIE | P139510-17 | S332DX | 2023-01-10 10:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332DX GRAB FOR RECORDED FLOW AT EITHER S332D OR S176 OR FOR MONTHLY
86323005 | P139512 | PIE | P139512-5 | AJC1 | 2023-01-10 11:03 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB IF RECORDED FLOW AT S199 COLLECT FULL SET AND RECORD STAGE; Staff gauge reading 2.5 ft NAVD 88. Water flowing over weir.
86323015 | P139512 | PIE | P139512-15 | AJC1 | 2023-01-10 11:10 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86322027 | P139510 | PIE | P139510-27 | S328 | 2023-01-10 11:23 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S328 BIWEEKLY COLLECTED REGARDLESS OF FLOW. Staff gauge reading upstream 3.9 ft NAVD88, downstream 3.9 ft NAVD 88. Gates open
86323007 | P139512 | PIE | P139512-7 | S177 | 2023-01-10 11:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S177 GRAB FOR RECORDED FLOW OR IF S199 PUMPS ON OR S177 GATES OPEN; Visible flow. Gates closed.
86323009 | P139512 | PIE | P139512-9 | S178 | 2023-01-10 11:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.017 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW; Gates open, no visible flow.
86323011 | P139512 | PIE | P139512-11 | S18C | 2023-01-10 12:12 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; One gate open 0.5ft and other is closed. Oily scum on surface, avoided during grab.
86323014 | P139512 | PIE | P139512-14 | S197 | 2023-01-10 13:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR QUARTERLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; Gates closed, no visible flow.
86250003 | P139366 | PIN | P139366-3 | S356-334 | 2023-01-17 08:42 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WRF OR S334 GATES OPEN OR S356 PUMPS ON OR FOR MONTHLY; Gate closed, 4 pumps running at time of site visit.
86250050 | P139366 | PIN | P139366-50 | S356-334 | 2023-01-17 08:55 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI water through all equipment to bottles.
86303002 | P139478 | PIE | P139478-2 | S331-173 | 2023-01-17 08:58 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | No pumps running. Gate closed; S331-173 GRAB FOR RECORDED FLOW AT EITHER S331 OR S173 OR FOR MONTHLY.
86250014 | P139366 | PIN | P139366-14 | S355BTW | 2023-01-17 09:21 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample; SAMPLED REGARDLESS OF FLOW.
86303022 | P139478 | PIE | P139478-22 | S331-173 | 2023-01-17 09:27 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86316002 | P139503 | PIE | P139503-2 | S200 | 2023-01-17 09:34 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW; pumps runnin.
86250016 | P139366 | PIN | P139366-16 | S355ATW | 2023-01-17 09:34 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample; SAMPLED REGARDLESS OF FLOW.
86250017 | P139366 | PIN | P139366-17 | S333N | 2023-01-17 09:49 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY; Gates open 1.2-feet at time of site visit.
86250002 | P139366 | PIN | P139366-2 | S333N | 2023-01-17 09:58 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI water to bottles; FB FOR ADT.
86303012 | P139478 | PIE | P139478-12 | S332DX | 2023-01-17 10:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | No pumps running; S332DX GRAB FOR RECORDED FLOW AT EITHER S332D OR S176 OR FOR MONTHLY.
86250027 | P139366 | PIN | P139366-27 | S333 | 2023-01-17 10:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY; Gate open 1.2-feet at time of site visit.
86316006 | P139503 | PIE | P139503-6 | AJC1 | 2023-01-17 10:32 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB IF RECORDED FLOW AT S199 COLLECT FULL SET AND RECORD STAGE. IF NO RECORDED FLOW NOB; staff gauge reading of 1.4 ft NAVD88. flow visible over rocks.
86250037 | P139366 | PIN | P139366-37 | S12D | 2023-01-17 10:41 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF FLOWING OTHERWISE NOB; Gates open 11-feet at time of sample. Dipper wand used to collect sample.
86316005 | P139503 | PIE | P139503-5 | S177 | 2023-01-17 10:53 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S177 GRAB FOR RECORDED FLOW OR IF S199 PUMPS ON OR S177GATES OPEN OTHERWISE MONTHLY, ; pumps on
86250038 | P139366 | PIN | P139366-38 | S12C | 2023-01-17 10:55 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF FLOWING OTHERWISE NOB; Gates open 0.5-feet at time of site visit.
86316011 | P139503 | PIE | P139503-11 | S177 | 2023-01-17 11:05 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86250041 | P139366 | PIN | P139366-41 | S12A | 2023-01-17 11:17 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample; GRAB IF NO FLOW AND MONTHLY PREVIOUSLY COLLECTED.
86316007 | P139503 | PIE | P139503-7 | S178 | 2023-01-17 11:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; gates open.
86316008 | P139503 | PIE | P139503-8 | S18C | 2023-01-17 11:55 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; gates closed.
86236002 | P139338 | PIN | P139338-2 | S356-334 | 2023-01-23 09:22 | EB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | EB collected thru all sampling equipment.
86236006 | P139338 | PIN | P139338-6 | S356-334 | 2023-01-23 09:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW S356 PUMPS ON OR S334 GATES OPEN OR FOR MONTHLY; Site clear. Gates closed and pumps running during sample collection.
86236003 | P139338 | PIN | P139338-3 | S356-334 | 2023-01-23 09:37 | RS | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed and pumps running during sample collection.
86236004 | P139338 | PIN | P139338-4 | S356-334 | 2023-01-23 09:47 | RS | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed and pumps running during sample collection.
86236049 | P139338 | PIN | P139338-49 | S356-334 | 2023-01-23 09:56 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment.
86236016 | P139338 | PIN | P139338-16 | S333N | 2023-01-23 10:32 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR GATES OPEN AT S12D, S333, OR S333N OR FOR MONTHLY; Site clear. Gates open to approximately 1.6ft.
86236005 | P139338 | PIN | P139338-5 | S333N | 2023-01-23 10:33 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86236026 | P139338 | PIN | P139338-26 | S333 | 2023-01-23 10:58 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR GATES OPEN AT S12D, S333, OR S333N OR FOR MONTHLY; Site clear. Gates open to approximately 1.6ft.
86236036 | P139338 | PIN | P139338-36 | S12D | 2023-01-23 11:26 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR GATES OPEN AT S12D OTHERWISE NOB; Site clear. Gates open to approximately 11ft. Dipper wand used to collect sample from canal bank.
86236037 | P139338 | PIN | P139338-37 | S12C | 2023-01-23 11:39 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF GATES OPEN OTHERWISE NOB; Site clear. Gates open to approximately 0.5ft.
86236040 | P139338 | PIN | P139338-40 | S12A | 2023-01-23 12:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed and monthly previously collected on 01/09/2023. Site clear; GRAB IF GATES CLOSED AND MONTHLY PREVIOUSLY COLLECTED.
86310003 | P139491 | PIE | P139491-3 | S331-173 | 2023-01-24 09:22 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S331 pumps not running, S173 gate closed; S331-173 GRAB FOR RECORDED FLOW AT EITHER S331 OR S173 OR FOR MONTHLY
86324002 | P139527 | PIE | P139527-2 | S200 | 2023-01-24 09:34 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW; Pumps running.
86324006 | P139527 | PIE | P139527-6 | AJC1 | 2023-01-24 10:13 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB IF RECORDED FLOW AT S199 COLLECT FULL SET AND RECORD STAGE. IF NO RECORDED FLOW NOB; Visible flow over weir. NAVD88 staff gauge reading 1.3 ft.
86310014 | P139491 | PIE | P139491-14 | S332DX | 2023-01-24 10:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running; S332DX GRAB FOR RECORDED FLOW AT EITHER S332D OR S176 OR FOR MONTHLY
86310026 | P139491 | PIE | P139491-26 | S332DX | 2023-01-24 10:27 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86324005 | P139527 | PIE | P139527-5 | S177 | 2023-01-24 10:34 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed; S177 GRAB FOR RECORDED FLOW OR IF S199 PUMPS ON OR S177GATES OPEN OTHERWISE MONTHLY.
86324012 | P139527 | PIE | P139527-12 | S177 | 2023-01-24 10:44 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86310024 | P139491 | PIE | P139491-24 | S328 | 2023-01-24 10:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S328 BIWEEKLY COLLECTED REGARDLESS OF FLOW; Site is an isolated pool due to low water. Gates closed. Upstream staff gauge reads 3.6ft NAVD88, downstream staff gauge reads 3.6ft NAVD88.
86324007 | P139527 | PIE | P139527-7 | S178 | 2023-01-24 10:53 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.018 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; Gates open.
86324008 | P139527 | PIE | P139527-8 | S18C | 2023-01-24 11:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; Gates open.
86235006 | P139336 | PIN | P139336-6 | S356-334 | 2023-01-30 09:28 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR S356 PUMPS RUNNING OR S334 GATES OPEN OR FOR MONTHLY; Site clear. Gates closes, pumps operating during sample collection.
86235053 | P139336 | PIN | P139336-53 | S356-334 | 2023-01-30 09:42 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment.
86235016 | P139336 | PIN | P139336-16 | S355B | 2023-01-30 10:15 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF GATES OPEN OTHERWISE MONTHLY OTHERWISE NOB; Site clear, gates closed.
86235017 | P139336 | PIN | P139336-17 | S355BTW | 2023-01-30 10:25 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB REGARDLESS OF FLOW; Site clear. Dipper wand used to collect sample from canal bank.
86235018 | P139336 | PIN | P139336-18 | S355A | 2023-01-30 10:38 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF GATES OPEN OTHERWISE MONTHLY OTHERWISE NOB; Site clear. Gates closed during sample collection.
86235019 | P139336 | PIN | P139336-19 | S355ATW | 2023-01-30 10:50 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB REGARDLESS OF FLOW; Site clear. Dipper wand used to collect sample from canal bank.
86235020 | P139336 | PIN | P139336-20 | S333N | 2023-01-30 11:09 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR GATES OPEN AT S12D, S333, OR S333N OR FOR MONTHLY; Site clear. Gates open to approximately 2ft.
86235005 | P139336 | PIN | P139336-5 | S333N | 2023-01-30 11:10 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FB FOR ADT.
86235030 | P139336 | PIN | P139336-30 | S333 | 2023-01-30 11:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR GATES OPEN AT S12D, S333, OR S333N OR FOR MONTHLY; Site clear. Gates open to approximately 2ft.
86235040 | P139336 | PIN | P139336-40 | S12D | 2023-01-30 11:55 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR GATES OPEN AT S12D OTHERWISE NOB; Gates open to approximately 11ft.
86235044 | P139336 | PIN | P139336-44 | S12A | 2023-01-30 12:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF GATES CLOSED AND MONTHLY PREVIOUSLY COLLECTED; Site clear. All gates closed. Monthly grab previously collected on 01/09/2023.
86304002 | P139479 | PIE | P139479-2 | S331-173 | 2023-01-31 10:10 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps off; S331-173 GRAB FOR RECORDED FLOW AT EITHER S331 OR S173 OR FOR MONTHLY.
86304022 | P139479 | PIE | P139479-22 | S331-173 | 2023-01-31 10:32 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86304012 | P139479 | PIE | P139479-12 | S332DX | 2023-01-31 11:33 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps on; S332DX GRAB FOR RECORDED FLOW AT EITHER S332D OR S176 OR FOR MONTHLY.
86826011 | P140798 | EVPA | P140798-11 | LOXA101 | 2023-02-01 08:07 | SAMP | SW | G | 0.35 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86826010 | P140798 | EVPA | P140798-10 | LOXA140 | 2023-02-01 08:15 | SAMP | SW | G | 0.41 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86826008 | P140798 | EVPA | P140798-8 | LOXA130 | 2023-02-01 08:25 | SAMP | SW | G | 0.46 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86826007 | P140798 | EVPA | P140798-7 | LOX7 | 2023-02-01 08:31 | SAMP | SW | G | 0.54 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86826006 | P140798 | EVPA | P140798-6 | LOX8 | 2023-02-01 08:41 | SAMP | SW | G | 0.53 | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86826005 | P140798 | EVPA | P140798-5 | LOX9 | 2023-02-01 08:52 | SAMP | SW | G | 0.43 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86826004 | P140798 | EVPA | P140798-4 | LOX10 | 2023-02-01 09:00 | SAMP | SW | G | 0.43 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86826003 | P140798 | EVPA | P140798-3 | LOX5 | 2023-02-01 09:10 | SAMP | SW | G | 0.35 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dead serpent species located at site. Sample taken at least 15 meters away.
86826002 | P140798 | EVPA | P140798-2 | LOX3 | 2023-02-01 09:20 | SAMP | SW | G | 0.3 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Partial taken due to TD between 0.10 and 0.20m.
86826009 | P140798 | EVPA | P140798-9 | LOX4 | 2023-02-01 09:32 | SAMP | SW | G | 0.46 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Staff Gauge Reading: 17.30 ft.
86826012 | P140798 | EVPA | P140798-12 | FOCQC | 2023-02-01 11:42 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86829011 | P140804 | EVPA | P140804-11 | X4 | 2023-02-02 08:09 | SAMP | SW | G | 0.52 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86829010 | P140804 | EVPA | P140804-10 | X1 | 2023-02-02 08:18 | SAMP | SW | G | 0.96 | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86829009 | P140804 | EVPA | P140804-9 | LOX12 | 2023-02-02 08:28 | SAMP | SW | G | 1.14 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Staff gauge reading: 17.38 ft. Sample taken from float due to DCS over 1m.
86829008 | P140804 | EVPA | P140804-8 | LOX15 | 2023-02-02 08:36 | SAMP | SW | G | 1.19 | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS over 1m.
86829007 | P140804 | EVPA | P140804-7 | LOX16 | 2023-02-02 08:43 | SAMP | SW | G | 1.16 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS over 1m.
86829006 | P140804 | EVPA | P140804-6 | LOX14 | 2023-02-02 08:51 | SAMP | SW | G | 1.03 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86829005 | P140804 | EVPA | P140804-5 | LOX13 | 2023-02-02 09:03 | SAMP | SW | G | 0.72 | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86829004 | P140804 | EVPA | P140804-4 | LOXA124 | 2023-02-02 09:12 | SAMP | SW | G | 0.65 | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86829003 | P140804 | EVPA | P140804-3 | LOX11 | 2023-02-02 09:20 | SAMP | SW | G | 0.9 | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86829002 | P140804 | EVPA | P140804-2 | LOX6 | 2023-02-02 09:31 | SAMP | SW | G | 0.65 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86829012 | P140804 | EVPA | P140804-12 | FOCQC | 2023-02-02 11:55 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86251003 | P139372 | PIN | P139372-3 | S356-334 | 2023-02-06 09:02 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | 1 pump running; GRAB FOR WRF OR S334 GATES OPEN OR S356 PUMPS ON OR FOR MONTHLY.
86251002 | P139372 | PIN | P139372-2 | S356-334 | 2023-02-06 09:17 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment.
86251013 | P139372 | PIN | P139372-13 | S333N | 2023-02-06 09:45 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY, ; Gates open to approximately 2.5 feet.
86251023 | P139372 | PIN | P139372-23 | S333 | 2023-02-06 10:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY, ; Gates open to approximately 2.3 feet.
86251033 | P139372 | PIN | P139372-33 | S12D | 2023-02-06 10:31 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF FLOWING OTHERWISE NOB; Gates open to approximately 11 feet. Dipper wand used for sample collection.
86251037 | P139372 | PIN | P139372-37 | S12A | 2023-02-06 11:03 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.013 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF NO FLOW AND MONTHLY PREVIOUSLY COLLECTED; Gates closed, no visible flow. Dipper wand used for sample collection.
86311003 | P139492 | PIE | P139492-3 | S331-173 | 2023-02-07 09:09 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps off; S331-173 GRAB FOR RECORDED FLOW AT EITHER S331 OR S173 OR FOR MONTHLY.
86325002 | P139528 | PIE | P139528-2 | S200 | 2023-02-07 09:21 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW; Pumps running during sample collection, visible flow observed. Dead vegetation clippings present on surface of water, avoided while taking grab. Observed same conductivity reading at sites S200, AJC1, and S177. FPM, STS, and QA notified.
86325006 | P139528 | PIE | P139528-6 | AJC1 | 2023-02-07 10:00 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB IF RECORDED FLOW AT S199 COLLECT FULL SET AND RECORD STAGE. IF NO RECORDED FLOW NOB; Visible flow over weir. NAVD88 staff gauge reading 2.8ft. Observed same conductivity reading at sites S200, AJC1, and S177. FPM, STS, and QA notified.
86311013 | P139492 | PIE | P139492-13 | S332B | 2023-02-07 10:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps on; S332B GRAB FOR RECORDED FLOW OTHERWISE NOB.
86325012 | P139528 | PIE | P139528-12 | AJC1 | 2023-02-07 10:09 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment using DI#7640.
86311014 | P139492 | PIE | P139492-14 | S332DX | 2023-02-07 10:33 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps off; S332DX GRAB FOR RECORDED FLOW AT EITHER S332D OR S176 OR FOR MONTHLY.
86311026 | P139492 | PIE | P139492-26 | S332DX | 2023-02-07 10:53 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86311024 | P139492 | PIE | P139492-24 | S328 | 2023-02-07 11:10 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.017 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S328 BIWEEKLY COLLECTED REGARDLESS OF FLOW
86325005 | P139528 | PIE | P139528-5 | S177 | 2023-02-07 11:28 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are open 1ft. Visible flow. Observed same conductivity reading at sites S200, AJC1, and S177. FPM, STS, and QA notified; S177 GRAB FOR RECORDED FLOW OR IF S199 PUMPS ON OR S177GATES OPEN OTHERWISE MONTHLY.
86325007 | P139528 | PIE | P139528-7 | S178 | 2023-02-07 12:01 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; Gates are open.
86325008 | P139528 | PIE | P139528-8 | S18C | 2023-02-07 12:29 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; Gates are open.
86246003 | P139362 | PIN | P139362-3 | S356-334 | 2023-02-13 09:38 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WRF OR S334 GATES OPEN OR S356 PUMPS ON OR FOR MONTHLY; Gates closed, 2 pumps running.
86246050 | P139362 | PIN | P139362-50 | S356-334 | 2023-02-13 09:54 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment.
86246014 | P139362 | PIN | P139362-14 | S355BTW | 2023-02-13 10:23 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Landscape crew working during collection. Cut grass clippings and dirt floating on surface, avoided during sample collection; SAMPLED REGARDLESS OF FLOW.
86246016 | P139362 | PIN | P139362-16 | S355ATW | 2023-02-13 10:39 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used for sample collection; SAMPLED REGARDLESS OF FLOW.
86246002 | P139362 | PIN | P139362-2 | S333N | 2023-02-13 11:02 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI7695 to sample bottles; FB FOR ADT.
86246017 | P139362 | PIN | P139362-17 | S333N | 2023-02-13 11:03 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY.
86246027 | P139362 | PIN | P139362-27 | S333 | 2023-02-13 11:27 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY; Gates open to approximately 2.5 feet, visible flow observed.
86246037 | P139362 | PIN | P139362-37 | S12D | 2023-02-13 11:55 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used for sample collection; GRAB IF FLOWING OTHERWISE NOB.
86246041 | P139362 | PIN | P139362-41 | S12A | 2023-02-13 12:26 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF NO FLOW AND MONTHLY PREVIOUSLY COLLECTED.
86305002 | P139480 | PIE | P139480-2 | S331-173 | 2023-02-14 09:06 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S331-173 GRAB FOR RECORDED FLOW AT EITHER S331 OR S173 OR FOR MONTHLY.
86318002 | P139505 | PIE | P139505-2 | S200 | 2023-02-14 09:22 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Chunks of vegetative or algal debris present throughout water column, none captured in sample grab. Pumps running; GRAB FOR WEEKLY RECORDED FLOW.
86305022 | P139480 | PIE | P139480-22 | S331-173 | 2023-02-14 09:30 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment.
86318006 | P139505 | PIE | P139505-6 | AJC1 | 2023-02-14 09:57 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB IF RECORDED FLOW AT S199 COLLECT FULL SET AND RECORD STAGE. IF NO RECORDED FLOW NOB; Water is extremely turbid - milky white. Visible flow. Staff gauge reads 2.0ft NAVD88.
86305012 | P139480 | PIE | P139480-12 | S332DX | 2023-02-14 10:13 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332DX GRAB FOR RECORDED FLOW AT EITHER S332D OR S176 OR FOR MONTHLY.
86318005 | P139505 | PIE | P139505-5 | S177 | 2023-02-14 10:15 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S177 GRAB FOR RECORDED FLOW OR IF S199 PUMPS ON OR S177GATES OPEN OTHERWISE MONTHLY, ; Water is extremely turbid - milky white. Turbidity barrier is in place before S199 pump, but does not appear effective. Sample taken upstream of turbidity barrier. S199 pumps running, S177 gate closed.
86318011 | P139505 | PIE | P139505-11 | S177 | 2023-02-14 10:29 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86318007 | P139505 | PIE | P139505-7 | S178 | 2023-02-14 10:38 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; Gates open, no visible flow.
86318008 | P139505 | PIE | P139505-8 | S18C | 2023-02-14 10:58 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; Gates open 1.3ft, visible flow.
86252003 | P139373 | PIN | P139373-3 | S356-334 | 2023-02-20 08:58 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WRF OR S334 GATES OPEN OR S356 PUMPS ON OR FOR MONTHLY, ; Pumps running during sample collection, visible flow observed.
86252002 | P139373 | PIN | P139373-2 | S356-334 | 2023-02-20 09:21 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment.
86252013 | P139373 | PIN | P139373-13 | S333N | 2023-02-20 10:07 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY, ; Gates open, visible flow observed.
86252023 | P139373 | PIN | P139373-23 | S333 | 2023-02-20 10:37 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY, ; Gates open, visible flow observed. Suspended solids visible throughout water column.
86252033 | P139373 | PIN | P139373-33 | S12D | 2023-02-20 11:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed. Sample collected from canal bank using a dipper wand. Detritus present in sampling area; SAMPLE REGARDLESS OF FLOW.
86252037 | P139373 | PIN | P139373-37 | S12A | 2023-02-20 11:56 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.013 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed. Sample collected from canal bank using a dipper wand. Detritus present in sampling area; GRAB IF NO FLOW AND MONTHLY PREVIOUSLY COLLECTED.
86326002 | P139529 | PIE | P139529-2 | S200 | 2023-02-21 09:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW; Pumps running during sample collection, visible flow observed.
86312003 | P139493 | PIE | P139493-3 | S331-173 | 2023-02-21 09:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S331-173 GRAB FOR RECORDED FLOW AT EITHER S331 OR S173 OR FOR MONTHLY; pumps on
86326006 | P139529 | PIE | P139529-6 | AJC1 | 2023-02-21 10:01 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB IF RECORDED FLOW AT S199 COLLECT FULL SET AND RECORD STAGE. IF NO RECORDED FLOW NOB; Visible flow over weir,
86312013 | P139493 | PIE | P139493-13 | S332B | 2023-02-21 10:42 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332B GRAB FOR RECORDED FLOW OTHERWISE NOB; pumps runnning
86326005 | P139529 | PIE | P139529-5 | S177 | 2023-02-21 10:53 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S177 GRAB FOR RECORDED FLOW OR IF S199 PUMPS ON OR S177GATES OPEN OTHERWISE MONTHLY,
86312014 | P139493 | PIE | P139493-14 | S332DX | 2023-02-21 10:59 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332DX GRAB FOR RECORDED FLOW AT EITHER S332D OR S176 OR FOR MONTHLY; pumps on.
86326012 | P139529 | PIE | P139529-12 | S177 | 2023-02-21 11:01 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment.
86326007 | P139529 | PIE | P139529-7 | S178 | 2023-02-21 11:21 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.021 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; Gates open to 7.5 feet.
86312026 | P139493 | PIE | P139493-26 | S332DX | 2023-02-21 11:24 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86312024 | P139493 | PIE | P139493-24 | S328 | 2023-02-21 11:42 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S328 BIWEEKLY COLLECTED REGARDLESS OF FLOW; gates closed. HW: 4.0 FT NAVD88, TW: 4.2 ft NAVD88
86326008 | P139529 | PIE | P139529-8 | S18C | 2023-02-21 11:55 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; Gates open, visible flow observed.
86247003 | P139363 | PIN | P139363-3 | S356-334 | 2023-02-27 08:53 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WRF OR S334 GATES OPEN OR S356 PUMPS ON OR FOR MONTHLY; Pumps running during sample collection, visible flow observed.
86247050 | P139363 | PIN | P139363-50 | S356-334 | 2023-02-27 09:09 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment.
86247013 | P139363 | PIN | P139363-13 | S355B | 2023-02-27 09:51 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF FLOWING OTHERWISE MONTHLY OTHERWISE NOB; Gates closed, no visible flow observed. Sample collected for monthly.
86247014 | P139363 | PIN | P139363-14 | S355BTW | 2023-02-27 09:56 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | SAMPLED REGARDLESS OF FLOW; Sample collected from canal bank using a dipper wand.
86247015 | P139363 | PIN | P139363-15 | S355A | 2023-02-27 10:14 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF FLOWING OTHERWISE MONTHLY OTHERWISE NOB; Gates closed, no visible flow observed. Sample collected for monthly.
86247016 | P139363 | PIN | P139363-16 | S355ATW | 2023-02-27 10:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | SAMPLED REGARDLESS OF FLOW; Sample collected from canal bank using a dipper wand.
86247017 | P139363 | PIN | P139363-17 | S333N | 2023-02-27 10:54 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY; Gates open, visible flow observed.
86247002 | P139363 | PIN | P139363-2 | S333N | 2023-02-27 11:09 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FB FOR ADT; FB collected using DI 7698.
86247027 | P139363 | PIN | P139363-27 | S333 | 2023-02-27 11:21 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY; Gates open, visible flow observed.
86247037 | P139363 | PIN | P139363-37 | S12D | 2023-02-27 11:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF FLOWING OTHERWISE NOB; Gates open, visible flow observed. Sample collected from canal bank using a dipper wand.
86247040 | P139363 | PIN | P139363-40 | S12A | 2023-02-27 12:19 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.017 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF FLOWING OTHERWISE MONTHLY ; Gates closed, no visible flow observed. Sample collected for monthly.
86319002 | P139506 | PIE | P139506-2 | S200 | 2023-02-28 09:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW; Pumps running during sample collection, visible flow observed.
86306002 | P139481 | PIE | P139481-2 | S331-173 | 2023-02-28 09:23 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running, visible flow; S331-173 GRAB FOR RECORDED FLOW AT EITHER S331 OR S173 OR FOR MONTHLY.
86306022 | P139481 | PIE | P139481-22 | S331-173 | 2023-02-28 09:35 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment using DI#7727.
86319006 | P139506 | PIE | P139506-6 | AJC1 | 2023-02-28 10:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB IF RECORDED FLOW AT S199 COLLECT FULL SET AND RECORD STAGE. IF NO RECORDED FLOW NOB; Visible flow observed. Staff gauge reading 2ft NAVD 88.
86306012 | P139481 | PIE | P139481-12 | S332DX | 2023-02-28 10:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running, visible flow; S332DX GRAB FOR RECORDED FLOW AT EITHER S332D OR S176 OR FOR MONTHLY.
86319005 | P139506 | PIE | P139506-5 | S177 | 2023-02-28 10:34 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Oily scrum present on surface and avoided during grab. Gates closed; S177 GRAB FOR RECORDED FLOW OR IF S199 PUMPS ON OR S177GATES OPEN OTHERWISE MONTHLY.
86319011 | P139506 | PIE | P139506-11 | S177 | 2023-02-28 10:52 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86319007 | P139506 | PIE | P139506-7 | S178 | 2023-02-28 11:11 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.026 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; Scum present during grab and unable to avoid. FAV present and able to avoid. Gates open no visible flow.
86319008 | P139506 | PIE | P139506-8 | S18C | 2023-02-28 11:41 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; Gates open, visible flow observed. FAV present and avoided during grab.
86052014 | P138928 | EVPA | P138928-14 | LOXA101 | 2023-03-01 08:12 | SAMP | SW | G | 0.17 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Site needs clearing.
86052011 | P138928 | EVPA | P138928-11 | LOXA130 | 2023-03-01 08:42 | SAMP | SW | G | 0.28 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86052010 | P138928 | EVPA | P138928-10 | LOX7 | 2023-03-01 08:52 | SAMP | SW | G | 0.42 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86052009 | P138928 | EVPA | P138928-9 | LOX8 | 2023-03-01 09:04 | SAMP | SW | G | 0.42 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86052008 | P138928 | EVPA | P138928-8 | LOX9 | 2023-03-01 09:18 | SAMP | SW | G | 0.35 | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86052007 | P138928 | EVPA | P138928-7 | LOX10 | 2023-03-01 09:32 | SAMP | SW | G | 0.32 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Partial due to TD between 0.10 and 0.20 m. Sample taken with 60 mL into 1L bottle in lieu of 250 mL bottle.
86052006 | P138928 | EVPA | P138928-6 | LOX5 | 2023-03-01 09:53 | SAMP | SW | G | 0.46 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Partial due to TD between 0.10 and 0.20 m. Sample taken with 60 mL into 1L bottle in lieu of 250 mL bottle.
86052005 | P138928 | EVPA | P138928-5 | LOX3 | 2023-03-01 10:10 | SAMP | SW | G | 0.4 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Partial due to TD between 0.10 and 0.20 m. Sample taken with 60 mL into 1L bottle in lieu of 250 mL bottle.
86052002 | P138928 | EVPA | P138928-2 | FOCQC | 2023-03-01 11:45 | EB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86052015 | P138928 | EVPA | P138928-15 | FOCQC | 2023-03-01 13:02 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86055014 | P138933 | EVPA | P138933-14 | X4 | 2023-03-02 08:18 | SAMP | SW | G | 0.45 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86055013 | P138933 | EVPA | P138933-13 | X1 | 2023-03-02 08:32 | SAMP | SW | G | 0.57 | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86055012 | P138933 | EVPA | P138933-12 | LOX12 | 2023-03-02 08:44 | SAMP | SW | G | 1.05 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Staff gauge reading: 16.8ft. Sample taken from float due to DCS over 1m.
86055003 | P138933 | EVPA | P138933-3 | LOX12 | 2023-03-02 08:46 | RS | SW | G | 1.05 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS over 1m.
86055004 | P138933 | EVPA | P138933-4 | LOX12 | 2023-03-02 08:47 | RS | SW | G | 1.05 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS over 1m.
86055011 | P138933 | EVPA | P138933-11 | LOX15 | 2023-03-02 08:59 | SAMP | SW | G | 1.03 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS 1m.
86055015 | P138933 | EVPA | P138933-15 | FOCQC | 2023-03-02 12:52 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
87196010 | P141625 | EVPA | P141625-10 | LOX16 | 2023-03-06 08:02 | SAMP | SW | G | 0.77 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
87196009 | P141625 | EVPA | P141625-9 | LOX14 | 2023-03-06 08:13 | SAMP | SW | G | 0.75 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
87196008 | P141625 | EVPA | P141625-8 | LOX13 | 2023-03-06 08:21 | SAMP | SW | G | 0.56 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
87196007 | P141625 | EVPA | P141625-7 | LOXA124 | 2023-03-06 08:32 | SAMP | SW | G | 0.52 | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
87196006 | P141625 | EVPA | P141625-6 | LOX11 | 2023-03-06 08:41 | SAMP | SW | G | 0.58 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86253003 | P139374 | PIN | P139374-3 | S356-334 | 2023-03-06 08:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WRF OR S334 GATES OPEN OR S356 PUMPS ON OR FOR MONTHLY, ; Pumps running during sample collection, visible flow observed.
87196005 | P141625 | EVPA | P141625-5 | LOX6 | 2023-03-06 08:51 | SAMP | SW | G | 0.53 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86253002 | P139374 | PIN | P139374-2 | S356-334 | 2023-03-06 08:59 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment.
86253013 | P139374 | PIN | P139374-13 | S333N | 2023-03-06 09:27 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY, ; Gates open to 2.5ft, visible flow observed.
86253023 | P139374 | PIN | P139374-23 | S333 | 2023-03-06 09:48 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.013 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY, ; Gates open to 2.5ft, visible flow observed.
86253033 | P139374 | PIN | P139374-33 | S12D | 2023-03-06 10:14 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates open, 5 gates open to 0.5ft and 1 gate open 1.5ft. Sample collected from canal bank using a dipper wand. Detritus present on surface of water in sampling area; SAMPLE REGARDLESS OF FLOW.
86253034 | P139374 | PIN | P139374-34 | S12C | 2023-03-06 10:25 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF FLOWING OR FOR MONTHLY; Gates open to 0.5ft, minimal flow observed coming from the east, moving west down the canal. Detritus present on surface of water in sampling area. Photos taken per FPM request.
86253037 | P139374 | PIN | P139374-37 | S12A | 2023-03-06 10:49 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.021 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed. Sample collected from canal bank using a dipper wand. Detritus present on surface of water in sampling area; GRAB IF NO FLOW AND MONTHLY PREVIOUSLY COLLECTED.
87196015 | P141625 | EVPA | P141625-15 | FOCQC | 2023-03-06 11:50 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86313003 | P139494 | PIE | P139494-3 | S331-173 | 2023-03-07 08:29 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps off, no visible flow; S331-173 GRAB FOR RECORDED FLOW AT EITHER S331 OR S173 OR FOR MONTHLY.
86313026 | P139494 | PIE | P139494-26 | S331-173 | 2023-03-07 08:39 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment using DI#7730.
86313013 | P139494 | PIE | P139494-13 | S332B | 2023-03-07 09:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps off, no visible flow; S332B GRAB FOR RECORDED FLOW OTHERWISE NOB.
86327002 | P139530 | PIE | P139530-2 | S200 | 2023-03-07 09:21 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW; Pumps not running.
86313014 | P139494 | PIE | P139494-14 | S332DX | 2023-03-07 09:43 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running, visible flow; S332DX GRAB FOR RECORDED FLOW AT EITHER S332D OR S176 OR FOR MONTHLY
86327006 | P139530 | PIE | P139530-6 | AJC1 | 2023-03-07 10:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB IF RECORDED FLOW AT S199 COLLECT FULL SET AND RECORD STAGE. IF NO RECORDED FLOW NOB; Visible flow. Staff gauge reads 1.9ft NAVD88.
86327005 | P139530 | PIE | P139530-5 | S177 | 2023-03-07 10:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S177 GRAB FOR RECORDED FLOW OR IF S199 PUMPS ON OR S177GATES OPEN OTHERWISE MONTHLY, ; S199 pumps running, S177 gate closed.
86313024 | P139494 | PIE | P139494-24 | S328 | 2023-03-07 10:52 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Headwater 3.8 ft NAVD88, Tailwater 3.9 ft NAVD88; S328 BIWEEKLY COLLECTED REGARDLESS OF FLOW.
86327012 | P139530 | PIE | P139530-12 | S177 | 2023-03-07 10:56 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86327007 | P139530 | PIE | P139530-7 | S178 | 2023-03-07 11:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; Gates open, no visible flow.
86327008 | P139530 | PIE | P139530-8 | S18C | 2023-03-07 11:41 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; Gates open, visible flow.
86248003 | P139364 | PIN | P139364-3 | S356-334 | 2023-03-13 09:14 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WRF OR S334 GATES OPEN OR S356 PUMPS ON OR FOR MONTHLY; Gate closed and one pump operating during time of sampling.
86248050 | P139364 | PIN | P139364-50 | S356-334 | 2023-03-13 09:27 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment.
86248014 | P139364 | PIN | P139364-14 | S355BTW | 2023-03-13 10:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample; SAMPLED REGARDLESS OF FLOW.
86248016 | P139364 | PIN | P139364-16 | S355ATW | 2023-03-13 10:24 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.017 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used to collect sample; SAMPLED REGARDLESS OF FLOW.
86248002 | P139364 | PIN | P139364-2 | S333N | 2023-03-13 10:46 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FB FOR ADT.
86248017 | P139364 | PIN | P139364-17 | S333N | 2023-03-13 10:48 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Both gates open to 2.4 feet during time of sampling; GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY.
86248027 | P139364 | PIN | P139364-27 | S333 | 2023-03-13 11:12 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY; Gate open to 2.4 feet during time of sampling.
86248037 | P139364 | PIN | P139364-37 | S12D | 2023-03-13 11:41 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF FLOWING OTHERWISE NOB; Gates open to various heights during time of sampling.
86248038 | P139364 | PIN | P139364-38 | S12C | 2023-03-13 11:54 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF FLOWING OTHERWISE NOB; Gates open during time of sampling.
86248041 | P139364 | PIN | P139364-41 | S12A | 2023-03-13 12:28 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.023 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed during time of sampling. Dipper wand used to collect sample; GRAB IF NO FLOW AND MONTHLY PREVIOUSLY COLLECTED.
86307002 | P139482 | PIE | P139482-2 | S331-173 | 2023-03-14 08:49 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S331-173 GRAB FOR RECORDED FLOW AT EITHER S331 OR S173 OR FOR MONTHLY.
86307022 | P139482 | PIE | P139482-22 | S331-173 | 2023-03-14 09:13 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment.
86320006 | P139507 | PIE | P139507-6 | AJC1 | 2023-03-14 09:48 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB IF RECORDED FLOW AT S199 COLLECT FULL SET AND RECORD STAGE. IF NO RECORDED FLOW NOB; flow observed, stage gauge NAVD 88 reading 1.2 ft.
86307012 | P139482 | PIE | P139482-12 | S332DX | 2023-03-14 10:03 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running during sample collection, visible flow observed; S332DX GRAB FOR RECORDED FLOW AT EITHER S332D OR S176 OR FOR MONTHLY.
86320005 | P139507 | PIE | P139507-5 | S177 | 2023-03-14 10:11 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S177 GRAB FOR RECORDED FLOW OR IF S199 PUMPS ON OR S177GATES OPEN OTHERWISE MONTHLY,
86320011 | P139507 | PIE | P139507-11 | S177 | 2023-03-14 10:17 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment DI 7747
86320008 | P139507 | PIE | P139507-8 | S18C | 2023-03-14 10:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; gates are closed.
86320007 | P139507 | PIE | P139507-7 | S178 | 2023-03-14 11:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY.
86254003 | P139375 | PIN | P139375-3 | S356-334 | 2023-03-20 09:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WRF OR S334 GATES OPEN OR S356 PUMPS ON OR FOR MONTHLY, ; Gates closed and pumps on during sample collection. Site clear.
86254002 | P139375 | PIN | P139375-2 | S356-334 | 2023-03-20 09:35 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment.
86254013 | P139375 | PIN | P139375-13 | S333N | 2023-03-20 10:13 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY, ; Gates open to approximately 6.3ft. Site clear.
86254023 | P139375 | PIN | P139375-23 | S333 | 2023-03-20 10:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY, ; Gates closed during sample collection. Floating mats of vegetation present by sampling platform. Site photo attached.
86254033 | P139375 | PIN | P139375-33 | S12D | 2023-03-20 11:07 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Four gates out of the six open to approximately 11ft. One gate open to approximately 1.3ft and another to approximately 12.4ft. Visible flow into ENP observed. Site clear; SAMPLE REGARDLESS OF FLOW.
86254034 | P139375 | PIN | P139375-34 | S12C | 2023-03-20 11:23 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates open to approximately 11.6ft. Two of the gates are open to 11.5ft, one open to 11.4ft and one open to 11.7ft. Site clear; GRAB IF FLOWING OR FOR MONTHLY.
86254037 | P139375 | PIN | P139375-37 | S12B | 2023-03-20 11:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed during sample collection. Site clear. Collected for TSS in 250mL sample bottles due to having no more 1L sample bottles. FPM and STS notified; GRAB IF NO FLOW AND MONTHLY PREVIOUSLY COLLECTED.
86254039 | P139375 | PIN | P139375-39 | S12A | 2023-03-20 12:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.025 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed. Site clear. Collected for TSS in 250mL sample bottles due to having no more 1L sample bottles. FPM and STS notified; GRAB FOR NO FLOW AND MONTHLY PREVIOUSLY COLLECTED.
86314003 | P139495 | PIE | P139495-3 | S331-173 | 2023-03-21 09:21 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps off; S331-173 GRAB FOR RECORDED FLOW AT EITHER S331 OR S173 OR FOR MONTHLY.
86328002 | P139531 | PIE | P139531-2 | S200 | 2023-03-21 09:39 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW; Pumps not running.
86328012 | P139531 | PIE | P139531-12 | S200 | 2023-03-21 09:52 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86314014 | P139495 | PIE | P139495-14 | S332DX | 2023-03-21 10:10 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running; S332DX GRAB FOR RECORDED FLOW AT EITHER S332D OR S176 OR FOR MONTHLY
86314026 | P139495 | PIE | P139495-26 | S332DX | 2023-03-21 10:21 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86328006 | P139531 | PIE | P139531-6 | AJC1 | 2023-03-21 10:45 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | AJC1 GRAB IF RECORDED FLOW AT S199 COLLECT FULL SET AND RECORD STAGE. IF NO RECORDED FLOW NOB; No visible flow over weir. Staff gauge reads 0.7ft NAVD88.
86314024 | P139495 | PIE | P139495-24 | S328 | 2023-03-21 10:53 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.031 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. HW staff gauge reading of 2.8 ft. TW staff gauge reading 2.8 ft. Reading at 10:55; S328 BIWEEKLY COLLECTED REGARDLESS OF FLOW.
86328005 | P139531 | PIE | P139531-5 | S177 | 2023-03-21 11:14 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S177 GRAB FOR RECORDED FLOW OR IF S199 PUMPS ON OR S177GATES OPEN OTHERWISE MONTHLY, ; Turbidity barrier in place before S199, sample taken outside turbidity barrier. S199 pumps off, S177 gate closed.
86328007 | P139531 | PIE | P139531-7 | S178 | 2023-03-21 11:38 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; Gates open, no visible flow.
86328009 | P139531 | PIE | P139531-9 | S18C | 2023-03-21 12:24 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR NO RECORDED FLOW AND MONTHLY PREVIOUSLY COLLECTED; Gates closed. Sample collected via dipper wand.
87369003 | P142269 | PIN | P142269-3 | S356-334 | 2023-03-27 09:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WRF OR S334 GATES OPEN OR S356 PUMPS ON OR FOR MONTHLY; Gate closed, no pumps running.
87369052 | P142269 | PIN | P142269-52 | S356-334 | 2023-03-27 09:58 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment.
87369013 | P142269 | PIN | P142269-13 | S355B | 2023-03-27 10:36 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF FLOWING OTHERWISE MONTHLY OTHERWISE NOB.
87369014 | P142269 | PIN | P142269-14 | S355BTW | 2023-03-27 10:48 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used for sample collection; SAMPLED REGARDLESS OF FLOW.
87369015 | P142269 | PIN | P142269-15 | S355A | 2023-03-27 11:15 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF FLOWING OTHERWISE MONTHLY OTHERWISE NOB; Gate closed.
87369016 | P142269 | PIN | P142269-16 | S355ATW | 2023-03-27 11:21 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Dipper wand used for sample collection; SAMPLED REGARDLESS OF FLOW.
87369002 | P142269 | PIN | P142269-2 | S333N | 2023-03-27 11:48 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI7704 to sample bottles; FB FOR ADT.
87369017 | P142269 | PIN | P142269-17 | S333N | 2023-03-27 11:50 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.019 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY; Gates open to approximately 8 feet.
87369027 | P142269 | PIN | P142269-27 | S333 | 2023-03-27 12:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.017 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF RECORDED FLOW OR IF GATES OPEN AT S12D, S333,OR S333N OTHERWISE MONTHLY.
87369037 | P142269 | PIN | P142269-37 | S12D | 2023-03-27 12:42 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates open to approximately 11 feet, other than the 2nd easternmost gate which is at 1.4 feet; GRAB REGARDLESS OF FLOW.
87369038 | P142269 | PIN | P142269-38 | S12C | 2023-03-27 12:57 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.021 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF FLOWING OTHERWISE NOB; Gates open to approximately 11 feet.
87369040 | P142269 | PIN | P142269-40 | S12B | 2023-03-27 13:17 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.024 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed. Collected for monthly; GRAB IF FLOWING OTHERWISE MONTHLY.
87369042 | P142269 | PIN | P142269-42 | S12A | 2023-03-27 13:42 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.03 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | GRAB IF FLOW OR FOR MONTHLY; Gates closed. Collected for monthly.
86308002 | P139483 | PIE | P139483-2 | S331-173 | 2023-03-28 08:33 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps not running. No visible flow; S331-173 GRAB FOR RECORDED FLOW AT EITHER S331 OR S173 OR FOR MONTHLY.
86308012 | P139483 | PIE | P139483-12 | S332DX | 2023-03-28 09:31 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running; S332DX GRAB FOR RECORDED FLOW AT EITHER S332D OR S176 OR FOR MONTHLY.
86308022 | P139483 | PIE | P139483-22 | S332DX | 2023-03-28 09:47 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment using DI#7730.
86321002 | P139508 | PIE | P139508-2 | S200 | 2023-03-28 10:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW; Pumps not running.
86321007 | P139508 | PIE | P139508-7 | S178 | 2023-03-28 11:26 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.018 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR WEEKLY RECORDED FLOW OR IF GATES OPEN OTHERWISE MONTHLY; Gates open, no visible flow. Large amounts of trash present in water, avoided during sampling.
86321011 | P139508 | PIE | P139508-11 | S178 | 2023-03-28 11:37 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
86321009 | P139508 | PIE | P139508-9 | S18C | 2023-03-28 12:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GRAB FOR NO RECORDED FLOW AND MONTHLY PREVIOUSLY COLLECTED; Sample collected via dipper wand.

## Attributes & Codes
Water Quality Data Attributes
LIMS Number | Laboratory Information Management System (LIMS) sample identifier.
Work Identifier | Sampling event identifier.
Project | The abbreviation of the project name (see below for definitions).
Sample Identifier | The code used to identify the specific sample from which the data was derived.
Station | Name of the monitoring station where a water quality sample was collected.
Date Collected | Date and time that a water quality sample was collected at the monitoring location.
Sample Type | Indicates whether the sample is a regular sample or a quality assurance/quality control sample. If the latter, it indicates what kind.
Matrix | The environment or material from which a sample was collected (i.e, surface water, sediments, rainfall, etc.).
Collection Method | Describes how a sample was collected.
DCS | Depth to consolidated substrate (units are in meters).
Test Name | Gives the full test name of the parameter that was analyzed by the laboratory.
Remark Code | Provides information regarding the quality assurance and quality control of the laboratory results associated with the parameter and monitoring station.
Value | Measured concentration or parameter level.
Uncertainty | The uncertainty associated with the sample.
Units | Units used for the results for the parameter (pertain to Value, Uncertainty, MDL, & PQL attributes).
PQL | Practical quantification limit.
MDL | Method detection limit.
Sampling Purpose | The reason the sample was collected.
Data Investigation | Indicates whether or not the data was investigated. CA=Correction applied in DBHYDRO.
Sample Comments | Information regarding sampling that may pertain to the use of the data.
Data Codes:
PROJECT IDENTIFIER |  | SAMPLE COMMENT
P121145 | Everglades National Park Inflows North | ALKA | alkalinity
P121784 | Everglades Protection Area | APA | alkaline phosphatase activity
P122535 | Everglades National Park Inflows East / S-357 Pump Station | BBCW | Biscayne Bay Coastal Wetlands
|  | CA | calcium
PROJECT CODE |  | Cl | chloride
PIE | Everglades National Park Inflows East | COLOR | color
PIN | Everglades National Park Inflows North | DI#### | The batch of dionized water used for field blanks
EVPA | Everglades Protection Area | DOC | dissolved organic carbon
|  | EB | equipment blank
SAMPLE TYPE |  | FAV | floating aquatic vegetation
EB | equipment blank | FB | field blank
FB | field blank | FCEB | field-cleaned equipment blank
FCEB | field-cleaned equipment blank | FOC | Field Operations Center
RS | replicate sample | FPM | field project manager
SAMP | regular sample | ft | feet
|  | HFDM | Horizon Field Data Management
MATRIX |  | K | potassium
SW | surface water | L | liter
DI | deionized water | m | meter
|  | MG | magnesium
COLLECT_METHOD |  | mL | milliliter
G | grab – e.g., a Niskin (Van Dorn) water sample collector | NA | sodium
|  | NAVD88 | North American Vertical Datum of 1988
TEST NAME |  | NH4 | ammonia as nitrogen
P | phosphorus | NO2 | nitrite as nitrogen
|  | NOX | nitrate + nitrite
UNITS |  | OPO4 | orthophosphate as phosphorus
mg/L | milligram per liter | P number | pre-login sample number
Units | Indicates that there are no units for the data. | PM | project manager
|  | SE | southeast
SAMPLING PURPOSE |  | SIO2 | silica
PD | permit driven | SO4 | sulfate
|  | TD | total depth
|  | TDPO4 | total dissolved phosphate as phosphorus
|  | TDS | total dissolved solids
|  | TKN | total Kjeldahl nitrogen
|  | TN | total nitrogen
|  | TOT FE | total iron
|  | TPO4 | total phosphate as phosphorus
|  | TSS | total suspended solids
|  | TURB | turbidity
REMARK CODE
A | Value reported is the arithmetic mean (average) of two or more determinations.
G | Field QC blank detection greater than 10 percent (1/10) of sample value for blank.
I | The reported value is greater than or equal to the lab method detection limit but less than the laboratory practical quantitation limit.
J | Estimated value; value may not be accurate. A “J” value shall not be used as a substitute for K, L, M, T, V, or Y, however, if additional reasons exist for identifying the value as an estimate, the “J” code may be added to a K, L, M, T, V, or Y.
J1 | Surrogate recovery limits exceeded.
J2 | No known quality control criteria exist.
J3 | Precision or accuracy criteria not met.
J4 | Matrix Interference.
J5 | Improper laboratory or field protocols.
J9 | Indicates that the analyte was detected in field blank and/or associated sample. The analyte was detected at or above the method detection limit in a blank other than the method blank and the value of 10 times the blank value equal to or greater than the associated sample value.
K | Off-scale low. Actual value is known to be less than the value given. This code shall be used if: 1. The value is less than the lowest calibration standard and the calibration curve is known to be non-linear: or 2. The value is known to be less than the reported value based on sample size, dilution.
L | Off-scale high. Actual value is known to be greater than value given. To be used when the concentration of the analyte is above the acceptable level for quantitation (exceeds the linear range or highest calibration standard) and the calibration curve is known to exhibit a negative deflection.
M | When reporting chemical analyses: presence of material is verified but not quantified. The actual value is less than the value given. If the value is less than method detection limit use “T” below.
N | Presumptive evidence of presence of material. This qualifier should be used if: 1. The component has been tentatively identified based on mass spectral library search; or 2. There is an indication that the analyte is present, but quality control requirements for confirmation were not met.
NOB | No Bottle Sample. Indicates that a sampling trip was scheduled but a sample was not collected. This may be due to non-representative conditions at the site (such as insufficient water depth for sampling, excess vegetation, etc.) or because conditions for sample collection were not met (no flow at site, etc).
NVZ | No valid zero value; request original results from laboratory.
O | Sampled, but analysis lost or not performed.
PMF | Project Manager Flag.
PMR | Project Manager Remarks.
Q | Preparation or analysis performed after the approved holding time.
S | Secchi disk VOB (visible on bottom).
T | Value reported is less than the laboratory method detection limit.
U | Indicates that an analysis was performed for the analyte but that the analyte was not detected.
V | Indicates that the analyte was detected in both the sample and the associated method blank and the value of 10 times the blank value equal to or greater than the associated sample value.
Y | The laboratory analysis was from an unpreserved or improperly preserved sample. The data may not be accurate.
? | Data are rejected and should not be used. Some or all of the quality control data for the analyte were outside criteria, and the presence or absence of the analyte cannot be determined from the data.
* | Not reported due to interference.
! | Data deviates from historically established concentration ranges.
D | Measurement was made in the field (i.e. in-situ).
B | Results based upon colony outside the acceptable range.
Z | Too many colonies were present (TNTC), the numeric value represents the filtration volume.