## WQ Data -July_Sept 2025
Quality Assessment Report for Water Quality Monitoring, July - September 2025: Water Quality Data
Provided to the Everglades Technical Oversight Committee on
LIMS Number | Work Identifier | Project | Sample Identifier | Station | Date Collected | Sample Type | Matrix | Collection Method | DCS | Test Name | Value | Uncertainty | Units | Remark Code | MDL | PQL | Sampling Purpose | Data Investigation | Sample Comments | Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8 | Column9 | Column10 | Column11 | Column12 | Column13 | Column14 | Column15 | Column16 | Column17 | Column18 | Column19
95539010 | P159098 | PIN | P159098-10 | S355A | 2025-07-01 09:28 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.021 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates closed during site visit.
95539012 | P159098 | PIN | P159098-12 | S333N | 2025-07-01 09:58 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.022 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates closed during site visit. No flow observed.
95539002 | P159098 | PIN | P159098-2 | S356-334 | 2025-07-01 08:23 | EB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD |  | EB collected thru all sampling equipment using DI 8253.
95539022 | P159098 | PIN | P159098-22 | S333 | 2025-07-01 10:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.024 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open during site visit. Moderate flow observed.
95539003 | P159098 | PIN | P159098-3 | S333N | 2025-07-01 10:16 | RS | SW | G |  | PHOSPHATE, TOTAL AS P | 0.021 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Replicate 1, Gates closed during site visit. No flow observed.
95539032 | P159098 | PIN | P159098-32 | S12D | 2025-07-01 11:02 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.022 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open, light flow observed.
95539033 | P159098 | PIN | P159098-33 | S12C | 2025-07-01 11:11 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.024 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open during site visit. Light flow observed. Detritus observed throughout water column. Large vat of FAV on tuffboom in the middle area of sampling area. Photo attached.
95539035 | P159098 | PIN | P159098-35 | S12B | 2025-07-01 11:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.03 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | All gates closed. No flow observed. Detritus and algae seen throughout water column, could not be avoided during collection. Switched to DI 8265.
95539037 | P159098 | PIN | P159098-37 | S12A | 2025-07-01 11:50 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.044 | +/- 0.004 | mg/L |  | 0.002 | 0.004 | PD |  | All gates closed during site visit. No visible flow. Detritus, scum, and oily sheen on surface of sampling area, could not be avoided during sampling. Water appears dirty/brown. Observed fish gulping air at surface.
95539004 | P159098 | PIN | P159098-4 | S333N | 2025-07-01 10:24 | RS | SW | G |  | PHOSPHATE, TOTAL AS P | 0.024 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Replicate 2, Gates closed during site visit. No flow observed.
95539047 | P159098 | PIN | P159098-47 | S356-334 | 2025-07-01 08:46 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD |  | FCEB collected thru all sampling equipment using DI 8253.
95539005 | P159098 | PIN | P159098-5 | S356-334 | 2025-07-01 08:40 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD |  | FB collected with DI 8253.
95539006 | P159098 | PIN | P159098-6 | S356-334 | 2025-07-01 08:33 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.022 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates closed during site visit. No flow visible.
95539008 | P159098 | PIN | P159098-8 | S355B | 2025-07-01 09:09 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.033 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates closed during site visit.
95541019 | P159102 | PIN | P159102-19 | S333 | 2025-07-08 10:39 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.026 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open
95541028 | P159102 | PIN | P159102-28 | S12D | 2025-07-08 11:06 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.022 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open
95541029 | P159102 | PIN | P159102-29 | S12C | 2025-07-08 11:24 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.03 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open
95541032 | P159102 | PIN | P159102-32 | S12B | 2025-07-08 11:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.025 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates closed. Oily scum on surface and unable to avoid. Plant matter observed throughout water column and unable to avoid.
95541034 | P159102 | PIN | P159102-34 | S12A | 2025-07-08 12:15 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.033 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates closed. Oily scum on surface and unable to avoid. Plant matter observed throughout water column and unable to avoid.
95541043 | P159102 | PIN | P159102-43 | S333N | 2025-07-08 10:13 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD
95541006 | P159102 | PIN | P159102-6 | S356-334 | 2025-07-08 08:38 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.016 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Active construction upstream of site. Layer of dust present and unable to avoid during grab. FPM notified. Pumps off, gate closed.
95541009 | P159102 | PIN | P159102-9 | S333N | 2025-07-08 09:51 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.024 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open.
95545010 | P159114 | PIN | P159114-10 | S333N | 2025-07-15 11:51 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.023 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open.
95545002 | P159114 | PIN | P159114-2 | S356-334 | 2025-07-15 09:42 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD |  | FB collected using DI 8275.
95545020 | P159114 | PIN | P159114-20 | S333 | 2025-07-15 12:14 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.023 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open.
95545029 | P159114 | PIN | P159114-29 | S12D | 2025-07-15 12:31 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.019 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open.
95545003 | P159114 | PIN | P159114-3 | S356-334 | 2025-07-15 09:43 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.02 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates closed. Pumps not running.
95545030 | P159114 | PIN | P159114-30 | S12C | 2025-07-15 12:43 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.02 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open.
95545033 | P159114 | PIN | P159114-33 | S12B | 2025-07-15 13:06 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.021 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates closed.
95545035 | P159114 | PIN | P159114-35 | S12A | 2025-07-15 13:26 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.034 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates closed. Dead gator approx. 50 feet from gate structure.
95545044 | P159114 | PIN | P159114-44 | S12C | 2025-07-15 12:54 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD |  | FCEB collected through van dorm using DI 8275.
95545005 | P159114 | PIN | P159114-5 | S355B | 2025-07-15 11:06 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.03 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Filter turned yellow during processing. Gates closed.
95545007 | P159114 | PIN | P159114-7 | S355A | 2025-07-15 11:26 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.023 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Filter turned yellow during processing. Gates closed.
95546010 | P159115 | PIN | P159115-10 | S333N | 2025-07-29 10:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.025 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | 2 out of 2 gates are open.
95546002 | P159115 | PIN | P159115-2 | S356-334 | 2025-07-29 08:59 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD |  | FB collected using DI 8270.
95546020 | P159115 | PIN | P159115-20 | S333 | 2025-07-29 10:49 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.026 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gate is open.
95546029 | P159115 | PIN | P159115-29 | S12D | 2025-07-29 11:09 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.015 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates are open.
95546003 | P159115 | PIN | P159115-3 | S356-334 | 2025-07-29 09:01 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.016 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gate is closed, pumps are not running.
95546030 | P159115 | PIN | P159115-30 | S12C | 2025-07-29 11:24 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.025 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates are open.
95546032 | P159115 | PIN | P159115-32 | S12B | 2025-07-29 11:37 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.024 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates are open. Detritus on water surface.
95546034 | P159115 | PIN | P159115-34 | S12A | 2025-07-29 11:59 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.043 | +/- 0.004 | mg/L |  | 0.002 | 0.004 | PD |  | Gates are open.
95546044 | P159115 | PIN | P159115-44 | S333N | 2025-07-29 10:28 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD |  | FCEB collected thru all sampling equipment using DI 8270.
95546005 | P159115 | PIN | P159115-5 | S355B | 2025-07-29 09:27 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.025 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gate is closed.
95546007 | P159115 | PIN | P159115-7 | S355A | 2025-07-29 09:48 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.011 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gate is closed.
95547010 | P159116 | PIN | P159116-10 | S333N | 2025-08-12 10:58 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.029 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open to approx. 7 feet during site visit.
95547002 | P159116 | PIN | P159116-2 | S356-334 | 2025-08-12 09:07 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD |  | FB collected with DI 8287.
95547020 | P159116 | PIN | P159116-20 | S333 | 2025-08-12 11:28 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.036 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open to approx. 7 ft. Flow observed.
95547029 | P159116 | PIN | P159116-29 | S12D | 2025-08-12 11:52 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.019 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open during site visit.
95547003 | P159116 | PIN | P159116-3 | S356-334 | 2025-08-12 09:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.006 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Pumps running, gates closed during site visit.
95547030 | P159116 | PIN | P159116-30 | S12C | 2025-08-12 12:19 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.02 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open during site visit. Large mat of FAV stuck on center tuffboom.
95547032 | P159116 | PIN | P159116-32 | S12B | 2025-08-12 12:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.019 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open during site visit.
95547034 | P159116 | PIN | P159116-34 | S12A | 2025-08-12 13:00 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.029 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open during site visit.
95547044 | P159116 | PIN | P159116-44 | S356-334 | 2025-08-12 09:24 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD |  | FCEB collected thru all sampling equipment using DI 8287.
95547005 | P159116 | PIN | P159116-5 | S355B | 2025-08-12 09:56 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.028 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gate closed at arrival. US army corp of engin. on site, informed us he opened the gate to about 3 feet for an unknown amount of time and closed it just as we arrived.
95547007 | P159116 | PIN | P159116-7 | S355A | 2025-08-12 10:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.013 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates closed, no flow.
95548010 | P159117 | PIN | P159117-10 | S333N | 2025-08-26 10:15 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.02 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open, flow observed.
95548002 | P159117 | PIN | P159117-2 | S356-334 | 2025-08-26 09:19 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD |  | FB collected with DI 8283
95548020 | P159117 | PIN | P159117-20 | S333 | 2025-08-26 10:32 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.021 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open.
95548029 | P159117 | PIN | P159117-29 | S12D | 2025-08-26 10:56 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.015 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open.
95548003 | P159117 | PIN | P159117-3 | S356-334 | 2025-08-26 09:11 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.008 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gate closed, pumps running.
95548030 | P159117 | PIN | P159117-30 | S12C | 2025-08-26 11:11 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.017 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open during site visit. USGS onsite during sampling.
95548032 | P159117 | PIN | P159117-32 | S12B | 2025-08-26 11:31 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.018 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open. Switched to DI 8300.
95548034 | P159117 | PIN | P159117-34 | S12A | 2025-08-26 11:52 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.029 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open.
95548044 | P159117 | PIN | P159117-44 | S12C | 2025-08-26 11:20 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD |  | FCEB collected thru all sampling equipment using DI 8283.
95548005 | P159117 | PIN | P159117-5 | S355B | 2025-08-26 09:37 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.026 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gate closed during site visit.
95548007 | P159117 | PIN | P159117-7 | S355A | 2025-08-26 09:52 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.013 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gate closed, no flow.
95549010 | P159118 | PIN | P159118-10 | S333N | 2025-09-09 10:33 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.016 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates are open.
95549002 | P159118 | PIN | P159118-2 | S356-334 | 2025-09-09 09:18 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD | NO | FB collected with DI 8272.
95549020 | P159118 | PIN | P159118-20 | S333 | 2025-09-09 10:51 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.016 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates are open.
95549029 | P159118 | PIN | P159118-29 | S12D | 2025-09-09 11:11 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.017 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | 6 out of 6 gates open. Sample was collected in front of the first gate on the east side, free of vegetation. Significant cattail buildup in front of gates 3-6, starting on the east side and ending on the west side.
95549003 | P159118 | PIN | P159118-3 | S356-334 | 2025-09-09 09:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.006 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates closed, pumps running.
95549030 | P159118 | PIN | P159118-30 | S12C | 2025-09-09 11:22 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.015 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | 6 out of 6 gates open. Sample collected in front of the first gate on the west side. Significant cattail present along the outside edge of the boat barrier in front of gates 2 and 3, starting on the west side.
95549032 | P159118 | PIN | P159118-32 | S12B | 2025-09-09 11:39 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.02 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | 6 out of 6 gates open. Filter turned yellow. Sample collected in front of gate 2 on the west side, free of vegetation.
95549034 | P159118 | PIN | P159118-34 | S12A | 2025-09-09 12:02 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.026 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD | NO | 6 out of 6 gates open. Sample was collected in front of gate 2 on the west side, free of vegetation.
95549044 | P159118 | PIN | P159118-44 | S356-334 | 2025-09-09 09:28 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment using DI 8272.
95549005 | P159118 | PIN | P159118-5 | S355B | 2025-09-09 09:49 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.018 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates is closed. Filter turned yellow.
95549007 | P159118 | PIN | P159118-7 | S355A | 2025-09-09 10:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.014 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates is closed.
95550010 | P159119 | PIN | P159119-10 | S333N | 2025-09-23 10:32 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.015 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed.
95550002 | P159119 | PIN | P159119-2 | S356-334 | 2025-09-23 08:54 | EB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD | NO | EB collected thru the AS bucket using DI 8297.
95550020 | P159119 | PIN | P159119-20 | S333 | 2025-09-23 10:53 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.018 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gate open, visible flow observed. Filter turned light brown.
95550029 | P159119 | PIN | P159119-29 | S12D | 2025-09-23 11:15 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.016 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open.
95550003 | P159119 | PIN | P159119-3 | S356-334 | 2025-09-23 08:55 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.006 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates closed, pumps running.
95550030 | P159119 | PIN | P159119-30 | S12C | 2025-09-23 11:29 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.015 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open.
95550032 | P159119 | PIN | P159119-32 | S12B | 2025-09-23 11:45 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.015 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open. Oily sheen observed on sampling surface.
95550034 | P159119 | PIN | P159119-34 | S12A | 2025-09-23 12:07 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.016 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Oily sheen and detritus observed on sampling surface. Gates open.
95550044 | P159119 | PIN | P159119-44 | S356-334 | 2025-09-23 09:13 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD | NO | FCEB collectected thru Van Dorn using DI 8297.
95550005 | P159119 | PIN | P159119-5 | S355B | 2025-09-23 09:37 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.013 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gate closed.
95550007 | P159119 | PIN | P159119-7 | S355A | 2025-09-23 09:56 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.009 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gate closed. Oily sheen observed on sampling surface.
95551015 | P159126 | PIN | P159126-15 | S333 | 2025-07-22 10:25 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.026 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open.
95551002 | P159126 | PIN | P159126-2 | S356-334 | 2025-07-22 09:00 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.02 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gate closed. Detritus on water's surface.
95551024 | P159126 | PIN | P159126-24 | S12D | 2025-07-22 10:45 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.014 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open.
95551025 | P159126 | PIN | P159126-25 | S12C | 2025-07-22 11:02 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.021 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open.
95551027 | P159126 | PIN | P159126-27 | S12B | 2025-07-22 11:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.022 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open.
95551029 | P159126 | PIN | P159126-29 | S12A | 2025-07-22 11:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.034 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open.
95551039 | P159126 | PIN | P159126-39 | S356-334 | 2025-07-22 09:26 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD |  | DI through Van Dorn to sample bottles.
95551005 | P159126 | PIN | P159126-5 | S333N | 2025-07-22 09:59 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.025 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open.
95552014 | P159127 | PIN | P159127-14 | S333 | 2025-08-05 09:58 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.025 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open during site visit, flow observed. Light scum on surface, unavoidable during collection. Filter turned brown.
95552002 | P159127 | PIN | P159127-2 | S356-334 | 2025-08-05 08:48 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.016 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gate closed, no pumps running during site visit.
95552024 | P159127 | PIN | P159127-24 | S12D | 2025-08-05 10:21 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.019 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open. Flow observed during site visit.
95552025 | P159127 | PIN | P159127-25 | S12C | 2025-08-05 10:34 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.025 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open, flow observed during site visit. Switched to DI 8294. Heavy vegetation stuck on tuffboom.
95552027 | P159127 | PIN | P159127-27 | S12B | 2025-08-05 10:55 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.028 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open, flow observed during site visit.
95552029 | P159127 | PIN | P159127-29 | S12A | 2025-08-05 11:10 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.042 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open, flow observed. Pollen on surface of sampling area, could not avoid. Construction in area.
95552039 | P159127 | PIN | P159127-39 | S356-334 | 2025-08-05 09:03 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD |  | FCEB collected thru all sampling equipment with DI 8293.
95552004 | P159127 | PIN | P159127-4 | S333N | 2025-08-05 09:38 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.022 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gate open and flow observed during site visit. Water appears brown.
95553015 | P159128 | PIN | P159128-15 | S333 | 2025-08-19 09:25 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.028 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gate open, flow observed.
95553002 | P159128 | PIN | P159128-2 | S356-334 | 2025-08-19 08:28 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.006 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gate closed, pumps running.
95553024 | P159128 | PIN | P159128-24 | S12D | 2025-08-19 09:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.016 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | All gates open to approximately 11ft.
95553025 | P159128 | PIN | P159128-25 | S12C | 2025-08-19 09:59 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.018 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | All gates open to approximately 11ft.
95553027 | P159128 | PIN | P159128-27 | S12B | 2025-08-19 10:12 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.02 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | All gates open to approximately 12ft.
95553029 | P159128 | PIN | P159128-29 | S12A | 2025-08-19 10:32 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.027 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | All gates open to approximately 12ft.
95553039 | P159128 | PIN | P159128-39 | S333 | 2025-08-19 09:34 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD |  | FCEB collected thru all equipment using DI8254.
95553005 | P159128 | PIN | P159128-5 | S333N | 2025-08-19 09:01 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.017 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open, flow observed.
95554014 | P159129 | PIN | P159129-14 | S333 | 2025-09-02 10:25 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.025 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | Gate open.
95554002 | P159129 | PIN | P159129-2 | S356-334 | 2025-09-02 09:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.005 | +/- 0.002 | mg/L | G | 0.002 | 0.004 | PD |  | Gates closed, two pumps running. | Column1: Analyte was detected at or above the method detection limit in both the sample and the associated field blank, equipment blank, or trip blank, and the blank value was greater than 10% of the associated sample value
95554024 | P159129 | PIN | P159129-24 | S12D | 2025-09-02 10:51 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.016 | +/- 0.002 | mg/L | G | 0.002 | 0.004 | PD |  | 6 out of 6 gates open. | Column1: Analyte was detected at or above the method detection limit in both the sample and the associated field blank, equipment blank, or trip blank, and the blank value was greater than 10% of the associated sample value
95554025 | P159129 | PIN | P159129-25 | S12C | 2025-09-02 11:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.014 | +/- 0.002 | mg/L | G | 0.002 | 0.004 | PD |  | 6 out 6 gates open. Significant cattail present along the outside edge of the boat barrier in front of gates 2 and 3 on the west side. | Column1: Analyte was detected at or above the method detection limit in both the sample and the associated field blank, equipment blank, or trip blank, and the blank value was greater than 10% of the associated sample value
95554027 | P159129 | PIN | P159129-27 | S12B | 2025-09-02 11:36 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.017 | +/- 0.002 | mg/L | G | 0.002 | 0.004 | PD |  | 6 out of 6 gates open. | Column1: Analyte was detected at or above the method detection limit in both the sample and the associated field blank, equipment blank, or trip blank, and the blank value was greater than 10% of the associated sample value
95554029 | P159129 | PIN | P159129-29 | S12A | 2025-09-02 11:56 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.027 | +/- 0.003 | mg/L |  | 0.002 | 0.004 | PD |  | 6 out of 6 gates open.
95554039 | P159129 | PIN | P159129-39 | S12D | 2025-09-02 10:58 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | 0.002 | +/- 0.002 | mg/L | I | 0.002 | 0.004 | PD |  | FCEB collected thru all sampling equipment using DI 8309.
95554004 | P159129 | PIN | P159129-4 | S333N | 2025-09-02 09:55 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.022 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates closed.
95555015 | P159130 | PIN | P159130-15 | S333 | 2025-09-16 10:50 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.017 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open.
95555002 | P159130 | PIN | P159130-2 | S356-334 | 2025-09-16 09:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.006 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Pumps running during site visit. Gates closed.
95555024 | P159130 | PIN | P159130-24 | S12D | 2025-09-16 11:10 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.017 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open.
95555025 | P159130 | PIN | P159130-25 | S12C | 2025-09-16 11:23 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.014 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open. Filter turned yellow.
95555027 | P159130 | PIN | P159130-27 | S12B | 2025-09-16 11:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.017 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open.
95555029 | P159130 | PIN | P159130-29 | S12A | 2025-09-16 12:03 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.02 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open. Unavoidable detritus in sampling area.
95555039 | P159130 | PIN | P159130-39 | S356-334 | 2025-09-16 10:01 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD | NO | FCEB collected through van dorn using DI 8306.
95555005 | P159130 | PIN | P159130-5 | S333N | 2025-09-16 10:27 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.016 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open.
95556015 | P159131 | PIN | P159131-15 | S333 | 2025-09-30 09:09 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.015 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open, flow observed.
95556002 | P159131 | PIN | P159131-2 | S356-334 | 2025-09-30 07:57 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.006 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gate closed, pumps running.
95556024 | P159131 | PIN | P159131-24 | S12D | 2025-09-30 09:34 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.015 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open, visible flow.
95556025 | P159131 | PIN | P159131-25 | S12C | 2025-09-30 09:49 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.014 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open, flow observed. FAV built up on tuffboom.
95556027 | P159131 | PIN | P159131-27 | S12B | 2025-09-30 10:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.012 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open, flow observed.
95556029 | P159131 | PIN | P159131-29 | S12A | 2025-09-30 10:41 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.015 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open, flow observed.
95556039 | P159131 | PIN | P159131-39 | S333N | 2025-09-30 08:53 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment using DI 8302.
95556005 | P159131 | PIN | P159131-5 | S333N | 2025-09-30 08:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.015 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open, flow observed.
95571005 | P159165 | PIE | P159165-5 | G737 | 2025-07-15 10:34 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.015 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | TD measured using a graduated PVC pole. Grab sample taken using a dipper wand. No sonde data collected due to TD being less than 0.5m per FSM. Gates are closed, no visible flow observed.
95571009 | P159165 | PIE | P159165-9 | S18C | 2025-07-15 09:21 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.005 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates are open, visible flow observed.
95572009 | P159166 | PIE | P159166-9 | S18C | 2025-07-29 12:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.005 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates closed, grab taken roughly 100ft upstream from gate, off canal bank to avoid scum
95573005 | P159167 | PIE | P159167-5 | G737 | 2025-08-12 11:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.006 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates are closed, no visible flow observed. Grab sample taken using dipper wand. TDepth measured using a graduated PVC pole.
95573009 | P159167 | PIE | P159167-9 | S18C | 2025-08-12 13:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.005 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | One gate is open, visible flow observed.
95574004 | P159168 | PIE | P159168-4 | G737 | 2025-08-26 08:59 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.004 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open to 1 foot. total depth at sample location measured with graduated PVC pole.
95574009 | P159168 | PIE | P159168-9 | S18C | 2025-08-26 11:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.006 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates open, visible flow observed
95575004 | P159169 | PIE | P159169-4 | G737 | 2025-09-09 10:21 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.004 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gate open at 1.0ft. Total depth measured using a graduated PVC pole.
95575009 | P159169 | PIE | P159169-9 | S18C | 2025-09-09 12:34 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.005 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open visible flow observed.
95577009 | P159172 | PIE | P159172-9 | S18C | 2025-07-08 10:54 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.005 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gate closed, no visible flow observed.
95579004 | P159182 | PIE | P159182-4 | G737 | 2025-07-22 10:43 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.004 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | TD measured using graduated PVC pole. Gates are closed. No visible flow observed.
95579009 | P159182 | PIE | P159182-9 | S18C | 2025-07-22 12:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.005 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates closed no visible flow observed.
95580005 | P159183 | PIE | P159183-5 | G737 | 2025-08-05 09:57 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.004 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | No weekly recorded flow. Collected -5 for weekly regardless of flow per flow decision paperwork. Gates closed
95580009 | P159183 | PIE | P159183-9 | S18C | 2025-08-05 11:52 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.004 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates closed, no visible flow
95581005 | P159184 | PIE | P159184-5 | G737 | 2025-08-19 10:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.005 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Depth measured using graduated PVC pole. Grab sample taken using dipper wand. Gates are closed, no visible flow observed.
95581009 | P159184 | PIE | P159184-9 | S18C | 2025-08-19 12:57 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.004 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | One gate is open, visible flow observed. Structure maintenance workers on site during time of collection.
95582004 | P159185 | PIE | P159185-4 | G737 | 2025-09-02 10:01 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.003 | +/- 0.002 | mg/L | I | 0.002 | 0.004 | PD |  | Gates are open 1ft. Visible flow observed. Depth measured using graduated PVC Pole.
95582009 | P159185 | PIE | P159185-9 | S18C | 2025-09-02 12:12 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.007 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates are open 11.5 ft, visible flow observed.
95583004 | P159186 | PIE | P159186-4 | G737 | 2025-09-16 10:49 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.003 | +/- 0.002 | mg/L | I | 0.002 | 0.004 | PD | NO | TD measured 0.64m via graduated PVC pole. Gates open 1.0ft, visible flow.
95583009 | P159186 | PIE | P159186-9 | S18C | 2025-09-16 12:36 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.004 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open 11.7ft and 11.8ft, visible flow.
95584004 | P159187 | PIE | P159187-4 | G737 | 2025-09-30 10:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.003 | +/- 0.002 | mg/L | I | 0.002 | 0.004 | PD | NO | Gates open at 1ft, visible flow observed.
95584009 | P159187 | PIE | P159187-9 | S18C | 2025-09-30 12:09 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.004 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed.
95585003 | P159194 | PIE | P159194-3 | S332DX | 2025-07-01 09:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.006 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates closed, pumps not running during site visit.
95585005 | P159194 | PIE | P159194-5 | S332DX | 2025-07-01 09:25 | EB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD |  | EB collected thru all sampling equipment using DI 8248.
95586003 | P159195 | PIE | P159195-3 | S332DX | 2025-07-15 09:19 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.005 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | S176 gate closed, S332D not pumping. No visible flow observed.
95586005 | P159195 | PIE | P159195-5 | S332DX | 2025-07-15 09:09 | EB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD
95587003 | P159196 | PIE | P159196-3 | S332DX | 2025-07-29 09:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.006 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | One pump running at time of sample collection. Gate closed.
95588003 | P159197 | PIE | P159197-3 | S332DX | 2025-08-12 09:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.005 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | S332D pumps running. S176 gate closed.
95588005 | P159197 | PIE | P159197-5 | S332DX | 2025-08-12 09:27 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD
95589003 | P159198 | PIE | P159198-3 | S332DX | 2025-08-26 10:17 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.006 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Pumps running, visible flow observed. S176 gate closed.
95590003 | P159199 | PIE | P159199-3 | S332DX | 2025-09-09 11:12 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.007 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO
95590005 | P159199 | PIE | P159199-5 | S332DX | 2025-09-09 11:26 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD | NO
95591010 | P159202 | PIE | P159202-10 | S328 | 2025-07-08 10:39 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.016 |  | mg/L | J | 0.002 | 0.004 | PD |  | Sample collected with a dipper wand from a disconnected pool of water. Gates appear closed. Upstream staff gauge read 1.9ft NAVD88. Downstream staff gauge read 2.0ft NAVD88. | Column1: Improper field protocol. Sample taken from disconnected pool of water.; Improper laboratory or field protocol
95591012 | P159202 | PIE | P159202-12 | S332DX | 2025-07-08 10:16 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD |  | Switched to DI 8279.
95591008 | P159202 | PIE | P159202-8 | S332DX | 2025-07-08 10:03 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.006 | +/- 0.002 | mg/L | G | 0.002 | 0.004 | PD |  | S332D pumps not running. S176 gate closed. | Column1: Analyte was detected at or above the method detection limit in both the sample and the associated field blank, equipment blank, or trip blank, and the blank value was greater than 10% of the associated sample value.
95593005 | P159210 | PIE | P159210-5 | S332DX | 2025-07-22 09:42 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.005 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | 1 pump running at time of sample collection.
95593007 | P159210 | PIE | P159210-7 | S328 | 2025-07-22 10:04 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.014 |  | mg/L | J | 0.002 | 0.004 | PD |  | Sample location is a disconnected pool. S328HW staff gauge is 2.6 feet NAVD88, S328TW staff gauge is 2.5 feet NAVD88. Gates closed. | Column1: Improper field protocol. Sample taken from disconnected pool of water.; Improper laboratory or field protocol
95594005 | P159211 | PIE | P159211-5 | S332DX | 2025-08-05 10:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.006 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | One pump running, gates closed during site visit.
95594007 | P159211 | PIE | P159211-7 | S328 | 2025-08-05 10:57 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.013 |  | mg/L | J | 0.002 | 0.004 | PD |  | Sample taken with dipper wand from pool edge. Gates closed, sampling site is a disconnected pool of water. Both the upstream and downstream staff guage are reading 2.6 ft NAVD88. | Column1: Improper field protocol. Sample taken from disconnected pool of water.; Improper laboratory or field protocol
95595005 | P159212 | PIE | P159212-5 | S332DX | 2025-08-19 10:22 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.005 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Gates closed at S176.
95595007 | P159212 | PIE | P159212-7 | S328 | 2025-08-19 10:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.006 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Upstream NAVD 88 staff gauge is at 4.1' and downstream NAVD 88 staff gauge is 4.2'. Two gates are open with visible flow and sampling site is not a disconnected pool of water.
95596005 | P159213 | PIE | P159213-5 | S332DX | 2025-09-02 10:43 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.005 | +/- 0.002 | mg/L | PMR | 0.002 | 0.004 | PD | NO | S332DX Pumps running visible flow observed. Gate closed. | Column1: Grey bottle for samples -3, -5 and -9 lost in lab. Test removed from sample.
95596007 | P159213 | PIE | P159213-7 | S328 | 2025-09-02 11:49 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.004 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Upstream NAVD 88 staff gauge is at 5.5ft and downstream NAVD 88 staff gauge is at 4.75ft. Gates appear to be closed without visible flow observed. Dipper wand was used for sample collection.
95597005 | P159214 | PIE | P159214-5 | S332DX | 2025-09-16 10:26 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.006 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | S332DX pumps running. S176 gate closed, no flow observed.
95597007 | P159214 | PIE | P159214-7 | S328 | 2025-09-16 11:04 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.003 | +/- 0.002 | mg/L | I | 0.002 | 0.004 | PD | NO | Gates closed, no flow observed. Layer of scum on water surface, unavoidable during sample collection. Sample collected using a dipper wand. Upstream NAVD 88 staff gauge read 5.5ft and downstream NAVD 88 staff gauge read 4.85ft.
95597009 | P159214 | PIE | P159214-9 | S332DX | 2025-09-16 10:42 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD | NO
95598005 | P159215 | PIE | P159215-5 | S332DX | 2025-09-30 11:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.006 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Pumps running, visible flow observed. S176 gate closed.
95598007 | P159215 | PIE | P159215-7 | S328 | 2025-09-30 10:43 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.005 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed. Sample taken with dipper wand from bank. Layer of scum on surface was avoided during grab. Both the upstream and downstream staff gauge read 5.05ft.
95602010 | P159225 | EVPA | P159225-10 | LOX14 | 2025-07-09 09:04 | SAMP | SW | G | 0.5 | PHOSPHATE, TOTAL AS P | 0.011 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Partial sample taken due to TD being between 0.10 and 0.20m.
95602008 | P159225 | EVPA | P159225-8 | LOX15 | 2025-07-09 08:40 | SAMP | SW | G | 0.91 | PHOSPHATE, TOTAL AS P | 0.011 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD
95602009 | P159225 | EVPA | P159225-9 | LOX16 | 2025-07-09 08:52 | SAMP | SW | G | 0.4 | PHOSPHATE, TOTAL AS P | 0.008 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Partial sample taken due to TD being between 0.10 and 0.20m.
95603012 | P159227 | EVPA | P159227-12 | LOX12 | 2025-07-10 09:01 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD
95603008 | P159227 | EVPA | P159227-8 | LOX12 | 2025-07-10 08:56 | SAMP | SW | G | 0.47 | PHOSPHATE, TOTAL AS P | 0.016 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD
96108011 | P160220 | EVPA | P160220-11 | LOX6 | 2025-08-05 09:28 | SAMP | SW | G | 0.29 | PHOSPHATE, TOTAL AS P | 0.009 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD |  | Partial sample taken due to TD between 0.10m and 0.20m
96108008 | P160220 | EVPA | P160220-8 | LOX15 | 2025-08-05 09:00 | SAMP | SW | G | 0.83 | PHOSPHATE, TOTAL AS P | 0.012 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD
96108009 | P160220 | EVPA | P160220-9 | LOX16 | 2025-08-05 09:12 | SAMP | SW | G | 0.38 | PHOSPHATE, TOTAL AS P | 0.01 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD
96109012 | P160222 | EVPA | P160222-12 | LOX4 | 2025-08-06 08:33 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | -0.002 | +/- 0.002 | mg/L | U | 0.002 | 0.004 | PD
96109004 | P160222 | EVPA | P160222-4 | LOX4 | 2025-08-06 08:29 | SAMP | SW | G | 0.16 | PHOSPHATE, TOTAL AS P | 0.018 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD
96109008 | P160222 | EVPA | P160222-8 | LOX12 | 2025-08-06 09:16 | SAMP | SW | G | 0.54 | PHOSPHATE, TOTAL AS P | 0.011 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD
96449010 | P160892 | EVPA | P160892-10 | LOX14 | 2025-09-03 10:21 | SAMP | SW | G | 0.69 | PHOSPHATE, TOTAL AS P | 0.007 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO
96449011 | P160892 | EVPA | P160892-11 | LOX6 | 2025-09-03 10:34 | SAMP | SW | G | 0.42 | PHOSPHATE, TOTAL AS P | 0.009 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO
96449003 | P160892 | EVPA | P160892-3 | LOX10 | 2025-09-03 08:35 | SAMP | SW | G | 0.25 | PHOSPHATE, TOTAL AS P | 0.008 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Partial sample collected due to TD between 0.1 and 0.2m.
96449004 | P160892 | EVPA | P160892-4 | LOX9 | 2025-09-03 08:48 | SAMP | SW | G | 0.3 | PHOSPHATE, TOTAL AS P | 0.012 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Partial sample collected due to TD between 0.1 and 0.2m. Tiny pieces of floating vegetative debris on water surface.
96449005 | P160892 | EVPA | P160892-5 | LOX8 | 2025-09-03 09:03 | SAMP | SW | G | 0.3 | PHOSPHATE, TOTAL AS P | 0.01 |  | mg/L | ? | 0.002 | 0.004 | PD | NO | Partial sample collected due to TD between 0.1 and 0.2m. Tiny pieces of floating vegetative debris and small mud mats floating on water surface. Foam found in sawgrass. Photos sent to FPM. | Column1: An investigation was performed and data is being qualified due to evidence that the sample was not representative of the water column at the sampling station.; Data are rejected and should not be used
96449006 | P160892 | EVPA | P160892-6 | LOX7 | 2025-09-03 09:20 | SAMP | SW | G | 0.25 | PHOSPHATE, TOTAL AS P | 0.049 |  | mg/L | ? | 0.002 | 0.004 | PD | NO | Partial sample collected due to TD between 0.1 and 0.2m. Water is dark and tannic, possibly murky, difficult to see cap on PVC pole. Tiny pieces of floating vegetative debris floating on water surface. Photos sent to FPM. | Column1: An investigation was performed and data is being qualified due to evidence that the sample was not representative of the water column at the sampling station.; Data are rejected and should not be used
96449007 | P160892 | EVPA | P160892-7 | LOX11 | 2025-09-03 09:38 | SAMP | SW | G | 0.35 | PHOSPHATE, TOTAL AS P | 0.019 |  | mg/L | ? | 0.002 | 0.004 | PD | NO | Partial sample collected due to TD between 0.1 and 0.2m. Spots of biofilm and tiny pieces of floating vegetation debris and small mud mats floating on water surface. Photos sent to FPM. | Column1: An investigation was performed and data is being qualified due to evidence that the sample was not representative of the water column at the sampling station.; Data are rejected and should not be used
96449008 | P160892 | EVPA | P160892-8 | LOX15 | 2025-09-03 09:55 | SAMP | SW | G | 0.95 | PHOSPHATE, TOTAL AS P | 0.008 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO
96449009 | P160892 | EVPA | P160892-9 | LOX16 | 2025-09-03 10:06 | SAMP | SW | G | 0.4 | PHOSPHATE, TOTAL AS P | 0.008 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Partial sample taken due to TD between 0.1 and 0.2m. Alligator present at site, moved about 20m away.
96451004 | P160894 | EVPA | P160894-4 | LOX4 | 2025-09-04 08:38 | SAMP | SW | G | 0.28 | PHOSPHATE, TOTAL AS P | 0.016 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO
96451008 | P160894 | EVPA | P160894-8 | LOX12 | 2025-09-04 09:18 | SAMP | SW | G | 0.79 | PHOSPHATE, TOTAL AS P | 0.01 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Tiny floating vegetative particulates on waters surface.
96451009 | P160894 | EVPA | P160894-9 | LOX13 | 2025-09-04 09:33 | SAMP | SW | G | 0.42 | PHOSPHATE, TOTAL AS P | 0.012 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Tiny floating vegetative particulates on waters surface.
96467004 | P160937 | PIE | P160937-4 | G737 | 2025-09-23 11:10 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.004 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | TD measured 0.57m via graduated PVC pole. Gates open 1ft.
96467009 | P160937 | PIE | P160937-9 | S18C | 2025-09-23 13:15 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.005 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Gates open visible flow observed.
96475003 | P160953 | PIE | P160953-3 | S332DX | 2025-09-23 09:52 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | 0.005 | +/- 0.002 | mg/L |  | 0.002 | 0.004 | PD | NO | Pumps running, visible flow observed. S176 gate closed. Boat docked on opposite side of canal.

## Attributes & Codes
Water Quality Data Attributes
LIMS Number | Laboratory Information Management System (LIMS) sample identifier.
Work Identifier | Sampling event identifier.
Project | The abbreviation of the project name (see below for definitions).
Sample Identifier | The code used to identify the specific sample from which the data was derived.
Station | Name of the monitoring station where a water quality sample was collected.
Date Collected | Date and time that a water quality sample was collected at the monitoring location.
Sample Type | Indicates whether the sample is a regular sample or a quality assurance/quality control sample. If the latter, it indicates what kind.
Matrix | The environment or material from which a sample was collected (i.e, surface water, sediments, rainfall, etc.).
Collection Method | Describes how a sample was collected.
DCS | Depth to consolidated substrate (units are in meters).
Test Name | Gives the full test name of the parameter that was analyzed by the laboratory.
Remark Code | Provides information regarding the quality assurance and quality control of the laboratory results associated with the parameter and monitoring station.
Value | Measured concentration or parameter level.
Uncertainty | The uncertainty associated with the sample.
Units | Units used for the results for the parameter (pertain to Value, Uncertainty, MDL, & PQL attributes).
PQL | Practical quantification limit.
MDL | Method detection limit.
Sampling Purpose | The reason the sample was collected.
Data Investigation | Indicates whether or not the data was investigated. CA=Correction applied in DBHYDRO.
Sample Comments | Information regarding sampling that may pertain to the use of the data.
Data Codes:
PROJECT IDENTIFIER |  | SAMPLE COMMENT
P121145 | Everglades National Park Inflows North | ALKA | alkalinity
P121784 | Everglades Protection Area | APA | alkaline phosphatase activity
P122535 | Everglades National Park Inflows East / S-357 Pump Station | BBCW | Biscayne Bay Coastal Wetlands
|  | CA | calcium
PROJECT CODE |  | Cl | chloride
PIE | Everglades National Park Inflows East | COLOR | color
PIN | Everglades National Park Inflows North | DI#### | The batch of dionized water used for field blanks
EVPA | Everglades Protection Area | DOC | dissolved organic carbon
S357P | Event or trip based QA sample | EB | equipment blank
|  | FAV | floating aquatic vegetation
SAMPLE TYPE |  | FB | field blank
EB | equipment blank | FCEB | field-cleaned equipment blank
FB | field blank | FOC | Field Operations Center
FCEB | field-cleaned equipment blank | FPM | field project manager
RS | replicate sample | ft | feet
SAMP | regular sample | HFDM | Horizon Field Data Management
|  | K | potassium
MATRIX |  | L | liter
SW | surface water | m | meter
DI | deionized water | MG | magnesium
|  | mL | milliliter
COLLECT_METHOD |  | NA | sodium
G | grab – e.g., a Niskin (Van Dorn) water sample collector | NAVD88 | North American Vertical Datum of 1988
|  | NH4 | ammonia as nitrogen
TEST NAME |  | NO2 | nitrite as nitrogen
P | phosphorus | NOX | nitrate + nitrite
|  | OPO4 | orthophosphate as phosphorus
UNITS |  | P number | pre-login sample number
mg/L | milligram per liter | PM | project manager
Units | Indicates that there are no units for the data. | SE | southeast
|  | SIO2 | silica
SAMPLING PURPOSE |  | SO4 | sulfate
PD | permit driven | TD | total depth
|  | TDPO4 | total dissolved phosphate as phosphorus
|  | TDS | total dissolved solids
|  | TKN | total Kjeldahl nitrogen
|  | TN | total nitrogen
|  | TOT FE | total iron
|  | TPO4 | total phosphate as phosphorus
|  | TSS | total suspended solids
|  | TURB | turbidity
REMARK CODE
A | Value reported is the arithmetic mean (average) of two or more determinations.
G | Field QC blank detection greater than 10 percent (1/10) of sample value for blank.
I | The reported value is greater than or equal to the lab method detection limit but less than the laboratory practical quantitation limit.
J | Estimated value; value may not be accurate. A “J” value shall not be used as a substitute for K, L, M, T, V, or Y, however, if additional reasons exist for identifying the value as an estimate, the “J” code may be added to a K, L, M, T, V, or Y.
J1 | Surrogate recovery limits exceeded.
J2 | No known quality control criteria exist.
J3 | Precision or accuracy criteria not met.
J4 | Matrix Interference.
J5 | Improper laboratory or field protocols.
J9 | Indicates that the analyte was detected in field blank and/or associated sample. The analyte was detected at or above the method detection limit in a blank other than the method blank and the value of 10 times the blank value equal to or greater than the associated sample value.
K | Off-scale low. Actual value is known to be less than the value given. This code shall be used if: 1. The value is less than the lowest calibration standard and the calibration curve is known to be non-linear: or 2. The value is known to be less than the reported value based on sample size, dilution.
L | Off-scale high. Actual value is known to be greater than value given. To be used when the concentration of the analyte is above the acceptable level for quantitation (exceeds the linear range or highest calibration standard) and the calibration curve is known to exhibit a negative deflection.
M | When reporting chemical analyses: presence of material is verified but not quantified. The actual value is less than the value given. If the value is less than method detection limit use “T” below.
N | Presumptive evidence of presence of material. This qualifier should be used if: 1. The component has been tentatively identified based on mass spectral library search; or 2. There is an indication that the analyte is present, but quality control requirements for confirmation were not met.
NOB | No Bottle Sample. Indicates that a sampling trip was scheduled but a sample was not collected. This may be due to non-representative conditions at the site (such as insufficient water depth for sampling, excess vegetation, etc.) or because conditions for sample collection were not met (no flow at site, etc).
NVZ | No valid zero value; request original results from laboratory.
O | Sampled, but analysis lost or not performed.
PMF | Project Manager Flag.
PMR | Project Manager Remarks.
Q | Preparation or analysis performed after the approved holding time.
S | Secchi disk VOB (visible on bottom).
T | Value reported is less than the laboratory method detection limit.
U | Indicates that an analysis was performed for the analyte but that the analyte was not detected.
V | Indicates that the analyte was detected in both the sample and the associated method blank and the value of 10 times the blank value equal to or greater than the associated sample value.
Y | The laboratory analysis was from an unpreserved or improperly preserved sample. The data may not be accurate.
? | Data are rejected and should not be used. Some or all of the quality control data for the analyte were outside criteria, and the presence or absence of the analyte cannot be determined from the data.
* | Not reported due to interference.
! | Data deviates from historically established concentration ranges.
D | Measurement was made in the field (i.e. in-situ).
B | Results based upon colony outside the acceptable range.
Z | Too many colonies were present (TNTC), the numeric value represents the filtration volume.