## WQ Data -Oct Dec 2025
Quality Assessment Report for Water Quality Monitoring, October-December 2025: Water Quality Data
Prepared on: March 02, 2026
LIMS Number | Work Identifier | Project | Sample Identifier | Station | Date Collected | Sample Type | Matrix | Collection Method | DCS | Test Name | Remark Code | Value | Uncertainty | Units | MDL | PQL | Sampling Purpose | Data Investigation | Sample Comments | Column1
96780002 | P161567 | EVPA | P161567-2 | LOX5 | 2025-10-01 08:48 | SAMP | SW | G | 0.36 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96780003 | P161567 | EVPA | P161567-3 | LOX10 | 2025-10-01 09:00 | SAMP | SW | G | 0.37 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96780004 | P161567 | EVPA | P161567-4 | LOX9 | 2025-10-01 09:10 | SAMP | SW | G | 0.44 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | While sampling, noticed evidence of people/workers in immediate area due to disturbance/trails. Airboat present within 600m of sampling site. Sample was taken in an undisturbed area.
96780005 | P161567 | EVPA | P161567-5 | LOX8 | 2025-10-01 09:25 | SAMP | SW | G | 0.48 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96780006 | P161567 | EVPA | P161567-6 | LOX7 | 2025-10-01 09:37 | SAMP | SW | G | 0.58 | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Water column appeared to be dark/tannic in color.
96780007 | P161567 | EVPA | P161567-7 | LOX11 | 2025-10-01 09:48 | SAMP | SW | G | 0.61 | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96780008 | P161567 | EVPA | P161567-8 | LOX15 | 2025-10-01 10:02 | SAMP | SW | G | 1.27 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from float due to DCS being over 1m.
96780009 | P161567 | EVPA | P161567-9 | LOX16 | 2025-10-01 10:10 | SAMP | SW | G | 0.8 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96780010 | P161567 | EVPA | P161567-10 | LOX14 | 2025-10-01 10:20 | SAMP | SW | G | 0.9 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96780011 | P161567 | EVPA | P161567-11 | LOX6 | 2025-10-01 10:33 | SAMP | SW | G | 0.62 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Technicians noticed very fine possibly vegetative particulates on surface of water, unavoidable during grab sample. Photos sent to FPM upon request.
96781004 | P161569 | EVPA | P161569-4 | LOX4 | 2025-10-02 08:38 | SAMP | SW | G | 0.46 | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96781005 | P161569 | EVPA | P161569-5 | LOX3 | 2025-10-02 08:49 | SAMP | SW | G | 0.4 | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Deer present upon landing. Sample taken away from disturbed area.
96781008 | P161569 | EVPA | P161569-8 | LOX12 | 2025-10-02 09:29 | SAMP | SW | G | 1.07 | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample collected from float due to DCS being over 1m.
96781009 | P161569 | EVPA | P161569-9 | LOX13 | 2025-10-02 09:38 | SAMP | SW | G | 0.75 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
95540006 | P159099 | PIN | P159099-6 | S356-334 | 2025-10-07 09:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate is closed, pumps are running.
95540008 | P159099 | PIN | P159099-8 | S355B | 2025-10-07 09:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are closed.
95540010 | P159099 | PIN | P159099-10 | S355A | 2025-10-07 10:00 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are closed.
96476003 | P160954 | PIE | P160954-3 | S332DX | 2025-10-07 10:10 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332D pumps running, S176 gate closed.
95540012 | P159099 | PIN | P159099-12 | S333N | 2025-10-07 10:21 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are open.
95540022 | P159099 | PIN | P159099-22 | S333 | 2025-10-07 10:39 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.018 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate is open.
95540032 | P159099 | PIN | P159099-32 | S12D | 2025-10-07 11:02 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.016 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates 1, 3, and 5 starting on the east side are slightly open.
95540033 | P159099 | PIN | P159099-33 | S12C | 2025-10-07 11:17 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are closed. Oily sheen and detritus on water surface.
95540035 | P159099 | PIN | P159099-35 | S12B | 2025-10-07 11:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Oily sheen, heavy detritus, and floating decaying veg on water surface. 6 out of 6 gates closed.
96468004 | P160938 | PIE | P160938-4 | G737 | 2025-10-07 11:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | TD measured using a graduated PVC pole. Gates open.
95540047 | P159099 | PIN | P159099-47 | S12A | 2025-10-07 11:56 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment using DI 8310.
95540037 | P159099 | PIN | P159099-37 | S12A | 2025-10-07 12:06 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.032 | +/- 0.003 | mg/L | 0.002 | 0.004 | PD | NO | Oily sheen, heavy detritus, and floating decaying veg on water surface. 6 out of 6 gates closed.
96468009 | P160938 | PIE | P160938-9 | S18C | 2025-10-07 13:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed.
95542002 | P159103 | PIN | P159103-2 | S356-334 | 2025-10-14 08:53 | EB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI through Van Dorn to bucket to sample bottles.
95542006 | P159103 | PIN | P159103-6 | S356-334 | 2025-10-14 09:02 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps operating. Gates closed. DOSAT 12.5
95542003 | P159103 | PIN | P159103-3 | S356-334 | 2025-10-14 09:21 | RS | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps operating. Gates closed. DOSAT 11.7
95542004 | P159103 | PIN | P159103-4 | S356-334 | 2025-10-14 09:37 | RS | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps operating. Gates closed. DOSAT 11.3
95578004 | P159173 | PIE | P159173-4 | G737 | 2025-10-14 10:04 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | TD measured 0.6m via graduated PVC pole. Gates open 0.5ft. Visible flow at platform and through gates.
95542009 | P159103 | PIN | P159103-9 | S333N | 2025-10-14 10:12 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.013 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open. Visible flow observed.
96471009 | P160941 | PIE | P160941-9 | S18C | 2025-11-18 12:12 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB- Oily scum and orange algae throughout sampling area. Unable to collect a representative sample. No sample collected. FPM notified.
95542005 | P159103 | PIN | P159103-5 | S333N | 2025-10-14 10:18 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI to sample bottle.
96472009 | P160942 | PIE | P160942-9 | S18C | 2025-12-02 11:39 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB per flow decision paperwork. No triggers requested by autosampler. Gates closed.
95592008 | P159203 | PIE | P159203-8 | S332DX | 2025-10-14 10:19 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate S176 closed at time of site visit. S332 pumps running, flow observed.
95542019 | P159103 | PIN | P159103-19 | S333 | 2025-10-14 10:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.02 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open. Visible flow obsesrved. DOSAT 29.7
95592010 | P159203 | PIE | P159203-10 | S328 | 2025-10-14 10:57 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates open. G328HW staff gauge reads 4.9ft NAVD88. G328TW staff gauge reads 4.9ft NAVD88. Sample collected using a dipper wand.
95542028 | P159103 | PIN | P159103-28 | S12D | 2025-10-14 11:23 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open. DOSAT 29.0
95542030 | P159103 | PIN | P159103-30 | S12C | 2025-10-14 11:43 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. DOSAT 22.5
95542032 | P159103 | PIN | P159103-32 | S12B | 2025-10-14 12:09 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.013 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. DOSAT 35.2
95542043 | P159103 | PIN | P159103-43 | S12A | 2025-10-14 12:29 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI through Van Dorn to sample bottles.
95578009 | P159173 | PIE | P159173-9 | S18C | 2025-10-14 12:32 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open 11.6ft, visible flow. Filter turned yellow during processing.
95542034 | P159103 | PIN | P159103-34 | S12A | 2025-10-14 12:37 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.021 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. DOSAT 56.1. Detritus on water's surface.
96798003 | P161608 | PIN | P161608-3 | S356-334 | 2025-10-21 08:31 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open, pumps running.
96798002 | P161608 | PIN | P161608-2 | S356-334 | 2025-10-21 08:35 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FB performed using DI 8321.
96798005 | P161608 | PIN | P161608-5 | S355B | 2025-10-21 09:13 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed.
96798007 | P161608 | PIN | P161608-7 | S355A | 2025-10-21 09:36 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed.
96469004 | P160939 | PIE | P160939-4 | G737 | 2025-10-21 09:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are open, visible flow observed. TDepth measured using a graduated PVC pole.
96477003 | P160955 | PIE | P160955-3 | S332DX | 2025-10-21 09:56 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332D pumps running, S176 gate closed. Stringy algae present in water column, avoided during sampling.
96798010 | P161608 | PIN | P161608-10 | S333N | 2025-10-21 10:00 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open.
96798020 | P161608 | PIN | P161608-20 | S333 | 2025-10-21 10:35 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open. FAV present and was avoidable.
96469009 | P160939 | PIE | P160939-9 | S18C | 2025-10-21 11:06 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are open, visible flow observed.
96798029 | P161608 | PIN | P161608-29 | S12D | 2025-10-21 11:06 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate slightly open.
96798044 | P161608 | PIN | P161608-44 | S12D | 2025-10-21 11:25 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB performed using DI 8321.
96798031 | P161608 | PIN | P161608-31 | S12C | 2025-10-21 11:50 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
96798033 | P161608 | PIN | P161608-33 | S12B | 2025-10-21 12:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.013 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
96798035 | P161608 | PIN | P161608-35 | S12A | 2025-10-21 12:33 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.021 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed. FAV present and was avoidable.
96804005 | P161620 | PIN | P161620-5 | S333N | 2025-10-28 09:52 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed.
96804039 | P161620 | PIN | P161620-39 | S333N | 2025-10-28 10:05 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96816004 | P161644 | PIE | P161644-4 | G737 | 2025-10-28 10:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open 0.5ft, visible flow. TD measured 0.53m using graduated PVC pole.
96831005 | P161674 | PIE | P161674-5 | S332DX | 2025-10-28 10:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Prior to arrival at site, tractor mowed vegetation upstream of sampling platform. Visible floating vegetation clippings present on surface of water. Sampling technician avoided floating vegetation clippings. Pumps running, visible flow observed. Gates at S176 are closed.
96804015 | P161620 | PIN | P161620-15 | S333 | 2025-10-28 10:24 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed.
96831007 | P161674 | PIE | P161674-7 | S328 | 2025-10-28 10:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open. Collected via dipper wand. Upstream gauge reads 4.2 FT NAVD88. Downstream gauge reads 4.2 FT NAVD88.
96804024 | P161620 | PIN | P161620-24 | S12D | 2025-10-28 10:47 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed.
96804026 | P161620 | PIN | P161620-26 | S12C | 2025-10-28 11:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, no visible flow. Oily sheen within boundaries of gates except one. Sample collected from last gate where oily sheen was avoided.
96804028 | P161620 | PIN | P161620-28 | S12B | 2025-10-28 11:31 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Unavoidable oily sheen and detritus within boundaries of gates. Sample taken from wing wall. ; gates closed no visible flow.
96816009 | P161644 | PIE | P161644-9 | S18C | 2025-10-28 11:56 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open 11.8ft, visible flow. Floating clumps of algae or SAV passing by on water surface and in water column, avoided during sampling.
96799002 | P161609 | PIN | P161609-2 | S356-334 | 2025-11-04 08:42 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Field blank collected.
96799003 | P161609 | PIN | P161609-3 | S356-334 | 2025-11-04 08:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed at S334. Pumps not running at S356. No flow observed.
97119004 | P162223 | EVPA | P162223-4 | LOX4 | 2025-11-04 09:05 | SAMP | SW | G | 0.48 | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Used 1L bottle to fill the 2L bottle due to heavy vegetation.
96799005 | P161609 | PIN | P161609-5 | S355B | 2025-11-04 09:20 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed.
97119006 | P162223 | EVPA | P162223-6 | LOX7 | 2025-11-04 09:26 | SAMP | SW | G | 0.53 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96799007 | P161609 | PIN | P161609-7 | S355A | 2025-11-04 09:37 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed.
97119007 | P162223 | EVPA | P162223-7 | LOX8 | 2025-11-04 09:38 | SAMP | SW | G | 0.54 | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GPS coordinates: N 26.52375, W 080.33794
97119008 | P162223 | EVPA | P162223-8 | LOX9 | 2025-11-04 10:02 | SAMP | SW | G | 0.52 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96478003 | P160956 | PIE | P160956-3 | S332DX | 2025-11-04 10:07 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed, no pumps running.
97119009 | P162223 | EVPA | P162223-9 | LOX10 | 2025-11-04 10:13 | SAMP | SW | G | 0.48 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97119010 | P162223 | EVPA | P162223-10 | LOX5 | 2025-11-04 10:25 | SAMP | SW | G | 0.41 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Used 1L bottle to fill 2L bottle due to heavy vegetation.
96799019 | P161609 | PIN | P161609-19 | S333 | 2025-11-04 10:27 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open.
97119011 | P162223 | EVPA | P162223-11 | LOX3 | 2025-11-04 10:36 | SAMP | SW | G | 0.37 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Water looks tannic during processing.
96800031 | P161610 | PIN | P161610-31 | S12C | 2025-11-18 11:10 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | No bottle. Large plum of oil, pollen, scum on water's surface. Unrepresentative of upstream water body. FPM notified. Gates Closed.
96470004 | P160940 | PIE | P160940-4 | G737 | 2025-11-04 10:42 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open 0.5 ft, visible flow observed.
96799009 | P161609 | PIN | P161609-9 | S333N | 2025-11-04 10:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open.
96799029 | P161609 | PIN | P161609-29 | S12D | 2025-11-04 10:56 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open.
96799030 | P161609 | PIN | P161609-30 | S12C | 2025-11-04 11:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
96799032 | P161609 | PIN | P161609-32 | S12B | 2025-11-04 11:34 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
96799044 | P161609 | PIN | P161609-44 | S12B | 2025-11-04 11:44 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI switched to 8338. FCEB collected thru Van dorn with DI 8338.
96799034 | P161609 | PIN | P161609-34 | S12A | 2025-11-04 12:01 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.018 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed.
96470009 | P160940 | PIE | P160940-9 | S18C | 2025-11-04 12:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, visible flow observed.
97122002 | P162229 | EVPA | P162229-2 | LOX6 | 2025-11-05 08:15 | SAMP | SW | G | 0.64 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97122003 | P162229 | EVPA | P162229-3 | LOX11 | 2025-11-05 08:27 | SAMP | SW | G | 0.75 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97122005 | P162229 | EVPA | P162229-5 | LOX13 | 2025-11-05 08:49 | SAMP | SW | G | 0.78 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97122006 | P162229 | EVPA | P162229-6 | LOX14 | 2025-11-05 09:00 | SAMP | SW | G | 0.92 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97122007 | P162229 | EVPA | P162229-7 | LOX16 | 2025-11-05 09:10 | SAMP | SW | G | 0.96 | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97122008 | P162229 | EVPA | P162229-8 | LOX15 | 2025-11-05 09:20 | SAMP | SW | G | 1.08 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from helicopter float due to DCS over 1m.
97122009 | P162229 | EVPA | P162229-9 | LOX12 | 2025-11-05 09:29 | SAMP | SW | G | 1.03 | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample taken from helicopter float due to DCS over 1m.
96805002 | P161621 | PIN | P161621-2 | S356-334 | 2025-11-12 09:10 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Pumps not running. FDO-SAT: 3
96805005 | P161621 | PIN | P161621-5 | S333N | 2025-11-12 09:59 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open. FAV present. FDO-SAT: 50.9
96805015 | P161621 | PIN | P161621-15 | S333 | 2025-11-12 10:36 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, FAV present. FDO-SAT: 49.2
96832005 | P161675 | PIE | P161675-5 | S332DX | 2025-11-12 10:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed at S176. S332D pumps running.
96817004 | P161645 | PIE | P161645-4 | G737 | 2025-11-12 10:52 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are open, visible flow observed. Tdepth measured using a graduated PVC pole.
96832009 | P161675 | PIE | P161675-9 | S332DX | 2025-11-12 10:59 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected through van dorn using DI 8333.
96805024 | P161621 | PIN | P161621-24 | S12D | 2025-11-12 11:11 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open. FDO-SAT: 38.9
96832007 | P161675 | PIE | P161675-7 | S328 | 2025-11-12 11:24 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Upstream staff gauge reads 4ft. Downstream staff gauge reads 4.1ft. 2 of 8 gates show reverse seepage. Sample collected using dipper wand.
96805026 | P161621 | PIN | P161621-26 | S12C | 2025-11-12 11:34 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. FDO-SAT: 41.2
96805028 | P161621 | PIN | P161621-28 | S12B | 2025-11-12 11:48 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates Closed. FDO-SAT: 45.4
96805039 | P161621 | PIN | P161621-39 | S12A | 2025-11-12 12:16 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96805030 | P161621 | PIN | P161621-30 | S12A | 2025-11-12 12:31 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.013 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. FDO-SAT: 41.2
96817009 | P161645 | PIE | P161645-9 | S18C | 2025-11-12 12:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | One gate is open, visible flow observed.
96800003 | P161610 | PIN | P161610-3 | S356-334 | 2025-11-18 08:27 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
96800044 | P161610 | PIN | P161610-44 | S356-334 | 2025-11-18 08:42 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI through Van Dorn to sample bottles.
96800005 | P161610 | PIN | P161610-5 | S355B | 2025-11-18 09:07 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
96800007 | P161610 | PIN | P161610-7 | S355A | 2025-11-18 09:25 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Oily sheen on water's surface. Sample collected upstream of sheen from a clear area.
96800002 | P161610 | PIN | P161610-2 | S333N | 2025-11-18 09:56 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | DI to sample bottle.
96800009 | P161610 | PIN | P161610-9 | S333N | 2025-11-18 09:57 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open. Visible flow observed.
96471004 | P160941 | PIE | P160941-4 | G737 | 2025-11-18 10:07 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open, flow observed. Tdepth measured using a graduated PVC pole.
96800019 | P161610 | PIN | P161610-19 | S333 | 2025-11-18 10:23 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open . Visible flow observed.
96800029 | P161610 | PIN | P161610-29 | S12D | 2025-11-18 10:49 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open. Oily sheen on water's surface. Decaying vegetation observed. Picture sent to FPM.
96800033 | P161610 | PIN | P161610-33 | S12B | 2025-11-18 11:25 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Detritus and vegetation clippings on water's surface.
96479003 | P160957 | PIE | P160957-3 | S332DX | 2025-11-18 11:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332D pumps running, S176 gate closed.
96800035 | P161610 | PIN | P161610-35 | S12A | 2025-11-18 11:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Detritus, scum, vegetation clippings on water's surface.
96804002 | P161620 | PIN | P161620-2 | S356-334 | 2025-10-28 09:19 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB. Oily sheen and vegetative debris impacting sampling area. Unable to find clear area to collect representative sample. Photos taken and FPM notified. Gates closed, pumps running during site visit.
96833005 | P161676 | PIE | P161676-5 | S332DX | 2025-11-25 07:27 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running, visible flow observed. S176 gate closed.
96806002 | P161622 | PIN | P161622-2 | S356-334 | 2025-11-25 07:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed at S334.
96833007 | P161676 | PIE | P161676-7 | S328 | 2025-11-25 07:51 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | J | 0.013 |  | mg/L | 0.002 | 0.004 | PD | NO | Sample collected via dipper wand. Collection is from a disconnected pool of water. Gates closed. Staff gauges read 3.6ft upstream, 3.7ft downstream NAVD88.
96804030 | P161620 | PIN | P161620-30 | S12A | 2025-10-28 12:29 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB. Unavoidable oily sheen and detritus on water surface. No clear space to collect representative sample. Gates closed, no visible flow.
96818004 | P161646 | PIE | P161646-4 | G737 | 2025-11-25 08:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are open, visible flow observed. Tdepth measured using a graduated PVC pole.
96806005 | P161622 | PIN | P161622-5 | S333N | 2025-11-25 08:13 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open.
96806015 | P161622 | PIN | P161622-15 | S333 | 2025-11-25 08:38 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open.
96806039 | P161622 | PIN | P161622-39 | S333 | 2025-11-25 08:50 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB completed.
96818009 | P161646 | PIE | P161646-9 | S18C | 2025-11-25 08:54 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are closed, no visible flow observed. Scum layer and veg clippings present on surface of water within wingwall of one gate, able to avoid during grab sample.
96806024 | P161622 | PIN | P161622-24 | S12D | 2025-11-25 09:10 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Due to heavy vegetation or heavy oil sheen present at each gate sample collected on the side wall. Gates open.
96806026 | P161622 | PIN | P161622-26 | S12C | 2025-11-25 09:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
96806028 | P161622 | PIN | P161622-28 | S12B | 2025-11-25 09:44 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
96806030 | P161622 | PIN | P161622-30 | S12A | 2025-11-25 10:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
96801003 | P161611 | PIN | P161611-3 | S356-334 | 2025-12-02 08:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed at S334.
96801005 | P161611 | PIN | P161611-5 | S355B | 2025-12-02 09:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed.
97310004 | P162631 | EVPA | P162631-4 | LOX4 | 2025-12-02 09:25 | SAMP | SW | G | 0.39 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96801007 | P161611 | PIN | P161611-7 | S355A | 2025-12-02 09:37 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed.
97310006 | P162631 | EVPA | P162631-6 | LOX7 | 2025-12-02 09:53 | SAMP | SW | G | 0.55 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96801009 | P161611 | PIN | P161611-9 | S333N | 2025-12-02 10:08 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open, visible flow observed.
97310007 | P162631 | EVPA | P162631-7 | LOX8 | 2025-12-02 10:10 | SAMP | SW | G | 0.44 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | GPS coordinates: N 26.52411, W 080.33821
96480003 | P160958 | PIE | P160958-3 | S332DX | 2025-12-02 10:14 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Pumps running during site visit. Visible flow observed.
96480005 | P160958 | PIE | P160958-5 | S332DX | 2025-12-02 10:22 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected through van dorn using DI 8360.
96472004 | P160942 | PIE | P160942-4 | G737 | 2025-12-02 10:24 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | No field parameters collected due to TD less than 0.5m. Gates open 0.4 ft.
96801044 | P161611 | PIN | P161611-44 | S333N | 2025-12-02 10:29 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97310008 | P162631 | EVPA | P162631-8 | LOX9 | 2025-12-02 10:29 | SAMP | SW | G | 0.45 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96801002 | P161611 | PIN | P161611-2 | S333N | 2025-12-02 10:33 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97310009 | P162631 | EVPA | P162631-9 | LOX10 | 2025-12-02 10:37 | SAMP | SW | G | 0.45 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96801019 | P161611 | PIN | P161611-19 | S333 | 2025-12-02 10:45 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open, visible flow observed.
97310010 | P162631 | EVPA | P162631-10 | LOX5 | 2025-12-02 10:49 | SAMP | SW | G | 0.47 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97310011 | P162631 | EVPA | P162631-11 | LOX3 | 2025-12-02 11:03 | SAMP | SW | G | 0.28 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Partial sample taken due to TD between 0.1m and 0.2m.
96801029 | P161611 | PIN | P161611-29 | S12D | 2025-12-02 11:16 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates slightly opened, vegetation detritus gathered at gates.
96801030 | P161611 | PIN | P161611-30 | S12C | 2025-12-02 11:33 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates are closed.
96801032 | P161611 | PIN | P161611-32 | S12B | 2025-12-02 11:59 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
96801034 | P161611 | PIN | P161611-34 | S12A | 2025-12-02 12:29 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
97311009 | P162633 | EVPA | P162633-9 | LOX12 | 2025-12-03 09:23 | SAMP | SW | G | 0.99 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97311008 | P162633 | EVPA | P162633-8 | LOX15 | 2025-12-03 09:32 | SAMP | SW | G | 1.28 | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Sample collected from float due to TD and DCS measuring over 1m.
97311007 | P162633 | EVPA | P162633-7 | LOX16 | 2025-12-03 09:40 | SAMP | SW | G | 0.97 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97311006 | P162633 | EVPA | P162633-6 | LOX14 | 2025-12-03 09:51 | SAMP | SW | G | 0.91 | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97311005 | P162633 | EVPA | P162633-5 | LOX13 | 2025-12-03 10:01 | SAMP | SW | G | 0.57 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97311003 | P162633 | EVPA | P162633-3 | LOX11 | 2025-12-03 10:29 | SAMP | SW | G | 0.78 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
97311002 | P162633 | EVPA | P162633-2 | LOX6 | 2025-12-03 10:46 | SAMP | SW | G | 0.54 | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96807002 | P161623 | PIN | P161623-2 | S356-334 | 2025-12-09 09:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed and pumps running.
96807005 | P161623 | PIN | P161623-5 | S333N | 2025-12-09 09:42 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open
96807015 | P161623 | PIN | P161623-15 | S333 | 2025-12-09 10:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open
96834005 | P161677 | PIE | P161677-5 | S332DX | 2025-12-09 10:07 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.007 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Pumps running during sample collection, visible flow observed
96819009 | P161647 | PIE | P161647-9 | S18C | 2025-12-09 12:05 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB. No triggers requested by A/S. No sample collected. Gates closed, no visible flow observed.
96807024 | P161623 | PIN | P161623-24 | S12D | 2025-12-09 10:28 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates slightly open. Avoidable oily sheen on water`s surface
96820009 | P161648 | PIE | P161648-9 | S18C | 2025-12-23 10:40 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB- No weekly recorded flow per flow decision paperwork. No trigger requests from autosampler. Gates closed, no flow observed.
96819004 | P161647 | PIE | P161647-4 | G737 | 2025-12-09 10:41 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open to approximately 4.5ft. No visible flow observed. Total depth less than 0.5m, unable to obtain sonde readings. Sample taken with van dorn at half of total depth.
96807026 | P161623 | PIN | P161623-26 | S12C | 2025-12-09 10:45 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
96834007 | P161677 | PIE | P161677-7 | S328 | 2025-12-09 10:48 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | J | 0.014 |  | mg/L | 0.002 | 0.004 | PD | NO | Sample collected in a disconnected pool. HW staff gauge is 3.1 feet NAVD88, TW staff gauge is at 3.1 feet NAVD88. Dipper wand used for sample collection.
96807028 | P161623 | PIN | P161623-28 | S12B | 2025-12-09 11:05 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed
96807039 | P161623 | PIN | P161623-39 | S12B | 2025-12-09 11:12 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96807030 | P161623 | PIN | P161623-30 | S12A | 2025-12-09 11:28 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.018 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. Whatman 18129111 used.
96802002 | P161612 | PIN | P161612-2 | S356-334 | 2025-12-16 09:38 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96802003 | P161612 | PIN | P161612-3 | S356-334 | 2025-12-16 09:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed pumps not running
96802005 | P161612 | PIN | P161612-5 | S355B | 2025-12-16 10:07 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed
96802007 | P161612 | PIN | P161612-7 | S355A | 2025-12-16 10:26 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed
97300003 | P162616 | PIE | P162616-3 | S332DX | 2025-12-16 10:36 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.006 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed, no visible flow observed.
97294004 | P162604 | PIE | P162604-4 | G737 | 2025-12-16 10:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.004 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open to 0.45 feet at time of sample collection. No sonde readings depth less than .50
97300005 | P162616 | PIE | P162616-5 | S332DX | 2025-12-16 10:55 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected through van dorn using DI 8360.
96802010 | P161612 | PIN | P161612-10 | S333N | 2025-12-16 11:01 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open
96802020 | P161612 | PIN | P161612-20 | S333 | 2025-12-16 11:33 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed
96802044 | P161612 | PIN | P161612-44 | S333 | 2025-12-16 11:42 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96802029 | P161612 | PIN | P161612-29 | S12D | 2025-12-16 12:03 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates slightly open
96802031 | P161612 | PIN | P161612-31 | S12C | 2025-12-16 12:18 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed
96802033 | P161612 | PIN | P161612-33 | S12B | 2025-12-16 12:39 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed
96802035 | P161612 | PIN | P161612-35 | S12A | 2025-12-16 12:54 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.015 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed. unavoidable FAV.
96808002 | P161624 | PIN | P161624-2 | S356-334 | 2025-12-23 08:41 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed pump not running.
96808005 | P161624 | PIN | P161624-5 | S333N | 2025-12-23 09:14 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open. Filter turned yellow.
96835005 | P161678 | PIE | P161678-5 | S332DX | 2025-12-23 09:24 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.005 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S176 gate is closed, no visible flow observed. S332D pumps not running, no visible flow observed.
96808015 | P161624 | PIN | P161624-15 | S333 | 2025-12-23 09:34 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open. FAV present but avoidable. Filter turned brown.
96835007 | P161678 | PIE | P161678-7 | S328 | 2025-12-23 09:46 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | J | 0.011 |  | mg/L | 0.002 | 0.004 | PD | NO | Gates are closed, no visible flow observed. Sampling area is a disconnected pool of water. Sample collected using a dipper wand. HW staff gauge reading 2.8ft, TW staff gauge reading 2.8ft.
96820004 | P161648 | PIE | P161648-4 | G737 | 2025-12-23 09:48 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P | I | 0.003 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Total depth measured at 0.21 meters. Sample collected for magenta only using a dipper wand. No sonde data collected in compliance with depth requirements. Gates closed, no flow observed.
97294009 | P162604 | PIE | P162604-9 | S18C | 2025-12-16 11:56 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB, grabs determined by AS counts. No samples in AS. Gates closed upon arrival.
97295005 | P162605 | PIE | P162605-5 | G737 | 2025-12-30 09:46 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB due to dry conditions at sampling site. Gates are closed, no visible flow observed.
97295009 | P162605 | PIE | P162605-9 | S18C | 2025-12-30 10:26 | SAMP | SW | G |  | NO BOTTLE SAMPLE |  | 0 |  | Units |  |  | PD | NO | NOB, no weekly recorded flow, no triggers requested by autosampler. Gates closed.
96808024 | P161624 | PIN | P161624-24 | S12D | 2025-12-23 09:55 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.008 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates open
96808026 | P161624 | PIN | P161624-26 | S12C | 2025-12-23 10:11 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed
96808028 | P161624 | PIN | P161624-28 | S12B | 2025-12-23 10:27 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed
96808039 | P161624 | PIN | P161624-39 | S12A | 2025-12-23 10:46 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | FCEB collected thru all sampling equipment.
96808030 | P161624 | PIN | P161624-30 | S12A | 2025-12-23 10:55 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
96803003 | P161613 | PIN | P161613-3 | S356-334 | 2025-12-30 08:57 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S334 Gate closed. Technician noted sample filter turned yellow during processing.
96803005 | P161613 | PIN | P161613-5 | S355B | 2025-12-30 09:30 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.02 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed.
96803007 | P161613 | PIN | P161613-7 | S355A | 2025-12-30 09:58 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate closed.
96803010 | P161613 | PIN | P161613-10 | S333N | 2025-12-30 10:33 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.011 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open at 2ft.
97301003 | P162617 | PIE | P162617-3 | S332DX | 2025-12-30 10:45 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.009 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | S332D pumps not running, S176 gate closed.
96803002 | P161613 | PIN | P161613-2 | S333 | 2025-12-30 11:03 | FB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO
96803020 | P161613 | PIN | P161613-20 | S333 | 2025-12-30 11:07 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gate open at 1ft.
96803029 | P161613 | PIN | P161613-29 | S12D | 2025-12-30 11:40 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.01 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates are open. Vegetation buildup present in water in front of gates.
96803031 | P161613 | PIN | P161613-31 | S12C | 2025-12-30 12:01 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed.
96803033 | P161613 | PIN | P161613-33 | S12B | 2025-12-30 12:23 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.014 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | All gates closed.
96803035 | P161613 | PIN | P161613-35 | S12A | 2025-12-30 12:51 | SAMP | SW | G |  | PHOSPHATE, TOTAL AS P |  | 0.012 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO | Gates closed.
96803044 | P161613 | PIN | P161613-44 | S12A | 2025-12-30 13:07 | FCEB | DI | G |  | PHOSPHATE, TOTAL AS P | U | -0.002 | +/- 0.002 | mg/L | 0.002 | 0.004 | PD | NO

## Attributes & Codes
Water Quality Data Attributes
LIMS Number | Laboratory Information Management System (LIMS) sample identifier.
Work Identifier | Sampling event identifier.
Project | The abbreviation of the project name (see below for definitions).
Sample Identifier | The code used to identify the specific sample from which the data was derived.
Station | Name of the monitoring station where a water quality sample was collected.
Date Collected | Date and time that a water quality sample was collected at the monitoring location.
Sample Type | Indicates whether the sample is a regular sample or a quality assurance/quality control sample. If the latter, it indicates what kind.
Matrix | The environment or material from which a sample was collected (i.e, surface water, sediments, rainfall, etc.).
Collection Method | Describes how a sample was collected.
DCS | Depth to consolidated substrate (units are in meters).
Test Name | Gives the full test name of the parameter that was analyzed by the laboratory.
Remark Code | Provides information regarding the quality assurance and quality control of the laboratory results associated with the parameter and monitoring station.
Value | Measured concentration or parameter level.
Uncertainty | The uncertainty associated with the sample.
Units | Units used for the results for the parameter (pertain to Value, Uncertainty, MDL, & PQL attributes).
PQL | Practical quantification limit.
MDL | Method detection limit.
Sampling Purpose | The reason the sample was collected.
Data Investigation | Indicates whether or not the data was investigated. CA=Correction applied in DBHYDRO.
Sample Comments | Information regarding sampling that may pertain to the use of the data.
Data Codes:
PROJECT IDENTIFIER |  | SAMPLE COMMENT
P121145 | Everglades National Park Inflows North | ALKA | alkalinity
P121784 | Everglades Protection Area | APA | alkaline phosphatase activity
P122535 | Everglades National Park Inflows East / S-357 Pump Station | BBCW | Biscayne Bay Coastal Wetlands
|  | CA | calcium
PROJECT CODE |  | Cl | chloride
PIE | Everglades National Park Inflows East | COLOR | color
PIN | Everglades National Park Inflows North | DI#### | The batch of dionized water used for field blanks
EVPA | Everglades Protection Area | DOC | dissolved organic carbon
S357P | Event or trip based QA sample | EB | equipment blank
|  | FAV | floating aquatic vegetation
SAMPLE TYPE |  | FB | field blank
EB | equipment blank | FCEB | field-cleaned equipment blank
FB | field blank | FOC | Field Operations Center
FCEB | field-cleaned equipment blank | FPM | field project manager
RS | replicate sample | ft | feet
SAMP | regular sample | HFDM | Horizon Field Data Management
|  | K | potassium
MATRIX |  | L | liter
SW | surface water | m | meter
DI | deionized water | MG | magnesium
|  | mL | milliliter
COLLECT_METHOD |  | NA | sodium
G | grab – e.g., a Niskin (Van Dorn) water sample collector | NAVD88 | North American Vertical Datum of 1988
|  | NH4 | ammonia as nitrogen
TEST NAME |  | NO2 | nitrite as nitrogen
P | phosphorus | NOX | nitrate + nitrite
|  | OPO4 | orthophosphate as phosphorus
UNITS |  | P number | pre-login sample number
mg/L | milligram per liter | PM | project manager
Units | Indicates that there are no units for the data. | SE | southeast
|  | SIO2 | silica
SAMPLING PURPOSE |  | SO4 | sulfate
PD | permit driven | TD | total depth
|  | TDPO4 | total dissolved phosphate as phosphorus
|  | TDS | total dissolved solids
|  | TKN | total Kjeldahl nitrogen
|  | TN | total nitrogen
|  | TOT FE | total iron
|  | TPO4 | total phosphate as phosphorus
|  | TSS | total suspended solids
|  | TURB | turbidity
REMARK CODE
A | Value reported is the arithmetic mean (average) of two or more determinations.
G | Field QC blank detection greater than 10 percent (1/10) of sample value for blank.
I | The reported value is greater than or equal to the lab method detection limit but less than the laboratory practical quantitation limit.
J | Estimated value; value may not be accurate. A “J” value shall not be used as a substitute for K, L, M, T, V, or Y, however, if additional reasons exist for identifying the value as an estimate, the “J” code may be added to a K, L, M, T, V, or Y.
J1 | Surrogate recovery limits exceeded.
J2 | No known quality control criteria exist.
J3 | Precision or accuracy criteria not met.
J4 | Matrix Interference.
J5 | Improper laboratory or field protocols.
J9 | Indicates that the analyte was detected in field blank and/or associated sample. The analyte was detected at or above the method detection limit in a blank other than the method blank and the value of 10 times the blank value equal to or greater than the associated sample value.
K | Off-scale low. Actual value is known to be less than the value given. This code shall be used if: 1. The value is less than the lowest calibration standard and the calibration curve is known to be non-linear: or 2. The value is known to be less than the reported value based on sample size, dilution.
L | Off-scale high. Actual value is known to be greater than value given. To be used when the concentration of the analyte is above the acceptable level for quantitation (exceeds the linear range or highest calibration standard) and the calibration curve is known to exhibit a negative deflection.
M | When reporting chemical analyses: presence of material is verified but not quantified. The actual value is less than the value given. If the value is less than method detection limit use “T” below.
N | Presumptive evidence of presence of material. This qualifier should be used if: 1. The component has been tentatively identified based on mass spectral library search; or 2. There is an indication that the analyte is present, but quality control requirements for confirmation were not met.
NOB | No Bottle Sample. Indicates that a sampling trip was scheduled but a sample was not collected. This may be due to non-representative conditions at the site (such as insufficient water depth for sampling, excess vegetation, etc.) or because conditions for sample collection were not met (no flow at site, etc).
NVZ | No valid zero value; request original results from laboratory.
O | Sampled, but analysis lost or not performed.
PMF | Project Manager Flag.
PMR | Project Manager Remarks.
Q | Preparation or analysis performed after the approved holding time.
S | Secchi disk VOB (visible on bottom).
T | Value reported is less than the laboratory method detection limit.
U | Indicates that an analysis was performed for the analyte but that the analyte was not detected.
V | Indicates that the analyte was detected in both the sample and the associated method blank and the value of 10 times the blank value equal to or greater than the associated sample value.
Y | The laboratory analysis was from an unpreserved or improperly preserved sample. The data may not be accurate.
? | Data are rejected and should not be used. Some or all of the quality control data for the analyte were outside criteria, and the presence or absence of the analyte cannot be determined from the data.
* | Not reported due to interference.
! | Data deviates from historically established concentration ranges.
D | Measurement was made in the field (i.e. in-situ).
B | Results based upon colony outside the acceptable range.
Z | Too many colonies were present (TNTC), the numeric value represents the filtration volume.