CITY OF XXXXXX, FLORIDA

## WATER SUPPLY FACILITIES WORK PLAN

## PROPOSED TEMPLATE

Prepared For:

# Florida Department of Community Affairs

Prepared By:

City of XXXXXX Planning and Zoning Department

May 20, 2008

# TABLE OF CONTENTS

- INTRODUCTION

1.1	Statutory History

1.2	Statutory Requirements

2.0	BACKGROUND INFORMATION

2.1	Overview

2.2	Relevant Regional Issues

3.0	DATA AND ANALYSIS

3.1	Population Information

3.2	Maps of Current and Future Areas Served

3.3	Potable Water Level of Service Standard

3.4	Population and Potable Water Demand Projections by Each Local Government Utility

3.5	Water Supply Provided by Local Government

3.6	Water Supply Provided by Other Entities

3.7	Conservation

3.7.1	Countywide Issues

3.7.2	Local Government Specific Actions, Programs, Regulations, or Opportunities

3.7.3	Identify any Local Financial Responsibilities as Detailed in the CIE or CIS

3.8	Reuse

3.8.1	Regional and Countywide Issues

3.8.2	 Local Government Specific Actions, Programs, Regulations, or Opportunities

3.8.3	Identify any Local Financial Responsibilities as Detailed in the CIE or CIS

4.0	CAPITAL IMPROVEMENTS

4.1	Work Plan Projects

4.2	Capital Improvements Element/Schedule

5.0	GOALS, OBJECTIVES AND POLICIES

- INTRODUCTION

Editor’s Note:

This template is intended as a guide for local governments, especially municipalities, in meeting the statutory requirements in preparing Water Supply Facilities Work Plans and incorporating them into their local government comprehensive plans.  This template was developed in cooperation with the Miami-Dade Planners Technical Committee and based on the Department of Community Affairs (DCA) publication, A Guide for Local Governments in preparing Water Supply Comprehensive Plan Amendments and Water Supply Facilities Work Plans, available online at http://www.dca.state.fl.us/fdcp/dcp/WaterSupplyPlanning/index.cfm.  This template is especially applicable for municipalities served by the Miami-Dade Water and Sewer Department (WASD), which provides water to 87 percent of the county’s residents.  Planners should feel free to adapt it to fit the specific circumstances of their local government.

The purpose of the City of XXXXXX Water Supply Facilities Work Plan (Work Plan) is to identify and plan for the water supply sources and facilities needed to serve existing and new development within the local government’s jurisdiction. Chapter 163, Part II, F.S., requires local governments to prepare and adopt Work Plans into their comprehensive plans within 18 months after the water management district approves a regional water supply plan or its update. The Lower East Coast Water Supply Plan Update was approved by the South Florida Water Management District (SFWMD) on February 15, 2007. Therefore, the deadline for local governments within the Lower East Coast jurisdiction to amend their comprehensive plans to adopt a Work Plan is August 15, 2008.

Residents of the City of XXXXXX obtain their water directly from the Miami-Dade County Water and Sewer Department (WASD), which is responsible for ensuring that enough capacity is available for existing and future customers.

The City of XXXXXX Water Supply Facilities Work Plan (Work Plan) will reference the initiatives already identified in Miami-Dade County’s 20-year Work Plan since the City is a retail buyer.  According to state guidelines, the Work Plan and the comprehensive plan amendment must address the development of traditional and alternative water supplies, bulk sales agreements and conservation and reuse programs that are necessary to serve existing and new development for at least a 10-year planning period.  The City of XXXXXX Work Plan will have the same planning time schedule as Miami-Dade County’s 20-year Work Plan.

The City’s Work Plan is divided into five sections:

Section 1 – Introduction

Section 2 – Background Information

Section 3 – Data and Analysis

Section 4 – Work Plan Projects/Capital Improvement Element/Schedule

Section 5 – Goals, Objectives, Policies

Editor’s Note:

There are three potential options available to local governments for adopting the Work Plan: (1) incorporate the plan as a sub-element; (2) incorporate by reference in a policy; and (3) include as goals, objectives and policies throughout the comprehensive plan.  DCA and the SFWMD recommend that the Work Plan be incorporated as a sub-element.  This document is written to be used as a template that may be incorporated as a sub-element into the comprehensive plan.  The local government should clearly state how the Work Plan is being adopted.  If options 2 or 3 are chosen, then a summary table should be included that identifies where various items are located within the local government’s comprehensive plan.

1.1	Statutory History

The Florida Legislature has enacted bills in the 2002, 2004, and 2005 sessions to address the state’s water supply needs.  These bills, especially Senate Bills 360 and 444 (2005 legislative session), significantly changed Chapter 163 and 373 Florida Statutes (F.S.) by strengthening the statutory links between the regional water supply plans prepared by the water management districts and the comprehensive plans prepared by local governments.  In addition, these bills established the basis for improving coordination between the local land use planning and water supply planning.

1.2	Statutory Requirements

Each local government must comply with the following requirements:

- Coordinate appropriate aspects of its comprehensive plan with the appropriate water management district’s regional water supply plan, [163.3177(4)(a), F.S.]

- Ensure that its future land use plan is based upon availability of adequate water supplies and public facilities and services [s.163.3177(6)(a), F.S., effective July 1, 2005].  Data and analysis demonstrating that adequate water supplies and associated public facilities will be available to meet projected growth demands must accompany all proposed Future Land Use Map amendments submitted to the Department for review.  The submitted package must also include an amendment to the Capital Improvements Element, if necessary, to demonstrate that adequate public facilities will be available to serve the proposed Future Land Use Map modification.

- Ensure that adequate water supplies and facilities area available to serve new development no later than the date on which the local government anticipates issuing a certificate of occupancy and consult with the applicable water supplier prior to approving building permit, to determine whether adequate water supplies will be available to serve the development by the anticipated issuance date of the certificate of occupancy [s.163.3180 (2)(a), F.S., effective July 1, 2005].  This “water supply concurrency” is now in effect, and local governments should be complying with the requirement for all new development proposals.  In addition, local governments should update their comprehensive plans and land development regulations as soon as possible to address these statutory requirements.  The latest point at which the comprehensive plan must be revised to reflect the concurrency requirements is at the time the local government adopts plan amendments to implement the recommendations of the Evaluation and Appraisal Report (EAR).

- For local governments subject to a regional water supply plan, revise the General Sanitary Sewer, Solid Waste, Drainage, Potable Water, and Natural Groundwater Aquifer Recharge Element (the “Infrastructure Element”), within 18 months after the water management district approves an updated regional water supply plan, to:

  - Identify and incorporate the alternative water supply project(s) selected by the local government from projects identified in the updated regional water supply plan, or the alternative project proposed by the local government under s. 373.0361(7), F.S. [s. 163.3177(6)(c), F.S.];

  - Identify the traditional and alternative water supply projects, bulk sales agreements, and the conservation and reuse programs necessary to meet current and future water use demands within the local government’s jurisdiction [s. 163.3177(6)(c), F.S.]; and

  - Include a water supply facilities work plan for at least a 10-year planning period for constructing the public, private, and regional water supply facilities identified in the element as necessary to serve existing and new development. [s. 163.3177(6)(c), F.S.] Amendments to incorporate the water supply facilities work plan into the comprehensive plan are exempt from the twice-a-year amendment limitation. [s. 163.3177(6)(c), F.S.]

- Revise the Five-Year Schedule of Capital Improvements to include any water supply, reuse, and conservation projects and programs to be implemented during the five-year period.

- To the extent necessary to maintain internal consistency after making changes described in Paragraph 1 through 5 above, revise the Conservation Element to assess projected water needs and sources for at least a 10-year planning period, considering the appropriate regional water supply plan, the applicable District Water Management Plan, as well as applicable consumptive use permit(s).  [s.163.3177 (6)(d), F.S.]

If the established planning period of a comprehensive plan is greater than ten years, the plan must address the water supply sources necessary to meet and achieve the existing and projected water use demand for established planning period, considering the appropriate regional water supply plan. [s.163.3167 (13), F.S.]

- To the extent necessary to maintain internal consistency after making changes described in Paragraphs 1 through 5 above, revise the Intergovernmental Coordination Element to ensure coordination of the comprehensive plan with applicable regional water supply plans and regional water supply authorities’ plans. [s.163.3177(6)(h)1., F.S.]

- Address in the EAR, the extent to which the local government has implemented the 10-year water supply facilities work plan, including the development of alternative water supplies, and determine whether the identified alternative water supply projects, traditional water supply projects, bulk sales agreements, and conservation and reuse programs are meeting local water use demands. [s.163.3191 (2)(1), F.S.]

2.0	BACKGROUND INFORMATION

Editor’s Note:

The intent of this section is to provide a brief overview of the city including information on land use and population.

  - Overview

The City of XXXXXX, was incorporated in XXXX, making it the ninth municipality established in Miami-Dade County.  The original boundaries of the City encompassed an area approximately six square miles bounded by XXXXXX to the east, XXXXX and XXXXXX to the south, XXXXXX to the west, and XXXXXX to the north.  In 1933, fiscal issues resulted in a reduction of the City’s land area to approximately three square miles, and in 1937 certain neighborhoods voted to opt out of the City, reducing the land area even further to current 2.3 square miles.  These factors have resulted in irregular City boundaries and the creation of enclaves surrounded by unincorporated areas in the northern portions of the City.  The City’s is surrounded by unincorporated Miami-Dade County to the north and west, XXXXXX and unincorporated Miami-Dade County to the east, and XXXXXX and unincorporated Miami-Dade County to the south.

The City of XXXXXX is substantially built-out.  Between 1990 and 2000, the City of XXXXXX population grew from 10,404 to 10,741, an increase of three percent.  Although the 1995 EAR predicted a decline in population, based on the projections prepared by the University of Florida Bureau of Economic and Business Research (BEBR), in 2005 it was estimated that the City’s population has increased to 10,850 residents.  This relatively minor population growth is reflective of the fact that the City is substantially built-out, with future development potential and population growth limited by the scarcity of vacant and developable land.  The potential expansion of the City’s current boundaries through annexations is the only factor which might result in significant population increase during the planning period.  This could only occur if the City Commission reconsiders their position regarding annexation.

In 2005, an evaluation of existing gross acreage by land uses revealed that 1,260.05 acres or 85.64% of the total gross acreage in the city is dedicated to residential use. The remaining gross acreages are allocated to non-residential such as commercial and office (5.7%); hotels and motels (.01%); industrial (.46%); institutional (1.85%); transportation, communication, utilities (2.57%); agriculture (.05%); undeveloped (2.31%) and; inland water (.60%). The City does not anticipate substantial increases in land area in the near future, unless there is policy decision from the City Commission to reconsider their position on annexation.  In the meantime, the residential and non-residential growth rate is anticipated to be minimal for the next 10 to 20 years.  In 2007, the City’s Building Department records indicated that only ___ permits were issue for new residential construction and ___ permits for commercial construction.

  - Relevant Regional Issues

Editor’s Note:

This section is intended to briefly address any overarching regional issues that impact water supply planning at the local level, such as the adoption of the Regional Availability of Water rule or the Central Florida Coordination Area planning effort.  The following text specifically pertains to municipalities within the Lower East Coast region.

As the state agency responsible for water supply in the Lower East Coast planning area, the SFWMD plays a pivotal role in resource protection, through criteria used for Consumptive Use Permitting. As pressure increased on the Everglades ecosystem resource, the Governing Board initiated rule making to limit increased allocations dependent on the Everglades system. As a result, the Regional Water Availability Rule was adopted by the Governing Board on February 15, 2007 as part of the SFWMD's water use permit program. This reduced reliance on the regional system for future water supply needs, mandates the development of alternative water supplies, and increasing conservation and reuse.

3.	DATA AND ANALYSIS

Editor’s Note:

The intent of the data and analysis section of the Work Plan is to describe the information that local governments need to provide to state planning and regulatory agencies as part of their proposed comprehensive plan amendments, particularly those that would change the Future Land Use Map (FLUM) to increase density and intensity.

3.1	Population Information

Editor’s Note:

This section should be a narrative that summarizes population information demonstrating consistency with the population projections from the County and the District’s regional water supply plan.  The population projections used should be consistent throughout the comprehensive plan, including the tables in Section 3.4 that contain more detailed population and demand projections.  It is recommended that after a paragraph that addresses the information from the perspective of the entire jurisdiction, that separate paragraphs follow that address the information for each specific utility service area.

The City’s existing and future population figures are derived from Miami-Dade County Planning and Zoning Department and BEBR.  Between 1990 and 2000, the City of XXXXXX population grew from 10,404 to 10,741, an increase of three percent.  Although the City’s 1995 Evaluation Appraisal Report (EAR) predicted a decline in population, based on the projections prepared by BEBR, in 2005 it was estimated that the City’s population had increased to 10,850 residents.  By 2010, the City’s population is anticipated to increase to 10,983; 2015 to 11,113; and 2025 to 11,331 (represents an increase of four percent over the 2005 population).  This relatively minor population growth is reflective of the fact that the City is substantially built-out, with future development potential and population growth limited by the scarcity of vacant and developable land.

  - Maps of Current and Future Areas Served

Editor’s Note:

As applicable, show areas being served by the City’s own utility, areas being served by other water suppliers, and locations of small public supply systems.  Distinguish between current and future areas served.

The map depicting current and future City boundaries served by the WASD are provided in Figure 1.

3.3 	Potable Water Level of Service Standard

Editor’s Note:

Please consider the following notes to guide the response to this subsection:

- Identify Existing Level of Service Standard by Service Area or Facility (if applicable)

- Analyze Existing Standard Compared to Current Use and Consistency with Level of Service of Existing Supplier(s)

- Consider Need for Revising Standards for Residential Uses

- Consider Need for Additional Standards for Non-residential Uses

3.4	Population and Potable Water Demand Projections by Each Local Government or Utility

Editor’s Note:

Please consider the following notes to guide the response to this subsection:

- Sample Tables are Shown Below

- Tables must Address at Least a 10 Year Period, Longer is Recommended

- Population Projections must be Consistent with Remaining Elements of the Comprehensive Plan

| TABLE 1 - POPULATION & DEMANDS [ "COUNTY/CITY" WATER SUPPLY FACILITIES WORK PLAN] |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | WATER SUPPLY UTILITY SERVICE WITHIN LOCAL GOVERNMENT'S JURISDICTION |  |  |  |  |  |  |  |  |  |
| UTILITY SERVICE AREA | POPULATION PROJECTIONS (medium-BEBR) |  |  |  |  |  | WATER SUPPLY DEMAND (MGD) |  |  |  |
| YEAR ► | 2005 | 2010 | 2015 | 2020 | 2025 | 2005 | 2010 | 2015 | 2020 | 2025 |
| TOTAL Population (BEBR) |  |  |  |  |  |  |  |  |  |  |
| "Own Utility" |  |  |  |  |  |  |  |  |  |  |
| "Another Utility" |  |  |  |  |  |  |  |  |  |  |
| Self-Served |  |  |  |  |  |  |  |  |  |  |
| Calculated Total |  |  |  |  |  |  |  |  |  |  |
| IMPORTANT NOTE: this is just a model, ACTUAL timeframe can be extended to 2030 or beyond, or shortened |  |  |  |  |  |  |  |  |  |  |

3.5 	Water Supply Provided by Local Government

Editor’s note:

This section provides information concerning water provided by a utility owned by the local government.  The information for any future water supply facilities needed should correspond to the information to be contained in Section 4.   At a minimum, it should address the following points.  This section also should identify water provided within your jurisdiction and water provided outside the jurisdiction. If this section is not applicable, omit it and go directly to the next section.

- Consumptive Use Permit (CUP) Information

- Current CUP Number

- Raw Water Allocation Information

- Average Annual Daily and Maximum Monthly (Daily) Allocations

- Applicable Source Limitations (dry season, wellfields, and priority)

- Required Off-sets

- Expiration Date(s) by Source

- Treatment Facilities and Planning Schedules

- Methods and Treatment Losses in the CUP

- Permitted Florida Department of Environmental Protection (FDEP) Capacities

- Storage Facilities

- Interlocal agreements and bulk sales

- Interconnects, Distribution and Associated Responsibilities (emergency or on-going)

- Treatment and Distribution System Losses

- Outstanding Compliance Issues (required upgrades or expansion etc.)

3.6 	Water Supply Provided by Other Entities

Editor’s Note:

Prepare a separate sub-section for each utility that provides water within your jurisdiction.  Address the bullet points from the preceding section, as applicable for your jurisdiction.

The following text is applicable for local governments served by WASD, and is summarized from the Miami-Dade County Work Plan.

The Miami-Dade County 20-Year Water Supply Facilities Work Plan is attached as Appendix A.  The intent of the County Work Plan is to meet the statutory requirements mentioned in subsection 1.2 of this plan and to coordinate the WASD’s water supply initiatives with the SFWMD’s Lower East Coast Water Supply Plan Update.

The WASD’s service area is all portions of Miami-Dade County within the Urban Development Boundary (UDB), excluding all or portions of North Miami, North Miami Beach, Aventura, Sunny Isles, Biscayne park, Miami Gardens, Homestead and Florida City.  The areas within the Urban Expansion are included in the planning horizon after 2015.  The following summarizes Miami-Dade County’s Work Plan:

- Description of population and water demand projections (Exhibit C-1 and C-2, Water Supply Service Area, Retail and Wholesale Customers, respectively, by Municipality provides municipal population projections and projected AADF “Annual Average Daily Flow” finished water based on 155 gallons per capita per day (gpcd).  The population information was derived from Miami-Dade County Department of Planning and Zoning Transportation Analysis Zone (TAZ) 2004 population data. This subsection also provides a brief discussion of WASD’s conservation and reuse programs.);

- The Water Supply Facilities Work Plan details the facilities and proposed alternative water supply (AWS) projects that are planned in order to meet the water demands through 2027.  These projects are expected to be completed in increments consistent with the projected growth set forth in the Plan.  The AWS projects and annual average daily demand (AADD) assumes that all current wholesalers will remain in the WASD system through 2027, except for the City of North Miami Beach.  The AWS projects are included in the County’s Capital Improvement Element.

In the 20-Year Work Plan, the WASD is committed to meet the water demand for the municipalities within the service area.  The City of XXXXXX is served by the Alexander Orr, Jr. sub-area water treatment plant.  This sub-area is comprised of a high pressure system with two major piping loops.  This sub-area delivers water to nearly all of Miami-Dade County south of Flagler Street to SW 248th Street, including Virginia Key, Fisher Island, the Village of Key Biscayne and, upon request, to the City of Homestead, and Florida City.  The Alexander Orr, Jr. subarea, water treatment plant is supplied by four water supply wellfields (Alexander Orr, Jr.- capacity 74.4 MGD;  Snapper Creek – capacity 40.0 MGD; Southwest – capacity 161.16 MGD; and West -32.4 MGD), with a total designed capacity of approximately 308 MGD. In this subarea, there are also Upper Floridan Aquifer wells at two of the wellfields (West Wellfiled and the Southwest Wellfield).  These wells have a total capacity of 25.20 MGD.  WASD anticipates using these wells for storage of fresh Biscayne Aquifer water during the wet season (when operating water levels in the canal allows) for extraction and use in the dry season.  In order to use the Upper Floridan Aquifer wells, the WASD designed an ultra-violet (UV) light disinfection system for each ASR site to treat the Biscayne aquifer water before injecting in the Floridan Aquifer.

3.7	Conservation

Editor’s note:

Identify applicable regional or county issues, local government specific actions, programs, regulations, or opportunities.  Identify any local financial responsibilities as detailed in CIE or CIS.  Omit sub-sections if they are not applicable.

    - County-wide Issues

The Miami-Dade Water Use Efficiency Plan

Currently, the WASD is implementing all Best Management Practices (BMPs) included in the 20-year Water Use Efficiency Plan, which was approved by the South Florida Water Management District in May 2007.

Water Conservation Plans and Development Codes

In addition, all of the WASD’s wholesale customers are required to submit a Water Conservation Plan to its Water Use Efficiency Section as mandated by County Ordinance 06-177, Section 32-83.1 of the Miami-Dade County Code. The Plan will identify BMPs based on population characteristics and type of service for each municipal service area.

In addition, Miami-Dade County has developed recommendations for new development that would achieve higher water use savings than currently required by code. The recommendations were developed by an Advisory Committee and were presented to the Board of County Commissioners (BCC) on June 5, 2007.  These water conservation recommendations were adopted by ordinance on February 5, 2008. The Ordinance requires that a manual for implementation of the recommendations be developed by July 2008. These water efficiency recommendations represent an additional 30 percent to the water savings identified in the 20-year Water Use Efficiency Plan.  All applicants will be required to comply with these future code requirements.  The list of recommendations submitted to the BCC and the ordinance relating to water use efficiency standard are presented in Appendix D and are also posted in the Miami-Dade Water Conservation Portal.

Per Capita Consumption

Furthermore, the WASD will establish per capita consumption for all municipalities including those in its retail customer service area.  Based on this data, the WASD will work with the municipalities to address those with higher than average per capita and will target programs for those areas.  The County anticipates that the implementation of the BMPs identified in the 20-year Water Use Efficiency Plan will result in an adjusted system wide per capita of 147.82 gpcd by 2027.

3.7.2	Local Government Specific Actions, Programs, Regulations, or Opportunities

The City will coordinate future water conservation efforts with the WASD and the SFWMD to ensure that proper techniques are applied.  In addition, the City will continue to support and expand existing goals, objectives and policies in the comprehensive plan that promotes water conservation in a cost-effective and environmentally sensitive manner. The City will continue to actively support the SFWMD and Miami-Dade County in the implementation of new regulations or programs that are design to conserve water during the dry season.

3.7.3	Identify any Local Financial Responsibilities as Detailed in the CIE or CIS

Editor’s Note:

Omit section if not applicable.

3.8	Reuse

Editor’s Note:

Identify applicable regional or county issues, local government specific actions, programs, regulations, or opportunities.  Identify any local financial responsibilities as detailed in CIE or CIS.  Omit sub-sections if they are not applicable.

3.8.1	Regional and County-wide Issues

State law supports reuse efforts.  For the past years, Florida’s utilities, local governments, and water management districts have led the nation in implementing water reuse programs that increase the quantity of reclaimed water used and public acceptance of reuse programs.  Section 373.250(1) F.S. provides that “water reuse programs designed and operated in compliance with Florida’s rules governing reuse are deemed protective of public health and environmental quality.”    In addition, Section 403.064(1), F.S., provides that “reuse is a critical component of meeting the state’s existing and future water supply needs while sustaining natural systems.”

The City of XXXXXX supports water reuse initiatives under consideration by both the SFWMD and Miami-Dade County.  The County has committed to implement a total of 170 MGD of water reuse as noted in the County’s 20-year water use permit.  In the 20-year Work Plan, the County identified a number of water reuse projects and their respective schedule.  According to the Plan, “reuse projects to recharge the aquifer with highly treated reclaimed water will be in place before additional withdrawals over the base condition water use are made from the Alexander Orr and South Dade subarea wellfields.  In addition, reuse irrigation projects are anticipated for the North and Central District Wastewater Treatment Plants. These projects will be implemented in the Cities of North Miami and North Miami Beach, and are currently under construction for Key Biscayne.”

3.8.2	Local Government Specific Actions, Programs, Regulations, or Opportunities

The City will support the SFWMD and Miami-Dade County water reuse projects, and implementation of new regulations or programs designed to increase the volume of reclaimed water used and public acceptance of reclaimed water.

3.8.3	Identify any Local Financial Responsibilities as Detailed in the CIE or CIS

Editor’s Note:

Omit section if not applicable.

4.0	CAPITAL IMPROVEMENTS

4.1	Work Plan Projects

Editor’s Note:

  - For at least the next 10-year period, address all public, private and regional water supply projects and programs necessary to serve the jurisdiction, including all development of traditional and alternative water supply sources, reuse and conservation.  For each project, identify the source of water, amount of raw water withdrawn, amount of finished water produced, and if it was identified in the SFWMD regional water supply plan.

  - List of projects includes transmission lines and any other capital infrastructure.

  - Address any of your government-owned utility projects that will need to be constructed during at least the next 10-year period to provide water supply outside your own jurisdiction.

    - Capital Improvements Element/Schedule

Editor’s Note:

  - Identify and address all public, private, and regional water supply facilities needed to serve within jurisdiction.

  - Identify all public and private projects and programs necessary during the next five years to achieve and maintain adopted LOS standards, and reflect in the financially feasible Five-Year Schedule of Capital Improvements.  This includes any interlocal or development agreements that need to address the costs of capital improvements, the funding source, responsible entity, populations to be served and the construction time line.

5.0	GOALS, OBJECTIVES AND POLICIES

Editor’s Note:

The following comprehensive plan goals, objectives, and policies (GOPs) should be reviewed for consistency with the Work Plan.

1.	 Need to review GOPs throughout the comprehensive plan to determine if any new ones should be added or any existing ones revised.

2.	The following list is from the DCA Guidelines, pages 15 and 16 and is an example of the issues that need to be addressed:

- Coordination of land uses and future land use changes with the availability of  water supplies and water supply facilities;

- Revision of potable water level-of-service standards for residential and non-residential users;

- Provision for the protection of water quality in the traditional and new alternative water supply sources;

- Revision of priorities for the replacement of facilities, correction of existing water supply and facility deficiencies, and provision for future water supply and facility needs;

- Provision for conserving potable water resources, including the implementation of reuse programs and potable water conservation strategies and techniques;

- Provisions for improved or additional coordination between a water supply provider and the recipient local government concerning the sharing and updating of information to meet ongoing water supply needs;

- Coordination between local governments and the water supply provider in the implementation of alternative water supply projects, establishment of level-of-service standards and resource allocations, changes in service areas, and potential for annexation;

- Coordination of land uses with available and projected fiscal resources and a financially feasible schedule of capital improvements for water supply and facility projects; and

- Additional revenue sources to fund water supply and facility projects.

  - In addition, goals, objectives, and policies may need to be established or revised to address the new statutory requirements discussed in section 1.2.  Policies should be particularly developed to address:

a.   Coordination with the respective regional water supply plan;

b.  Update the Work Plan within 18 months following the approval of a regional water supply plan; and

c.   Concurrency requiring water supply at the building permit stage.